## Title
Analysis of the Gibbstown LNG Export Terminal Emissions from Cradle to Grave and Dashboard to Calculate Emissions of Similar Natural Gas Projects
This workbook analyzes the lifecycle emissions related to the Gibbstown LNG export terminal, including annual CO2e emissions related to daily facility operations and the upfront construction of the Wyalusing and Gibbstown facilities.
Authors: | Jackie Litynski, Ellen Carlson, Jon Tabernero, and Pat Knight; Synapse Energy Economics
Last Update: | 2023-02-22
Disclaimer: | Synapse Energy Economics, Inc. created the Gibbstown Emissions Analysis Workbook and Dashboard with the best available data as of February, 2023. The information Synapse used to complete this workbook was provided by publicly available information at the time of completion and Synapse makes no representations, warranties, or guarantees as to the accuracy, reliability, currency, or completeness of such information. Synapse makes commercially reasonable efforts to ensure that our work is complete, and up to date at the time it is provided; however, Synapse cannot account for future changes in scientific knowledge, industry standards of practice, or regulatory requirements. The opinions and analysis of Synapse may differ or be contrary to the opinions or analysis of other consultants, business areas or groups as a result of using different assumptions and criteria. Synapse cannot guarantee a particular outcome or result. This version of the workbook was last updated in February, 2023.
Table of Contents
Index | Sheet Title | Jump to Sheet
1. | Title | Click here
2. | Dashboard | Click here
3. | Library | Click here
4. | Gas Production | Click here
5. | Pipeline and Compressor Station(s) | Click here
6. | Construction | Click here
7. | Liquefaction Facility | Click here
8. | Domestic Transport | Click here
9. | Export Facility | Click here
10. | Sea Transport | Click here
11. | Regasification | Click here
12. | Foreign Transport to Combustion Facility | Click here
13. | Combustion | Click here
Acronym List
Index | Acronym | Definition
1. | SCF | Standard Cubic Feet
2. | LNG | Liquified Natural Gas
3. | BOG | Boil-Off-Gas
4. | MTPA | million tons per annum
5. | BCF | Billion cubic feet
6. | GWP | Global Warming Potential
7. | CO2e | Carbon Dioxide Equivalent
8. | IPCC | Intergovernmental Panel on Climate Change
9. | AR4 | IPCC Fourth Assessment Report
10. | AR6 | IPCC Sixth Assessment Report
11. | GHG | Greenhouse Gas
12. | PA | Pennsylvania
13. | DEP | Department of Environmental Protection
14. | CH4 | Methane
15. | N2O | Nitrous oxide
16. | kg | kilogram
17. | km | kilometer
18. | MMbbl | Million barrels of oil
19. | MMscf | Million standard cubic feet
20. | bbl | Barrels of oil
21. | NETL | National Energy Technology Laboratory
22. | psig | pounds per square inch gauge (measurement of pressure)
23. | lb | pounds
24. | AP-42 | US EPA's Compilation of Air Pollutant Emissions Factors
25. | TPY | tons per year
26. | gal | gallon
27. | TEU-mi | Twenty-foot equivalent unit (TEU) per mile (a TEU is a commonly defined container unit for shipping cargo with volume of 20’ length x 8’6” height x 8’ width)
28. | PHMSA | Pipeline and Hazardous Materials Safety Administration
29. | NGP | Natural Gas Processing
30. | VMT | vehicle miles travelled
31. | PR | Puerto Rico
32. | NG | Natural Gas
33. | g | grams

## Dashboard_ShortTons
Inputs and Results by Lifecycle Step
Below are the results and the inputs that users can update, organized by step in the natural gas lifecycle process. Users can update cells in blue to their own inputs. Cells not in blue should not be changed.
Analysis Results by Lifecycle Step
This table compiles the total emissions for each step in the natural gas lifecycle for the Gibbstown LNG Export Terminal.
Lifecycle Category | Lifecycle Step | Upfront Emissions | Ongoing Emissions | Total Emissions | Emissions as a Percent of Total
|  | short tons CO2e (20 year GWP) | short tons CO2e (20 year GWP) | short tons CO2e (20 year GWP) | %
Upfront Emissions | Facility Construction* | 97439.3618 | 0 | 97439.3618 | 0.04184%
Upstream Operating Emissions | Gas Production | 142472.5508 | 50835.3021 | 193307.8528 | 0.083% | 12309034.8403 | 5.285%
| Pipeline and Compressor Station | 0 | 103842.2471 | 103842.2471 | 0.04459%
Midstream Operating Emissions | Liquefaction Facility* | 0 | 28459992.5225 | 28459992.5225 | 12.22% | 28459992.5225 | 12.22%
| Domestic Transport | 0 | 1027897.8411 | 1027897.8411 | 0.4413%
| Export Facility* | 0 | 384850.0279 | 384850.0279 | 0.1652%
Downstream Operating Emissions | Sea Transport | 0 | 7430440.7292 | 7430440.7292 | 3.19%
| Regasification | 0 | 2891045.9331 | 2891045.9331 | 1.241%
| Foreign Pipeline Transport | 0 | 180210.8471 | 180210.8471 | 0.07737%
| End-use Combustion | 0 | 192138030.0666 | 192138030.0666 | 82.5% | 192138030.0666 | 82.5%
Total | Total | 239911.9126 | 232667145.5168 | 232907057.4293 | 100%
*Liquefaction facility and export facility construction emissions were estimated together, due to a lack of data for constructing just one of the components.
Inputs by Lifecycle Step
Below are the inputs that users can update, organized by step in the natural gas lifecycle process. Users can update cells in blue to their own inputs. Cells not in blue should not be changed.
Lifecycle Step | Input | Default or User Input | Default Value (Gibbstown) | User Input | Units | Notes |  | Input for workbook (these values will be referenced throughout the workbook)
General | LNG Exported | Default | 128 | 64 | bcf/year | This input describes how much LNG is exported from the corresponding export facility. It is used as the throughout of LNG for each stage in the lifecycle analysis. The default value is the proposed LNG export capabilities of the Gibbstown export terminal. |  | 128
| LNG Exported | Default | 2.6 | 1.3142 | mtpa | This input describes how much LNG is exported from the corresponding export facility. It is used as the throughout of LNG for each stage in the lifecycle analysis. The default value is the proposed LNG export capabilities of the Gibbstown export terminal. |  | 2.6
| Years for Ongoing Emissions | Default | 25 | 1 | years | This input is the years of ongoing emissions calculated for the lifecycle analysis. You may consider using the project's lifetime, so as to calculate the emissions over the projects entire life. |  | 25
Gas Production | The Gas Production data scales with BCF, so there are no additional inputs here for users to update. | [6 empty] | Review Inputs
Pipeline and Compressor Stations (Domestic) | Miles of Transmission | Default | 30 | 50 | miles | This input is the miles of natural gas transmission lines from the wellhead and processing plants to the liquefaction facility. The default value is based on the approximate distance from wellheads in the Marcellus Shale area of Pennsylvania to the Wyalusing Liquefaction facility. |  | 30
Construction Emissions for Liquefaction and Export Facilities | Liquefaction construction duration | Default | 29 | 35 | months | Total project construction length. The default value is based on the Wyalusing liquefaction facility expected construction length. |  | 29
| Export construction duration | Default | 15 | 10 | months | Total project construction length. The default value is based on the Gibbstown export terminal expected construction length. |  | 15
| Total volume of dredged material | Default | 665000 | 600000 | cubic yards | Total volume of dredged sediment during construction of new dock at Gibbstown export terminal. The default is based on the Gibbstown facility land development application. |  | 665000
Liquefaction Facility Annual Operating Emissions If the annual Wyalusing facility operating emissions update or a user is modeling a different liquefaction facility, they may put in a non-default value here. If users do not know their exact facility operating emissions, but know an updated BCF value, they can select "Yes" in cell D40 to automatically scale the emissions from the BCF input, above. If users have their own emissions value, they can select "No" in cell D40. Users can then input their liquefaction facility operating emissions (cells F41 and F42) and the corresponding GWP source or value (D43). | Facility annual emissions (operating and fugitive) | Default | 1107781.88 | 1138399.7009 | short tons CO2e/year | Annual facility emissions, including operating and fugitive emissions. Default values is Wyalusing liquefaction facility annual total facility GHG emissions per year in AR4 GWP-100. User Input value is based on the additional questions in the section, below. |  | 1107781.88
| Should the annual facility emissions scale with BCF? | Yes | - | - | - | Asks users whether the non-default value should scale based on LNG export volume (which is set in the first section, above) or be a specific user input (defined based on the subsequent questions, below).
| What are the annual facility operating emissions (short tons CO2e)? | - | - | 1107679 | short tons CO2e/year | User inputs annual facility operating emissions into the blue highlighted cell as CO2e. The GWPs of the above below and this cell must be the same.
| What are the annual facility fugitive emissions (short tons CO2e)? | - | - | 2572.02 | short tons CO2e/year | User inputs annual facility fugitive emissions in the blue highlighted cell as CO2e. The GWPs of the above cell and this cell must be the same.
| What is the data source for your GWP values for your annual facility emissions? | AR6 GWP-20 | - | - | - | User selects the CH4 GWP data source used for the annual facility operating and fugitive emissions inputs. These two inputs must have the same GWP value. If the GWP source is not listed, select "other" and input it into the blue cell in the row below.
| CH4 GWP Value of Input Data | CH4 | 82.5 | 100 | GWP | User inputs the CH4 GWP value into the blue highlighted cell, if using. The final GWP value used is displayed in black text. CO2 GWPs are always 1, so no input is needed.
Domestic Transport by Train and Truck | Train distance travelled | Default | 255 | 200 | miles | Distance LNG is transported by train. Default value is based on expected train route between Wyalusing liquefaction facility and Gibbstown export terminal, along existing train lines. |  | 255
| Number of train cars | Default | 150 | 50 | train cars/day | Number of train cars per day transporting LNG. Default is based on approved PHMSA rail permit. |  | 150
| Truck distance travelled | Default | 174.04 | 200 | miles | Distance LNG is transported by truck. Default is based on expected truck routes between Wyalusing liquefaction facility and Gibbstown export terminal. |  | 174.04
| Number of trucks | Default | 400 | 300 | cars/day | Number of truck cars per day transporting LNG. Default is based on PA DEP application for Wyalusing facility. |  | 400
| Rail percent of transports | Default | 50% | 50% | % | Percent share of LNG transported by rail. Default assumes that half of the LNG is transported by truck and half by train, since no Gibbsotown applications have proposed a specific transportation split. The percent transported by train and truck must sum to 100%. |  | 0.5
| Truck percent of transports | Default | 50% | 50% | % | Percent share of LNG transported by truck. Default assumes that half of the LNG is transported by truck and half by train, since no Gibbsotown applications have proposed a specific transportation split. The percent transported by train and truck must sum to 100%. |  | 0.5
| Number of valves | Default | 1059 | 1059 | valves | User inputs automatically scaled based on the total number of train and truck cars transporting LNG daily. Users can also input their own values for each input. |  | 1059
| Number of pump seals | Default | 0 | 0 | pump seals | User inputs automatically scaled based on the total number of train and truck cars transporting LNG daily. Users can also input their own values for each input. |  | 0
| Number of connectors | Default | 962 | 962 | connectors | User inputs automatically scaled based on the total number of train and truck cars transporting LNG daily. Users can also input their own values for each input. |  | 962
| Number of other leak sources | Default | 0 | 0 | sources | User inputs automatically scaled based on the total number of train and truck cars transporting LNG daily. Users can also input their own values for each input. |  | 0
| Number of vapor recovery compressors | Default | 0 | 0 | compressors | User inputs automatically scaled based on the total number of train and truck cars transporting LNG daily. Users can also input their own values for each input. |  | 0
Export Facility | Emissions source scale factor: 5 flare sources | Default | 8.344% | 25% | % | Scaling factor for flare emissions, compared to a Canadian LNG facility.. Assumes approximately 2 flares at Gibbstown site. User Input based on whether LNG throughput volume is set to "User Input" above. |  | 0.083439
| Emissions source scale factor: fugitive sources | Default | 8.344% | 50% | % | Scaling factor for fugitive sources, compared to a Canadian LNG facility. User Input based on whether LNG throughput volume is set to "User Input" above. |  | 0.083439
| Emissions source scale factor: domestic marine shipping activities | Default | 8.344% | 20% | % | Scaling factor for marine shipping emissions, compared to a Canadian LNG facility. User Input based on whether LNG throughput volume is set to "User Input" above. |  | 0.083439
Sea Transport | Sea Travel Distance #1 | Default | 16000 | 13000 | km | Total roundtrip distance from export facility to Destination #1 import terminal. Default Destination #1 is from Gibbstown export facility to Ireland. Default distance was estimated using ArcGIS. |  | 16000
| Sea Travel Distance #2 | Default | 11400 | 10000 | km | Total roundtrip distance from export facility to Destination #2 import terminal. Default Destination #2 is from Gibbstown export facility to Puerto Rico. Default distance was estimated using ArcGIS. |  | 11400
| Percent of LNG to Destination #1 | Default | 50% | 60% | % | Proportion of exported LNG transported to Destination #1. Default assumes that 50% of the gas is exported to Ireland and the other 50% is exported to Puerto Rico. |  | 0.5
| Percent of LNG to Destination #2 | Default | 50% | 40% | % | Proportion of exported LNG transported to Destination #2. Default assumes that 50% of the gas is exported to Ireland and the other 50% is exported to Puerto Rico. |  | 0.5
Regasification Facility | - | - | - | - | - | There are no specific inputs for the Regasification Facility stage, as these scale with the volume of LNG exported.
Foreign Pipeline and Compressor Stations | Miles of transmission in Destination #1 | Default | 40 | 60 | miles | Pipeline distance from import terminal to regasification. Default assumption is based on transit of gas via pipeline from the import terminal to a nearby power plant. |  | 40
| Miles of transmission in Destination #2 | Default | 20 | 30 | miles | Pipeline distance from import terminal to regasification. Default assumption is based on transit of gas via pipeline from the import terminal to a nearby power plant. |  | 20
Combustion | The Combustion data scales with BCF, so there are no additional inputs here for users to update.

## DashboardResults_MetricTons
Inputs and Results by Lifecycle Step
Below are the results in metric tons, organized by step in the natural gas lifecycle process. To update inputs, see the "Dashboard_ShortTons" worksheet.
Analysis Results by Lifecycle Step
This table compiles the total emissions for each step in the natural gas lifecycle for the Gibbstown LNG Export Terminal.
Lifecycle Category | Lifecycle Step | Upfront Emissions | Ongoing Emissions | Total Emissions | Emissions as a Percent of Total
|  | metric tons CO2e (20 year GWP) | metric tons CO2e (20 year GWP) | metric tons CO2e (20 year GWP) | %
Upfront Emissions | Facility Construction* | 88420.4735 | 0 | 88420.4735 | 0.04184%
Upstream Operating Emissions | Gas Production | 129285.4363 | 46130.0382 | 175415.4744 | 0.083% | 11169723.0855 | 5.285%
| Pipeline and Compressor Station | 0 | 94230.7143 | 94230.7143 | 0.04459%
Midstream Operating Emissions | Liquefaction Facility* | 0 | 25825764.5395 | 25825764.5395 | 12.22% | 25825764.5395 | 12.22%
| Domestic Transport | 0 | 932756.6617 | 932756.6617 | 0.4413%
| Export Facility* | 0 | 349228.7005 | 349228.7005 | 0.1652%
Downstream Operating Emissions | Sea Transport | 0 | 6742686.6871 | 6742686.6871 | 3.19%
| Regasification | 0 | 2623453.6598 | 2623453.6598 | 1.241%
| Foreign Pipeline Transport | 0 | 163530.7143 | 163530.7143 | 0.07737%
| End-use Combustion | 0 | 174353929.28 | 174353929.28 | 82.5% | 174353929.28 | 82.5%
Total | Total | 217705.9098 | 211131710.9952 | 211349416.905 | 100%
*Liquefaction facility and export facility construction emissions were estimated together, due to a lack of data for constructing just one of the components.

## Library
Library
This sheet contains general data sources and information relevant to multiple production steps
Table 1. IPCC AR6 Global Warming Potential, Used for Final GWP-20 Calculations
Notes: | These values are used to calculate the final CO2e emissions for the Gibbstown results and Dashboard results.
Based on IPCC AR6, these GWPs are used to calculate CO2e emissions in this workbook.
The CH4 value used is the "CH4-fossil" value, not the "CH4-non fossil" value.
Source(s): | Forster, P., T. Storelvmo, K. Armour, W. Collins, J.-L. Dufresne, D. Frame, D.J. Lunt, T. Mauritsen, M.D. Palmer, M. Watanabe, M. Wild, and H. Zhang, 2021: The Earth’s Energy Budget, Climate Feedbacks, and Climate Sensitivity. In Climate Change 2021: The Physical Science Basis. Contribution of Working Group I to the Sixth Assessment Report of the Intergovernmental Panel on Climate Change [Masson-Delmotte, V., P. Zhai, A. Pirani, S.L. Connors, C. Péan, S. Berger, N. Caud, Y. Chen, L. Goldfarb, M.I. Gomis, M. Huang, K. Leitzell, E. Lonnoy, J.B.R. Matthews, T.K. Maycock, T. Waterfield, O. Yelekçi, R. Yu, and B. Zhou (eds.)]. Cambridge University Press, Cambridge, United Kingdom and New York, NY, USA, pp. 923–1054, doi:10.1017/9781009157896.009. Available at: https://www.ipcc.ch/report/ar6/wg1/downloads/report/IPCC_AR6_WGI_Chapter07.pdf
Table 7.15 ¦ Emissions metrics for selected species: global warming potential (GWP), global temperature-change potential (GTP).
Gas | GWP-20 | GWP-100
CO2 | 1 | 1
CH4 | 82.5 | 29.8
N2O | 273 | 273
Table 2. EPA Global Warming Potential, Used for Converting Data Back to Tons of CH4
Notes: | These GWPs are used to back calculate the total GHGs of CH4 from the liquefaction facility emissions. We do not use these to calculate the final Gibbstown or Dashboard results.
Assuming this GWP used in PA DEP, based on Jordan Cove EIS. This GWP is used to back calculate short tons of CH4 and N2O from CO2e in various steps in the natural gas process. The GWPs from IPCC AR6, above, are the GWP values used throughout this workbook.
Source(s): | US Environmental Protection Agency. Inventory of US Greenhouse Gas Emissions and Sinks. 2021. Available at: https://www.epa.gov/sites/production/files/2021-04/documents/us-ghg-inventory-2021-main-text.pdf
Table ES-1: Global Warming Potentials (100-Year Time Horizon) Used in this Report
Gas | GWP-100
CO2 | 1
CH4 | 25
N2O | 298
Table 3. IPCC AR4 Global Warming Potentials, Used for Converting Data Back to Tons of CH4
Notes: | This table is used to back calculate the total GHGs of CH4 from the regasification facility emissions.
Source: | Intergovernmental Panel on Climate Change. 2007. "IPCC Fourth Assessment Report: 2.10.2 Direct Global Warming Potentials." Available at: https://archive.ipcc.ch/publications_and_data/ar4/wg1/en/ch2s2-10-2.html
| 20-year | 100-year
Carbon Dioxide | 1 | 1
Methane | 72 | 25
Nitrous oxide | 289 | 298
Table 4. Natural Gas Conversions
Notes: | Converting natural gas between metric tons/tonnes and cubic feet
Source(s): | Hofstrand, D. Natural Gas and Coal Measurements and Conversions. Iowa State University. Available at: https://www.extension.iastate.edu/agdm/wholefarm/html/c6-89.html
Energy Transfer. Properties and Characteristics of LNG. Available at: https://lclngmessenger.energytransfer.com/InfoPost/resources/documents/PropertiesofLNG.pdf.
Shively, B. Understanding Liquefied Natural Gas (LNG) Units. Energy Dynamics. Available at: https://www.enerdynamics.com/Energy-Currents_Blog/Understanding-Liquefied-Natural-Gas-LNG-Units.aspx
1 | metric ton liquefied natural gas (LNG)
48700 | cubic feet of natural gas
1 | gallon liquefied natural gas (LNG)
81.5 | cubic feet of natural gas
1 | million metric tons per year (MTPA LNG)
48.7 | BCF per year (gas)
1 | BCF natural gas
1055000000 | MJ natural gas
Table 5. Unit Conversions
Notes:
Source(s): | Butcher, Kenneth S, Linda D Crown, and Elizabeth J Gentry. 2006. “The International System of Units (SI) - Conversion Factors for General Use.” National Institute of Standards and Technology. https://doi.org/10.6028/NIST.SP.1038.
Conversion between kg, metric tons, and short tons |  |  | Conversion between cubic yards and cubic meters
1000 | kg |  | 1 | cubic yard
1 | metric ton |  | 0.76455 | cubic meters
1.102 | short tons
Conversion between km and miles |  |  | Pounds to Short Tons
1 | km |  | 2000 | pounds
0.62137 | miles |  | 1 | short ton
Table 6. Days per Year
Notes:
Source(s):
365.25 | days/year

## Construction
Upfront Construction
This sheet calculates the GHG emissions related to construction of the Wyalusing Liquefaction facility and Gibbstown Logistics Center.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| short tons CO2e/year | short tons CO2e/year | short tons CO2e/year
Gas Liquefaction Facility, 20-year GWP | 97439.3618 | 0 | 97439.3618
Gas Liquefaction Facility, 100-year GWP | 97069.9294 | 0 | 97069.9294
Section B. Data and Calculations
Section B1. Upfront Emissions Data and Calculations
Construction:
Input | Value | Units | Notes | Source
Total project construction duration | 44 | months | Combined Gibbstown and Wyalusing construction periods
LNG Exported | 2.6 | mpta
Capacity-weighted average monthly construction | 712.1971 | (short tons CO2e/month)/mpta
Average construction emissions per month | 1851.7125 | short tons CO2e/month
Total estimated construction emissions | 81475.3484 | short tons CO2e | AR4 100 year GWP
Construction emissions, CO2 | 80866.5156 | short tons CO2
Construction emissions, CH4 | 6.57 | short tons CH4
Construction emissions, N2O | 1.4919 | short tons N2O
Total construction emissions, all GHG | 81815.8283 | short tons CO2e | 20 year GWP AR6
Total construction emissions, all GHG | 81469.5875 | short tons CO2e | 100 year GWP AR6
Section B2. Upfront Emissions Data and Calculations: Dredging Emissions
Dredging:
Input | Value | Units | Notes | Source
Total dredged material | 665000 | cubic yards
Total dredged material | 508425.75 | cubic meters
Carbon content of dredged soil | 0.01344 | short tons CO2/cubic meter
Carbon emissions from dredging | 6833.0206 | short tons CO2 | This is applicable to both 20-year and 100-year GWPs, since it only includes CO2 emissions
Section B3. Upfront Emissions Data and Calculations: Concrete Emissions
Concrete:
Input | Value | Units | Notes | Source
Concrete per mtpa | 16119.7022 | cubic yards concrete/mtpa
Gibbstown mtpa | 2.6 | mtpa
Estimated concrete produced | 41911.2257 | cubic yards of concrete
Average CO2 emissions factor for concrete | 417.75 | lbs CO2/cubic yard
Average CO2 emissions factor for concrete | 0.20888 | short tons CO2/cubic yard
Concrete emissions, CO2 | 8754.2073 | short tons CO2
Average CH4 emissions factor for concrete | 0.021 | lbs CH4/cubic yard
Average CH4 emissions factor for concrete | 1.05e-05 | short tons CH4/cubic yard
Concrete emissions, CH4 | 0.44007 | short tons CH4
Total construction emissions, all GHG | 8790.5129 | short tons CO2e | 20 year GWP AR6
Total construction emissions, all GHG | 8767.3213 | short tons CO2e | 100 year GWP AR6
Section C. Sources
Section C1. Gibbstown Logistics Center Description (from site plan)
Sources: | Delaware River Partners, LLC. November 2019. "Application for Land Development." Available at: https://www.delawareriverkeeper.org/sites/default/files/Files%20from%20Greenwich%20Twp.%20GLC%20Dock%202%20Site%20Plan.pdf
Delaware River Partners, LLC – Gibbstown Logistics Center Dock 2. 2020. Delaware River Basin Commission, Docket No. D-2017-009-2. Available at: https://www.state.nj.us/drbc/library/documents/dockets/061219/2017-009-2.pdf.
Note:
Gibbstown Logistics Center Description (From Site Plan)
Component |  | Value | Unit
New dock construction time |  | 15 | months
LNG Exported from Gibbstown |  | 128 | bcf
LNG Exported from Gibbstown |  | 2.6 | mpta
Total volume of dredged sediment for new dock |  | 665000 | cubic yards
Section C2. Wyalusing Liquefaction Project Description
Source: | Engineering, Procurement, and Construction Agreement (January 2019) Available at: https://www.sec.gov/Archives/edgar/data/1749723/000114036119001592/s002392x11_ex10-17.htm
Note:
Component |  | Value | Unit
Total disturbed acreage |  | 119.4 | acres
Site area |  | 219 | acres
Project construction duration |  | 29 | months
Section C3. Operating and Construction Data for US LNG Facilities
Sources: | Federal Energy Regulatory Commission. 2019. “Jacksonville Project Final Environmental Impact Statement.” Available at: https://www.ferc.gov/sites/default/files/2020-05/04-12-19-FEIS.pdf.; Federal Energy Regulatory Commission. 2019. “Final Environmental Impact Statement - Texas LNG Project.” Available at: https://www.ferc.gov/sites/default/files/2020-05/volume-I.pdf.; Federal Energy Regulatory Commission. 2014. “Environmental Assessment for the Cove Point Liquefaction Project.” Available at: https://www.energy.gov/sites/prod/files/2014/11/f19/EA-1942-FEA-2014%20%282%29.pdf.; Federal Energy Regulatory Commission. 2019. “Gulf LNG Liquefaction Project, Final Environmental Impact Statement.” Available at: https://www.ferc.gov/sites/default/files/2020-05/FEIS-GulfLNGLiquefactionProject.pdf.; Federal Energy Regulatory Commission. 2014. “Final Environmental Impact Statement - Corpus Christi LNG Project.” Available at: https://cms.ferc.gov/sites/default/files/2020-05/corpuschristiFEIS.pdf.
Note:
Facility | Export Capacity (mtpa) | Operating GHG Emissions (short tons CO2e/yr) | LNG Terminal Construction GHG Emissions (short tons CO2e) | Construction Length (months) | Average Monthly Construction Emissions (short tons CO2e/month) | Average Monthly Construction Emissions per Capacity (short tons CO2e/month/mtpa) | Source
Eagle Jacksonville | 1 | 112265 | 18135 | 42 | 431.7857 | 431.7857 | Federal Energy Regulatory Commission. 2019. “Jacksonville Project Final Environmental Impact Statement.” Available at: https://www.ferc.gov/sites/default/files/2020-05/04-12-19-FEIS.pdf.
Texas LNG Terminal | 4.5 | 613901 | 143196.8 | 44 | 3254.4727 | 723.2162 | Federal Energy Regulatory Commission. 2019. “Final Environmental Impact Statement - Texas LNG Project.” Available at: https://www.ferc.gov/sites/default/files/2020-05/volume-I.pdf.
Cove Point | 4.85 | 2030998 | 168258 | 48 | 3505.375 | 722.7577 | Federal Energy Regulatory Commission. 2014. “Environmental Assessment for the Cove Point Liquefaction Project.” Available at: https://www.energy.gov/sites/prod/files/2014/11/f19/EA-1942-FEA-2014%20%282%29.pdf.
Gulf LNG | 5.4 | 2885787 | 205607 | 60 | 3426.7833 | 634.5895 | Federal Energy Regulatory Commission. 2019. “Gulf LNG Liquefaction Project, Final Environmental Impact Statement.” Available at: https://www.ferc.gov/sites/default/files/2020-05/FEIS-GulfLNGLiquefactionProject.pdf.
Corpus Christi LNG | 8.24 | 3340000 | 622135 | 72 | 8640.7639 | 1048.6364 | Federal Energy Regulatory Commission. 2014. “Final Environmental Impact Statement - Corpus Christi LNG Project.” Available at: https://cms.ferc.gov/sites/default/files/2020-05/corpuschristiFEIS.pdf.
Section C4. Lake Charles LNG Liquefaction Facility Construction Emissions
Source: | Federal Energy Regulatory Commission. 2015. “Final Environmental Impact Statement - Lake Charles Liquefaction Project.” Available at: https://cms.ferc.gov/final-environmental-impact-statement-lake-charles-liquefaction-project.
Note:
Table 4.11.1-7: Liquefaction Facility Construction Emissions
Construction Activity | CO2 (short tons) | CH4 (short tons) | N2O (short tons) | CO2e (short tons)
Worker commuting | 5290 | 1.9 | 0.2 | 5401.9
Construction dirt work | 51388 | 3 | 1 | 51735.92
Construction plant work | 225184 | 18 | 4 | 226970
Section C5. Construction Emission Composition Ratio Calculations
Source: | Section C4, above.
Note:
| Total (short tons) | Total (short tons CO2e) | Percent of total CO2e
CO2 | 281862 | 281862 | 99.25%
CH4 | 22.9 | 572.5 | 0.2016%
N2O | 5.2 | 1549.6 | 0.5457%
Total CO2e |  | 283984.1 | 100%
Section C6. Construction, Water usage, and Concrete Data for US LNG Facilities
Sources: | MTPA and Concrete volume from: Federal Energy Regulatory Commission. 2019. “Jacksonville Project Final Environmental Impact Statement.” Available at: https://www.ferc.gov/sites/default/files/2020-05/04-12-19-FEIS.pdf.; MTPA Volume from: Federal Energy Regulatory Commission. 2014. “Environmental Assessment for the Cove Point Liquefaction Project.” Available at: https://www.energy.gov/sites/prod/files/2014/11/f19/EA-1942-FEA-2014%20%282%29.pdf.; and Concrete volume from: Zou, D. April 2017. "Dominion completes four-fifths of construction at Cove Point." Southern Maryland News. Available at: https://www.somdnews.com/recorder/spotlight/dominion-completes-four-fifths-of-construction-at-cove-point/article_b1c658aa-0ab4-526f-b1f3-d309315871af.html; MTPA Value from: Cameron LNG. 2023. "Amended Expansion Project." Available at: https://cameronlng.com/expansion/#:~:text=Located%2018%20miles%20north%20of,billion%20cubic%20feet%20per%20day.; Concrete volume from: Nikolewski, R. February 2019. "How Sempra decided to go all in on natural gas - $10 billion worth." Sun Sentinel. Available at: https://www.sun-sentinel.com/sd-fi-sempra-lng-cameron-20190217-story.html
Note:
Facility | Export Capacity (mtpa) | Concrete (cubic yards) | Concrete per mtpa | Source
Eagle Jacksonville | 1 | 10000 | 10000 | MTPA and Concrete volume from: Federal Energy Regulatory Commission. 2019. “Jacksonville Project Final Environmental Impact Statement.” Available at: https://www.ferc.gov/sites/default/files/2020-05/04-12-19-FEIS.pdf.
Cove Point | 4.85 | 85000 | 17525.7732 | MTPA Volume from: Federal Energy Regulatory Commission. 2014. “Environmental Assessment for the Cove Point Liquefaction Project.” Available at: https://www.energy.gov/sites/prod/files/2014/11/f19/EA-1942-FEA-2014%20%282%29.pdf.; and Concrete volume from: Zou, D. April 2017. "Dominion completes four-fifths of construction at Cove Point." Southern Maryland News. Available at: https://www.somdnews.com/recorder/spotlight/dominion-completes-four-fifths-of-construction-at-cove-point/article_b1c658aa-0ab4-526f-b1f3-d309315871af.html
Cameron LNG facility | 12 | 250000 | 20833.3333 | MTPA Value from: Cameron LNG. 2023. "Amended Expansion Project." Available at: https://cameronlng.com/expansion/#:~:text=Located%2018%20miles%20north%20of,billion%20cubic%20feet%20per%20day.; Concrete volume from: Nikolewski, R. February 2019. "How Sempra decided to go all in on natural gas - $10 billion worth." Sun Sentinel. Available at: https://www.sun-sentinel.com/sd-fi-sempra-lng-cameron-20190217-story.html
Average |  |  | 16119.7022
Section C7. Carbon content of Delaware river sediment
Source: | Delaware Estuary Benthic Inventory. 2016. “Bay Bottom Inventory - Total Organic Carbon.” Partnership for the Delaware Estuary. Available at: https://delawareestuary.org/data-and-reports/bay-bottom-inventory/.
“Dredge Material Placement and Behavior.” Available at: http://www.mgs.md.gov/coastal_geology/sedstudy.html.
Note:
Component |  | Value | Unit
Average total organic carbon (TOC) concentration in sediment samples |  | 12342 | mg TOC/kg
Carbon concentration percentage |  | 1.234% | percent concentration of TOC
Average total organic carbon (TOC) concentration in sediment samples |  | 0.013601 | short tons/kg
Density of dredged sediment |  | 1.2 | g/cubic centimeter
Density of dredged sediment |  | 1200 | kg/cubic meter
Carbon concentration by volume in sediment |  | 14810400 | mg/cubic meter
Carbon concentration by volume in sediment |  | 0.01344 | short tons/cubic meter
Section C8. Emissions from Concrete Production
Source: | Prusinski, Jan R, Medgar L Marceau, and Martha G VanGeem. n.d. “LIFE CYCLE INVENTORY OF SLAG CEMENT CONCRETE.” https://www.ecocem.co.uk/wp-content/uploads/2016/08/ECL009_Life_Cycle_Inventory_of_GGBS_Cement_Concrete.pdf.
Note: | Since we don't know which type of concrete will be used, we are assuming an average of the values listed below.
US Cust. Units (lb/cubic yard)
28 day comp. strength | 3,000 psi |  |  |  | 5,000 psi |  |  | 7,500 psi |  |  | 10,000 psi |  |  | Unspecified |  |  | Average
Mixture | R-3-0 | R-3-35 | R-3-50 | R-3-20F | R-5-0 | R-5-35 | R-5-50 | P-7-0 | P-7-35 | P-7-50 | P-10-0 | P-10-35 | P-10-50 | B-0 | B-35 | B-50
CO2 | 385 | 269 | 220 | 318 | 555 | 382 | 307 | 812 | 550 | 438 | 723 | 492 | 393 | 367 | 260 | 213 | 417.75
SO2 | 0.918 | 0.688 | 0.591 | 0.77 | 1.289 | 0.947 | 0.799 | 1.85 | 1.33 | 1.11 | 1.66 | 1.2 | 1 | 0.89 | 0.678 | 0.585 | 1.0191
NOX | 1.201 | 0.865 | 0.723 | 1.008 | 1.693 | 1.19 | 0.975 | 2.42 | 1.66 | 1.34 | 2.17 | 1.51 | 1.22 | 1.13 | 0.823 | 0.688 | 1.2885
VOC | 0.053 | 0.048 | 0.046 | 0.05 | 0.062 | 0.055 | 0.051 | 0.073 | 0.061 | 0.056 | 0.071 | 0.06 | 0.056 | 0.051 | 0.046 | 0.044 | 0.055188
CO | 0.543 | 0.436 | 0.391 | 0.477 | 0.714 | 0.555 | 0.487 | 0.957 | 0.716 | 0.614 | 0.88 | 0.668 | 0.577 | 0.515 | 0.415 | 0.373 | 0.58237
CH4 | 0.019 | 0.015 | 0.013 | 0.017 | 0.026 | 0.02 | 0.017 | 0.037 | 0.027 | 0.022 | 0.033 | 0.024 | 0.021 | 0.018 | 0.014 | 0.013 | 0.021
Particulate matter | 1.83 | 1.52 | 1.39 | 1.64 | 1.64 | 1.82 | 1.62 | 2.89 | 2.19 | 1.89 | 2.69 | 2.07 | 1.81 | 1.71 | 1.42 | 1.3 | 1.8394
Port. Cement kiln dust | 19.6 | 12.7 | 7.8 | 15.7 | 15.7 | 19.1 | 14.7 | 44.2 | 28.7 | 22.1 | 39 | 25.4 | 19.5 | 18.2 | 11.9 | 9.1 | 20.2125
Slag reject | 0 | 0.224 | 0.173 | 0 | 0 | 0.338 | 0.259 | 0 | 0.508 | 0.391 | 0 | 0.449 | 0.345 | 0 | 0.21 | 0.161 | 0.19113

## GasProduction
Gas Production
This sheet calculates the GHG emissions related to gas production for the Gibbstown LNG Export Terminal.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| short tons CO2e | short tons CO2e | short tons CO2e
Gas Production, 20-year GWP | 142472.5508 | 2033.4121 | 144505.9629
Gas Production, 100-year GWP | 51462.8123 | 734.4931 | 52197.3054
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Natural gas input into pipeline | 128 | bcf/year
Section B2. Production Emissions Data and Calculations
Description | Value | Units | Notes | Source
Well drilling | 52 | kg CH4/well | upfront emissions | Littlefield et al., 2019.
Compressor blowdowns | 77 | kg CH4/compressor | ongoing emissions | Littlefield et al., 2019.
Compressor blowdowns | 0.078 | compressors/well | ongoing emissions | Littlefield et al., 2019.
Pressure relief valve (PRV) upsets | 0.7 | kg CH4/PRV | ongoing emissions | Littlefield et al., 2019.
Pressure relief valve (PRV) upsets | 2.4 | PRV/well | ongoing emissions | Littlefield et al., 2019.
Vessel blowdowns | 1.6 | kg CH4/vessel | ongoing emissions | Littlefield et al., 2019.
Vessel blowdowns | 0.93 | vessel/well | ongoing emissions | Littlefield et al., 2019.
Wells | 1205.4586 | wells/year | upfront emissions
Drilling Emissions | 62683.8479 | kg CH4/year | upfront emissions
Compressor blowdowns | 7239.9844 | kg CH4 | ongoing emissions
Pressure relief valve (PRV) upsets | 2025.1705 | kg CH4 | ongoing emissions
Vessel blowdowns | 1793.7224 | kg CH4 | ongoing emissions
Total Upfront Production | 62683.8479 | kg CH4/year | upfront emissions
Total Upfront Production | 69.0776 | short tons CH4/year | upfront emissions
Total Upfront Production | 142472.5508 | short tons CO2e (20 year) | upfront emissions
Total Upfront Production | 51462.8123 | short tons CO2e (100 year) | upfront emissions
Total Ongoing Production | 11058.8773 | kg CH4 | ongoing emissions
Total Ongoing Production | 12.1869 | short tons CH4 | ongoing emissions
Total Ongoing Production | 1005.4178 | short tons CO2e (20 year) | ongoing emissions
Total Ongoing Production | 363.1691 | short tons CO2e (100 year) | ongoing emissions
Section B3. Gathering Emissions Data and Calculations
Description | Value | Units | Notes | Source
Mishaps | 14 | kg CH4/mile | ongoing emissions | Littlefield et al., 2019.
Mishaps | 81 | wells/facility | ongoing emissions | Littlefield et al., 2019.
Mishaps | 0.67 | miles/well | ongoing emissions | Littlefield et al., 2019.
Production per well (national average) | 290715 | cf/well/day | ongoing emissions | US EIA, 2022
Production days per year | 365.25 | days/year | ongoing emissions
Production per well per year | 106183653.75 | cf/well/year | ongoing emissions | US EIA, 2022
Production per well per year | 0.10618 | bcf/well/year | ongoing emissions
Natural gas produced | 128 | bcf/year | ongoing emissions
Wells used | 1205.4586 | wells used/year | ongoing emissions
Mishaps, miles | 807.6573 | miles/year | ongoing emissions
Mishaps, emissions | 11307.2018 | kg CH4 | ongoing emissions
Mishaps, emissions | 12.4605 | short tons CH4 | ongoing emissions
Mishaps, emissions | 1027.9943 | short tons CO2e (20 year) | ongoing emissions
Mishaps, emissions | 371.324 | short tons CO2e (100 year) | ongoing emissions
Section C. Sources
Section C1. Source for Table B45. Pennsylvania oil and gas well summary statistics, 2020
Source: | US Energy Information Administration. January 2022. "US Oil and Natural Gas Wells by Production Rate: Appendix B." Available at: https://www.eia.gov/petroleum/wells/
Notes:
Table B45. Pennsylvania oil and gas well summary statistics, 2020
| Oil wells | [7 empty] | Gas wells | [6 empty] | Total wells
|  |  | Annual |  |  | Annual |  |  |  |  | Annual |  |  | Annual |  |  | Annual | Annual
|  |  | oil |  | Oil rate | gas | Gas rate |  |  |  | gas |  | Gas rate | oil | Oil rate |  | oil | gas | Horizontal
Prod. rate bracket | number of oil | percent of oil | prod. | percent of oil | per Well | prod. | per well |  | number of gas | percent of gas | prod. | percent of gas | per well | prod. | per well | number of total | prod. | prod. | well
(BOE/d) | wells | wells | (MMbbl) | prod. | (b/d) | (Bcf) | (Mcf/d) |  | wells | wells | (Bcf) | Prod. | (Mcf/d) | (MMbbl) | (b/d) | wells | (MMbbl) | (Bcf) | count
0–1 | 8614 | 95.86 | 0.375 | 41.91 | 0.144 | 0.878 | 0.338 |  | 48462 | 69.45 | 36.787 | 0.51 | 2.152 | 0.286 | 0.017 | 57076 | 0.661 | 37.665 | 86
1–2 | 128 | 1.42 | 0.048 | 5.38 | 1.036 | 0.074 | 1.586 |  | 8387 | 12.02 | 24.99 | 0.35 | 8.188 | 0.015 | 0.005 | 8515 | 0.064 | 25.063 | 36
2–4 | 131 | 1.46 | 0.101 | 11.31 | 2.248 | 0.186 | 4.124 |  | 2284 | 3.27 | 12.772 | 0.18 | 15.637 | 0.019 | 0.023 | 2415 | 0.12 | 12.957 | 33
4–6 | 15 | 0.17 | 0.015 | 1.66 | 3.683 | 0.037 | 9.089 |  | 350 | 0.5 | 3.586 | 0.05 | 28.594 | 0.006 | 0.044 | 365 | 0.02 | 3.623 | 32
6–8 | 15 | 0.17 | 0.008 | 0.88 | 5.05 | 0.016 | 10.499 |  | 166 | 0.24 | 2.218 | 0.03 | 40.831 | 0.004 | 0.067 | 181 | 0.012 | 2.234 | 30
8–10 | 52 | 0.58 | 0.158 | 17.64 | 8.292 | 0.052 | 2.749 |  | 94 | 0.13 | 1.794 | 0.03 | 53.416 | 0.002 | 0.047 | 146 | 0.159 | 1.846 | 27
Subtotal <=10 | 8955 | 99.66 | 0.705 | 78.78 | 0.26 | 1.243 | 0.458 |  | 59743 | 85.61 | 82.146 | 1.15 | 3.88 | 0.331 | 0.016 | 68698 | 1.036 | 83.389 | 244
10–12 | 22 | 0.24 | 0.092 | 10.25 | 11.388 | 0.02 | 2.533 |  | 57 | 0.08 | 1.272 | 0.02 | 64.972 | 0.001 | 0.034 | 79 | 0.092 | 1.293 | 24
12–15 | 1 | 0.01 | 0 | 0.04 | 10.613 | 0 | 0 |  | 57 | 0.08 | 1.63 | 0.02 | 79.864 | 0.004 | 0.181 | 58 | 0.004 | 1.63 | 28
Subtotal <=15 | 8978 | 99.91 | 0.797 | 89.07 | 0.293 | 1.264 | 0.464 |  | 59857 | 85.78 | 85.047 | 1.19 | 4.009 | 0.335 | 0.016 | 68835 | 1.132 | 86.311 | 296
15–20 | 1 | 0.01 | 0.005 | 0.61 | 14.891 | 0.002 | 5.508 |  | 101 | 0.14 | 3.706 | 0.05 | 103.234 | 0.005 | 0.126 | 102 | 0.01 | 3.708 | 67
20–25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 96 | 0.14 | 4.611 | 0.06 | 134.756 | 0.005 | 0.158 | 96 | 0.005 | 4.611 | 79
25–30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 123 | 0.18 | 7.304 | 0.1 | 164.251 | 0.011 | 0.254 | 123 | 0.011 | 7.304 | 114
30–40 | 7 | 0.08 | 0.092 | 10.32 | 36.038 | 0.022 | 8.757 |  | 318 | 0.46 | 23.858 | 0.33 | 209.551 | 0.033 | 0.29 | 325 | 0.125 | 23.88 | 304
40–50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 403 | 0.58 | 38.88 | 0.54 | 268.498 | 0.069 | 0.477 | 403 | 0.069 | 38.88 | 393
50–100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2030 | 2.91 | 321.855 | 4.49 | 437.195 | 0.532 | 0.722 | 2030 | 0.532 | 321.855 | 2007
Subtotal <=100 | 8986 | 100 | 0.894 | 100 | 0.328 | 1.288 | 0.472 |  | 62928 | 90.18 | 485.26 | 6.77 | 21.738 | 0.99 | 0.044 | 71914 | 1.885 | 486.549 | 3260
100–200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2352 | 3.37 | 738.068 | 10.29 | 869.328 | 0.668 | 0.787 | 2352 | 0.668 | 738.068 | 2349
200–400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2020 | 2.89 | 1223.403 | 17.06 | 1683.296 | 1.104 | 1.519 | 2020 | 1.104 | 1223.403 | 2019
400–800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1352 | 1.94 | 1588.595 | 22.15 | 3314.226 | 0.683 | 1.425 | 1352 | 0.683 | 1588.595 | 1351
800–1,600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 650 | 0.93 | 1396.016 | 19.47 | 6600.891 | 0.746 | 3.526 | 650 | 0.746 | 1396.016 | 649
1,600–3,200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 375 | 0.54 | 1280.847 | 17.86 | 12742.587 | 0.571 | 5.678 | 375 | 0.571 | 1280.847 | 375
3,200–6,400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 106 | 0.15 | 459.475 | 6.41 | 24607.679 | 0.001 | 0.044 | 106 | 0.001 | 459.475 | 106
6,400–12,800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
> 12,800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 8986 | 100 | 0.894 | 100 | 0.328 | 1.288 | 0.472 |  | 69783 | 100 | 7171.662 | 100 | 290.243 | 4.763 | 0.193 | 78769 | 5.657 | 7172.951 | 10109
Notes:
Source: State and federal administrative oil & gas data thru Enverus
1. The total volumes shown in the distribution tables may not exactly agree with other related data, including other EIA sources. Major reasons for differences include the timing of updates from state and commercial sources,
the summed production of available well-level production data versus state-level aggregations of production, and how a well is defined and which entities are counted and summed.
2. Wells counted for this report include sidetracks, completions, recompletions, and leases. This definition includes all oil and natural gas producing entities available in the Enverus database.
3. For late reporting states, the last year of available data is repeated for missing years For example, Kentucky 2019 data are used for 2020. Maryland 2016 data are used for 2017 through 2020. Missouri 2019 data are used for 2020.
Tennessee 2016 data are used for 2017 through 2020. All years are missing for Illinois and Indiana. Tennessee 2016 data are used for 2017 through 2020. All years are missing for Illinois and Indiana.
4. To be consistent between states a GOR of 6,000 (cf/bbl) for each years production was used to define oil versus gas wells. If the GOR was less (greater) than 6,000 (cf/bbl) the well was classed an oil (gas) well.
5. To determine production rate brackets for the first and last year of a well’s life, we divided the annual production by the number of days in the productive months.
For the middle years, we divided the annual production by 365 or 366 days.
6. Natural gas volumes have been converted from the various state pressure bases to the federal base (14.73 pounds per square inch absolute).
Data available as of November 2021.
Section C2. Source for Exhibit 3-16. GHGI Emission and Activity Factors and Corresponding Natural Gas Throughput
Source: | Littlefield, J., S. Roman-White, D. Augustine, A. Pegallapati, G. G. Zaimes, S. Rai, G. Cooney, and T. J. Skone. April 2019. "Life Cycle Analysis of Natural Gas Extraction and Power Generation." National Energy Technology Laboratory. Available at: https://www.netl.doe.gov/energy-analysis/details?id=3198
Notes:
Exhibit 3‐16. GHGI Emission and Activity Factors and Corresponding Natural Gas Throughput
Stage (or substage) | Emission Source | Vent | Fugitive | Emissions |  |  |  | Natural Gas Throughput
|  |  |  | GHGI Emission Factor | Units (annualized) | Activity Factor | Units | Throughput | Units
Production | Well drilling | • |  | 52 | kg CH4/completed well | * | completed wells | EUR* | Bcf/well‐life
| Compressor blowdowns | • |  | 77 | kg CH4/compressor | 0.078 | compressors/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
| PRV (pressure relief valve) upsets | • |  | 0.7 | kg CH4/PRV | 2.4 | PRV/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
| Vessel blowdowns | • |  | 1.6 | kg CH4/vessel | 0.93 | vessels/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
Gathering | Mishaps | • |  | 14 | kg CH4/mile | 81 | wells/facility | Annual production* | Mcf/basin‐yr
[6 empty] | 0.67 | miles/well
Processing | Pneumatics | • |  | 3173 | kg CH4/facility | 1 | facilities | 33.6 | Bcf/facility‐yr
Transmission | Dehydrator vents | • |  | 1.8 | kg CH4/MMscf NG dehydrated | 1190000 | MMscf NG | 28.2 | Tcf transmission
Transmission Pipeline | Pipeline fugitives |  | • | 1120 | kg CH4/mile | 301257 | miles | 28.2 | Tcf transmission
Storage | Dehydrator vents | • |  | 2.3 | kg CH4/MMscf dehydrated | 1850000 | MMscf dehydrated | 9.24 | Tcf capacity
| Station venting | • |  | 84000 | kg CH4/station | * | Bcf station capacity | 9.24 | Tcf capacity
Distribution | Customer meters (residential) |  | • | 1.5 | kg CH4/meters | 54300000 | meters | 13.9 | Tcf distributed
| Customer meters (commercial/industrial) |  | • | 9.7 | kg CH4/meter | 5660000 | meters | 13.9 | Tcf distributed
| PRV (pressure relief valve) upsets | • |  | 1 | kg CH4/mile | 1280000 | miles | 13.9 | Tcf distributed
| Pipeline blowdowns | • |  | 2 | kg CH4/mile | 2190000 | miles | 13.9 | Tcf distributed
| Mishaps (dig ins) | • |  | 31 | kg CH4/mile | 2190000 | miles | 13.9 | Tcf distributed
* In some instances, throughput is variable across basins and extraction technologies. This variability is based on NETL’s stratification of the data by basins and extraction
technologies. Variability in activity factors are based on stratification of GHGRP data as shown in Exhibit 3‐8 through Exhibit 3‐15, and variability in natural gas throughputs are
based on stratification of DI Desktop data.
Section C3. Natural Gas Loss Rate From Extraction, Processing, and Transmission
Source: | Page 72. Available at: https://www.energy.gov/sites/prod/files/2019/09/f66/Life%20Cycle%20Analysis%20of%20Natural%20Gas%20Extraction%20and%20Power%20Generation%2005_29_14%20NETL.pdf
Notes:
Value | Description
1.2% | Loss rate from extraction through transmission of natural gas

## PipelineCompressor
Pipeline and Compressor Station(s)
This sheet calculates the GHG emissions related to gas transportation via pipelines from natural gas wells in Pennsylvania to the Wyalusing liquefaction facility for the Gibbstown LNG Export Terminal.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| metric tons CO2e/yr | metric tons CO2e/yr | metric tons CO2e/yr
Pipeline and Compressor Station(s), 20-year GWP | 0 | 4153.6899 | 4153.6899
Pipeline and Compressor Station(s), 100-year GWP | 0 | 1500.3631 | 1500.3631
| No upfront emissions were calculated, under the assumption that the majority of the pipeline and compressor station infrastructure is already built. | The above uses a 20-year GWP to calculate CO2e
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Amount of natural gas transported | 128 | bcf
Section B2. Pipeline Emissions Data and Calculations
Description | Value | Units | Notes | Source
Transmission emissions per mile | 1120 | kg CH4/mile |  | Littlefield et al., 2019.
Miles of transmission: | 30 | miles | This is a general assumption based on the relative proximity between the natural gas wells in the Marcellus Shale and the Wyalusing liquefaction facility location.
Transmission emissions | 33600 | kg CH4
Transmission emissions | 37.0272 | short tons CH4
Transmission emissions | 3054.744 | short tons CO2e (20 year)
Transmission emissions | 1103.4106 | short tons CO2e (100 year)
Section B3. Processing Emissions Data and Calculations
Description | Value | Units | Notes | Source
Processing/Pneumatics Emissions | 3173 | kg CH4 / facility |  | Littlefield et al., 2019.
Processing/Pneumatics Emissions | 33.6 | Bcf/facility-yr |  | Littlefield et al., 2019.
Processing/Pneumatics Emissions | 128 | Bcf throughput per year
Processing/Pneumatics Emissions | 3.8095 | facilities used/year
Processing/Pneumatics Emissions | 12087.619 | kg CH4 / year
Processing/Pneumatics Emissions | 13.3206 | short tons CH4
Processing/Pneumatics Emissions | 1098.9459 | short tons CO2e (20 year)
Processing/Pneumatics Emissions | 396.9526 | short tons CO2e (100 year)
Section C. Sources
Section C1. Source for Exhibit 3-16. GHGI Emission and Activity Factors and Corresponding Natural Gas Throughput
Source: | Littlefield, J., S. Roman-White, D. Augustine, A. Pegallapati, G. G. Zaimes, S. Rai, G. Cooney, and T. J. Skone. April 2019. "Life Cycle Analysis of Natural Gas Extraction and Power Generation." National Energy Technology Laboratory. Available at: https://www.netl.doe.gov/energy-analysis/details?id=3198
Notes:
Exhibit 3‐16. GHGI Emission and Activity Factors and Corresponding Natural Gas Throughput
Stage (or substage) | Emission Source | Vent | Fugitive | Emissions |  |  |  | Natural Gas Throughput
|  |  |  | GHGI Emission Factor | Units (annualized) | Activity Factor | Units | Throughput | Units
Production | Well drilling | • |  | 52 | kg CH4/completed well | * | completed wells | EUR* | Bcf/well‐life
| Compressor blowdowns | • |  | 77 | kg CH4/compressor | 0.078 | compressors/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
| PRV (pressure relief valve) upsets | • |  | 0.7 | kg CH4/PRV | 2.4 | PRV/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
| Vessel blowdowns | • |  | 1.6 | kg CH4/vessel | 0.93 | vessels/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
Gathering | Mishaps | • |  | 14 | kg CH4/mile | 81 | wells/facility | Annual production* | Mcf/basin‐yr
[6 empty] | 0.67 | miles/well
Processing | Pneumatics | • |  | 3173 | kg CH4/facility | 1 | facilities | 33.6 | Bcf/facility‐yr
Transmission | Dehydrator vents | • |  | 1.8 | kg CH4/MMscf NG dehydrated | 1190000 | MMscf NG | 28.2 | Tcf transmission
Transmission Pipeline | Pipeline fugitives |  | • | 1120 | kg CH4/mile | 301257 | miles | 28.2 | Tcf transmission
Storage | Dehydrator vents | • |  | 2.3 | kg CH4/MMscf dehydrated | 1850000 | MMscf dehydrated | 9.24 | Tcf capacity
| Station venting | • |  | 84000 | kg CH4/station | * | Bcf station capacity | 9.24 | Tcf capacity
Distribution | Customer meters (residential) |  | • | 1.5 | kg CH4/meters | 54300000 | meters | 13.9 | Tcf distributed
| Customer meters (commercial/industrial) |  | • | 9.7 | kg CH4/meter | 5660000 | meters | 13.9 | Tcf distributed
| PRV (pressure relief valve) upsets | • |  | 1 | kg CH4/mile | 1280000 | miles | 13.9 | Tcf distributed
| Pipeline blowdowns | • |  | 2 | kg CH4/mile | 2190000 | miles | 13.9 | Tcf distributed
| Mishaps (dig ins) | • |  | 31 | kg CH4/mile | 2190000 | miles | 13.9 | Tcf distributed
* In some instances, throughput is variable across basins and extraction technologies. This variability is based on NETL’s stratification of the data by basins and extraction
technologies. Variability in activity factors are based on stratification of GHGRP data as shown in Exhibit 3‐8 through Exhibit 3‐15, and variability in natural gas throughputs are
based on stratification of DI Desktop data.
Section C2. Estimated Transmission Distance
Source: | Kelso, Matt. 2018. “Pennsylvania Pipelines and Pollution Events.” FracTracker Alliance. July 27, 2018. Available at: https://www.fractracker.org/2018/07/pennsylvania-pipelines-pollution/.
Notes:
|  |  | Location | Distance (approximate) | Unit
|  |  | Location A (near Athens) | 27 | miles
|  |  | Location B (near Canton) | 33 | miles
|  |  | Average distance | 30 | miles
A
B
Wyalusing LNG Facility

## Liquefaction
Gas Liquefaction Facility
This sheet calculates the GHG emissions related to natural gas liquefaction at the Wyalusing Liquefaction facility.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| units | short tons CO2e/year | short tons CO2e/year
Gas Liquefaction Facility, 20-year GWP | See "Construction" tab | 1138399.7009 | 1138399.7009
Gas Liquefaction Facility, 100-year GWP | See "Construction" tab | 1112521.0855 | 1112521.0855
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Amount of natural gas liquefied | 128 | bcf/year
Section B2. Ongoing Operating Emissions Data and Calculations per BCF
This section is used to calculate the Default Wyalusing facility emissions or the User Input emissions scaled to BCF of throughput, based on the Dashboard inputs. If users input their own facility emissions in the Dashboard, Section B3 is used instead.
Input | Value | Units | Notes | Source
Natural Gas Throughput (Gibbstown documentation) | 128 |  | Natural gas throughput in Gibbstown documentation as of December 2022, used to scale User Input levels of natural gas throughput.
Operating Facility Annual Emissions, All GHGs | 8653.7422 | short tons CO2e/bcf/year | 100 year GWP (AR4 values)
Operating Facility Annual Emissions, CH4 | 3.0326 | short tons CH4/bcf/year
Operating Facility Annual Emissions, CO2 | 8577.247 | short tons CO2/bcf/year
Operating Facility Annual Emissions, All GHGs | 8827.4381 | short tons CO2e/bcf/year | 20 year GWP (AR6)
Operating Facility Annual Emissions, All GHGs | 8667.6191 | short tons CO2e/bcf/year | 100 year GWP (AR6)
Fugitive Facility Annual Emissions, CH4 | 0.80375 | short tons CH4/ybcf/year
Fugitive Facility Annual Emissions, CO2 | 0.00015625 | short tons CO2/bcf/year
Fugitive Facility Annual Emissions, All GHGs | 66.3095 | short tons CO2e/bcf/year | 20 year GWP
Fugitive Facility Annual Emissions, All GHGs | 23.9519 | short tons CO2e/bcf/year | 100 year GWP
Annual Emissions, All GHGs | 8893.7477 | short tons CO2e/bcf/year | 20 year GWP (AR6)
Annual Emissions, All GHGs | 8691.571 | short tons CO2e/bcf/year | 100 year GWP (AR6)
Annual Emissions, All GHGs | 1138399.7009 | short tons CO2e/year | 20 year GWP (AR6)
Annual Emissions, All GHGs | 1112521.0855 | short tons CO2e/year | 100 year GWP (AR6)
Section B3. Ongoing Operating Emissions Data and Calculations
This section is used if a user inputs their own facility emissions in the Dashboard. If users choose to use the Default emissions or scale emissions with BCF in the Dashboard, Section B2 is used instead.
Input | Value | Units | Notes | Source
Operating Facility Annual Emissions, All GHGs | 1107679 | short tons CO2e/year | 100 year GWP (AR4 values)
Operating Facility Annual Emissions, CH4 | 117.6289 | short tons CH4/year
Operating Facility Annual Emissions, CO2 | 1097887.617 | short tons CO2/year
Operating Facility Annual Emissions, All GHGs | 1107592 | short tons CO2e/year | 20 year GWP (AR6)
Operating Facility Annual Emissions, All GHGs | 1101392.9578 | short tons CO2e/year | 100 year GWP (AR6)
Fugitive Facility Annual Emissions, All GHGs | 102.88 | short tons CO2e/year
Fugitive Facility Annual Emissions, CH4 | 102.88 | short tons CH4/year
Fugitive Facility Annual Emissions, CO2 | 0.02 | short tons CO2/year
Fugitive Facility Annual Emissions, CH4 (CO2e) | 8487.6 | short tons CO2e/year | User Input GWP: AR6 GWP-20
Fugitive Facility Annual Emissions, CO2 (CO2e) | 0.02 | short tons CO2e/year | User Input GWP: AR6 GWP-20
CH4 percent of Fugitive Emissions (CO2e) | 100% | CH4 percent of CO2e
Fugitive Facility Annual Emissions, CH4 | 1.247 | short tons CH4/year
Fugitive Facility Annual Emissions, CO2 | 0.00024242 | short tons CO2/year
Fugitive Facility Annual Emissions, All GHGs | 102.88 | short tons CO2e/year | 20 year GWP (AR6)
Fugitive Facility Annual Emissions, All GHGs | 37.1617 | short tons CO2e/year | 100 year GWP (AR6)
Annual Emissions, All GHGs | 1107694.88 | short tons CO2e/year | 20 year GWP (AR6)
Annual Emissions, All GHGs | 1101430.1194 | short tons CO2e/year | 100 year GWP (AR6)
Section C. Sources
Section C1. Estimate of CO2 portion of facility emissions
Source: | AP 42 Fifth Edition Compilation of Air Pollutant Emissions Factors, Volume 1: Stationary Point and Area Sources. Available at: https://www.epa.gov/air-emissions-factors-and-quantification/ap-42-compilation-air-emissions-factors#5thed
Note: | Estimated % proportion CO2 calculated using AP-42 emissions factors and PA DEP Air Quality Application emission calculation tables
Percent composition |  | Process Turbines (LM6000PF+) 1 | Gas Turbine Generators (SGT-400) 1 | Steam Boilers 1 | Regeneration Gas Heater | Generators | Fire Pumps | Thermal Oxidizer | Flares | Total
Share of total facility emissions |  | 47.35% | 19.86% | 5.426% | 1.706% | 0.232% | 0.02131% | 24.06% | 1.337% | 99.99%
Estimated % share CO2 |  | 99.9% | 99.9% | 99% | 99% | 99% | 99% | 97% | 99%
Aggregated % share |  | 47.31% | 19.84% | 5.372% | 1.689% | 0.2297% | 0.02109% | 23.33% | 1.324% | 99.12%
% share not CO2 | [9 empty] | 0.8761%
Section C2. Table A-1 Summary of Potential Emissions
Source: | PA DEP Air Quality Plan Approval 7/24/2019, available at: https://files.dep.state.pa.us/RegionalResources/NCRO/NCROPortalFiles/NewFortressEnergy/Air_Quality_Plan_Approval_7-24-19.pdf
Note: | Table updated from Air Quality Application with correct approved numbers in Plan Approval
|  | Controlled Potential Annual Emissions (TPY) | Controlled Potential Annual Emissions (TPY)
Pollutant | Facility Annual Emissions (TPY) | Unit | Process Turbines (LM6000PF+) 1 | Gas Turbine Generators (SGT-400) 1 | Steam Boilers 1 | Regeneration Gas Heater | Generators | Fire Pumps | Thermal Oxidizer | Flares | Fugitives
NOX | 97.86 | tons/year | 32.98 | 13.46 | 3.75 | 6.41 | 12.82 | 0.42 | 27.37 | 6.55
CO | 90.87 | tons/year | 17.83 | 7.29 | 10.5 | 6.57 | 13.14 | 0.3 | 16.5 | 26.99
VOC | 36.3 | tons/year | 12.03 | 8.97 | 1.92 | 3.05 | 6.1 | 0.038 | 0.021 | 2.49 | 17.46
PM/PM-10/PM-2.5 | 99.95 | tons/year | 57.15 | 26.64 | 8.41 | 2.08 | 4.16 | 0.024 | 2.44 | 2.51 | 0.09
SOX | 83.25 | tons/year | 16.93 | 7.1 | 1.94 | 0.61 | 1.22 | 0.02 | 55.86 | 0.75
GHG (CO2e) | 1107679 | tons/year | 524532 | 219981 | 60105 | 18899 | 2570 | 236 | 266454 | 14815
NH3 | 49.02 | tons/year | 29.76 | 12.48 | 6.78
Total HAPs 2 | 8.77 | tons/year
H2SO4 | 25.9 | tons/year | 18.38 | 6.17 | 1.33
1. Potential emission estimates are extremely conservative in that emission based on 100% operation. Units are design with redundancy - i.e. not needed to operate full load all year.
2. Largest single HAPs emitted are formaldehyde at 4.55 TPY and Hexane at 1.1 TPY. Therefore facility not major for HAPs
Section C3. Table A-10.a Fugitive Emissions: Natural Gas Equipment Leaks
Source: | PA DEP. Minor Source Plan Approval Application for Natural Gas Processing Plant. December 2018. Available at: https://files.dep.state.pa.us/RegionalResources/NCRO/NCROPortalFiles/NewFortressEnergy/New%20Fortress%20Energy%20LNG%20Plant%20Plan%20Approval%20Application%20(December%202018).pdf
Notes: | Submitted to PA DEP by Bradford County Real Estate Partners LLC
Components | Phase | TOC/VOC Emission Factor (Ib/hour/component) | Actual Component Count | Hourly CH4 Emissions (’’’(b) (lb/hour) | Annual CH4 Emissions (d) (tons/year) | Hourly CO2 Emissions (a)’0” (lb/hour) | Annual CO2 Emissions (d) (tons/year) | Hourly VOC Emissions (a’*’ (lb/hour) | Annual VOC Emissions (d’ (tons/year)
Valves | Gas/Vapor | 9.9E-03 (1) | 1414 | 13.72 | 60.09 | 0 | 0.01 | 0.32 | 0.57
Pressure Relief Valves | Gas/Vapor | 1.9E-02 (1) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No PSVs vented to atmosphere
Pump Seals |  | 2.9E-03 (1) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flanges | Gas/Vapor | 8.6E-04 (1) | 1275 | 1.07 | 4.7 | 0.00022 | 0.00096 | 0.025 | 0.044
Compressor Seals |  | 1.9E-02 (1) | 10 | 0.19 | 0.83 | 3.9e-05 | 0.00017 | 0.0045 | 0.0078
Sampling Connections |  | 3.3E-02 (2) | 2 | 2.8 | 12.28 | 0.00058 | 0 | 0.07 | 0.12
Total |  |  |  |  | 77.89 |  | 0.02 |  | 0.73
Calculations:
(a) Hourly Emissions (lb/hr) = [Emission Factor (lb TOC/hr/component)] x [Count (component)] x [CH4/CO2//VOC Content (Mass %)] / [TOC Content (Mass %)]
(b) Hourly Emissions (lb/hr) = [Emission Factor (lb VOC/hr/component)] x [Count (component)] x [CH4/CO2 Content (Mass %)] / [VOC Content (Mass%)]
(c) Hourly Emissions (lb/hr) = [Emission Factor (lb VOC/hr/component)] x [Count (component)]
CH4 Content (mass %) = 97.5
CO2 Content (mass %) = 0.02
VOC Content (mass %) = 2.30
TOC Content (mass %) = 99.70
(d) Annual Emissions (tons/yr) = [Hourly Emissions (lb/hr)] x [Hours of Operation (hr/yr)] / [2,000 lb/ton]
Hours of Operation (hr/yr) = 8,760
LDAR Program Reduction = 60% Based on 60% reduction for quarterly LDAR per PADEP GP5 support Document
(e) HAPS estimated at percent as for Thermal Oxidizer 10.80% 0.08 TPY
Notes:
(1) EPA-453/R-95-017 Protocol for Equipment Leak Emission Estimates, EPA, November 1995. Table 2-4. Oil and Gas Production Operations Average Emission Factors (page 2-15), total
organic compounds emission factors (TOC).
(2) EPA-453/R-95-017 Protocol for Equipment Leak Emission Estimates, EPA, November 1995. Table 2-2. Refinery Average Emission Factors (page 2-13), non-methane organic compounds emission factor (VOC).
Section C4. Table A-10.b Fugitive Emissions: LNG Equipment Leaks
Source: | PA DEP. Minor Source Plan Approval Application for Natural Gas Processing Plant. December 2018. Available at: https://files.dep.state.pa.us/RegionalResources/NCRO/NCROPortalFiles/NewFortressEnergy/New%20Fortress%20Energy%20LNG%20Plant%20Plan%20Approval%20Application%20(December%202018).pdf
Notes: | Submitted to PA DEP by Bradford County Real Estate Partners LLC
Components | Phase | TOC/VOC Emission Factor (Ib/hr/component) | Actual Component Count | Hourly CH4 Emissions (a)’(b) (lb/hr) | Annual CH Emissions (d) (tons/yr) | Hourly CO2 Emissions (a)’01) (lb/hr) | Annual CO2 Emissions (d) (tons/yr) | Hourly VOC Emissions (a)’(c) (lb/hr) | Annual VOC Emissions (d) (tons/yr)
Valves | Liquid | 0.0055 | 634 | 3.42 | 14.97 | 0 | 0 | 0.08 | 0.14
Pressure Relief Valves | Liquid | 0.017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No PSVs vented to atmosphere
Pump Seals |  | 0.0029 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flanges | Liquid | 0.00024 | 321 | 0.08 | 0.33 | 1.6e-05 | 6.8e-05 | 0.0018 | 0.0031
Compressor Seals |  | 0.019 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sampling Connections | All | 0.033 | 1 | 1.4 | 6.14 | 0.00029 | 0 | 0.03 | 0.06
Total |  |  |  |  | 21.44 |  | 0 |  | 0.2
Calculations:
(a) Hourly Emissions (lb/hr) = [Emission Factor (lb TOC/hr/component)] x [Count (component)] x [CH4/CO2//VOC Content (Mass %)] / [TOC Content (Mass %)]
(b) Hourly Emissions (lb/hr) = [Emission Factor (lb VOC/hr/component)] x [Count (component)] x [CH4/CO2 Content (Mass %)] / [VOC Content (Mass%)]
(c) Hourly Emissions (lb/hr) = [Emission Factor (lb VOC/hr/component)] x [Count (component)]
CH4 Content (mass %) = 97.5
CO2 Content (mass %) = 0.02
VOC Content (mass %) = 2.30
TOC Content (mass %) = 99.70
(d) Annual Emissions (tons/yr) = [Hourly Emissions (lb/hr)] x [Hours of Operation (hr/yr)] / [2,000 lb/ton]
Hours of Operation (hr/yr) = 8,760
LDAR Program Reduction = 60% Based on 60% reduction for quarterly LDAR per PADEP GP5 support Document
(e) HAPS not expected to be present
Notes:
(1) EPA-453/R-95-017 Protocol for Equipment Leak Emission Estimates, EPA, November 1995. Table 2-4. Oil and Gas Production Operations Average Emission Factors (page 2-15), total organic
compounds emission factors (TOC).
(2) EPA-453/R-95-017 Protocol for Equipment Leak Emission Estimates, EPA, November 1995. Table 2-2. Refinery Average Emission Factors (page 2-13), non-methane organic compounds emission factor (VOC)
Section C5. Table A-10.c Fugitive Emissions: Refrigerated Vapor Equipment Leaks
Source: | PA DEP. Minor Source Plan Approval Application for Natural Gas Processing Plant. December 2018. Available at: https://files.dep.state.pa.us/RegionalResources/NCRO/NCROPortalFiles/NewFortressEnergy/New%20Fortress%20Energy%20LNG%20Plant%20Plan%20Approval%20Application%20(December%202018).pdf
Notes: | Submitted to PA DEP by Bradford County Real Estate Partners LLC
Components | Phase | TOC/VOC Emission Factor (Ib/hr/component) | Actual Component Count | Hourly CH4 Emissions (’’’(b) (lb/hr) | Annual CH4 Emissions (d) (tons/yr) | Hourly CO2 Emissions (a)’0” (lb/hr) | Annual CO2 Emissions (d) (tons/yr) | Hourly VOC Emissions (a’*’ (lb/hr) | Annual VOC Emissions (d’ (tons/yr)
Valves | Gas/Vapor | 9.9E-03 (1) | 423 | 0.66 | 2.9 | 0 | 0 | 3.53 | 6.19
Pressure Relief Valves | Gas/Vapor | 1.9E-02 (1) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No PSVs vented to atmosphere
Pump Seals |  | 2.9E-03 (1) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flanges | Gas/Vapor | 8.6E-04 (1) | 901 | 0.12 | 0.54 | 0 | 0 | 0.65 | 1.14
Compressor Seals |  | 1.9E-02 (1) | 4 | 0.01 | 0.05 | 0 | 0 | 0.065 | 0.11
Sampling Connections |  | 3.3E-02 (2) | 2 | 0.01 | 0.05 | 0 | 0 | 0.07 | 0.12
Total |  |  |  |  | 3.55 |  | 0 |  | 7.56
Calculations:
(a) Hourly Emissions (lb/hr) = [Emission Factor (lb TOC/hr/component)] x [Count (component)] x [CH4/CO2//VOC Content (Mass %)] / [TOC Content (Mass %)]
(b) Hourly Emissions (lb/hr) = [Emission Factor (lb VOC/hr/component)] x [Count (component)] x [CH4/CO2 Content (Mass %)] / [VOC Content (Mass%)]
(c) Hourly Emissions (lb/hr) = [Emission Factor (lb VOC/hr/component)] x [Count (component)]
CH4 Content (mass %) = 15.0
CO2 Content (mass %) = 0.00
VOC Content (mass %) = 80.00
TOC Content (mass %) = 95.00
(d) Annual Emissions (tons/yr) = [Hourly Emissions (lb/hr)] x [Hours of Operation (hr/yr)] / [2,000 lb/ton]
Hours of Operation (hr/yr) = 8,760
LDAR Program Reduction = 60% Based on 60% reduction for quarterly LDAR per PADEP GP5 support Document
(e) Refrigerant not a HAP
Notes:
(1) EPA-453/R-95-017 Protocol for Equipment Leak Emission Estimates, EPA, November 1995. Table 2-4. Oil and Gas Production Operations Average Emission Factors (page 2-15), total
organic compounds emission factors (TOC).
(2) EPA-453/R-95-017 Protocol for Equipment Leak Emission Estimates, EPA, November 1995. Table 2-2. Refinery Average Emission Factors (page 2-13), non-methane organic compounds emission factor (VOC)
Section C6. Natural Gas Consumed During Liquefaction Process
Source: | Pospisil, J., P. Charvat, O. Arsenyeva, L. Klimes, M. Spilacek, J.J. Klemes. 2018. "Energy demand of liquefaction and regasificatino of natural gas and the potential of LNG for operative thermal energy storage." Renewable and Sustainable Energy Reviews. Page 5.
Notes:
Gas consumed during the liquefaction process | Source
9-10% | Kandiyoti R. (Rafael). Pipelines: flowing oil and crude politics. London, UK: I.B. Tauris; 2008.
5-6% | Ulvestad M, Overland I. Natural gas and CO2 price variation: impact on the relative cost-efficiency of LNG and pipelines. Int J Environ Stud 2012;69:407–26. https://doi.org/10.1080/00207233.2012.677581.
5-15% | Selfors A, Thorsen K, Hofstad K, Fagerlund K, Wiggen T. Natural gas: a general introduction. Norwegian Directorate of Hydropower and Energy, Oslo, Norway; 2004.
9% | Jung Y, Yokobori K, Doi N, Peng H, Wang Z, Sinygin O. Natural gas pipeline development in Northeast Asia. Tokyo, Japan: Asia Pacific Energy Research Centre; 2000.
8.5% | Average amount of gas consumed during liquefaction

## DomesticTransport
Domestic Transport
This sheet calculates the GHG emissions related to transporting LNG by train and truck from the Wyalusing Liquefaction Facility to the Gibbstown LNG Export Terminal.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| units | short tons CO2e/yr | short tons CO2e/yr
Domestic Transport, 20-year GWP | 0 | 41115.9136 | 41115.9136
Domestic Transport, 100-year GWP | 0 | 24523.0633 | 24523.0633
No upfront emissions were calculated, under the assumption that the infrastructure is already built.
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Amount of natural gas transported from liquefaction facility to export terminal | 128 | bcf
Section B2. Train Transportation Emissions
Calculated as if trains transport 100% of the LNG throughput
Input | Value | Unit | Notes | Source
Distance travelled | 255 | Miles | Estimation from Google Maps route between Wyalusing, PA, and Gibbstown, NJ
Number of trains | 150 | train cars/day | Estimation from Application | Pipeline and Hazardous Materials Safety Administration (PHMSA). July 2019. "ETS LLC SP 20534 Application (REDACTED)." Available at: https://www.regulations.gov/document/PHMSA-2019-0100-0941
Emission Factor | 144.97 | gCO2/TEU-mi |  | PHMSA, 2019
Emission Factor | 0.00015976 | short ton CO2/TEU-mi
Operating days per year | 365.25 | days/year
Emissions per day | 6.1107 | short tonCO2/day
Annual Emissions | 2231.9343 | short tonCO2/year | Calculated as if trains transport 100% of the LNG throughput
Section B3. Truck Transportation Emissions
Calculated as if trucks transport 100% of the LNG throughput
Input | Value | Unit | Notes | Source
Distance travelled | 174.04 | Miles | Estimation from Google Maps route
Number of trucks | 400 | cars/day
Emission Factor | 1001 | gCO2/TEU-mi
Emission Factor | 0.0011031 | short ton CO2/TEU-mi
Operating days per year | 365.25 | days/year
Emissions per day | 76.7935 | short tonCO2/day
Annual Emissions | 28048.8437 | short tonCO2/year | Calculated as if trucks transport 100% of the LNG throughput
Section B4. Transport Emission Calculations
Percent transported by rail | Rail | Truck | Total | Unit | Notes | Source
Percent share of transports | 50% | 50% | 100% | % | Input. Total must sum to 100%
Transport emissions proportion | 1115.9671 | 14024.4219 | 15140.389 | short ton CO2e/year
Section B5. Venting, Flaring, and Fugitive Emissions during Transit
Input | Value | Unit | Notes | Source
Number of Cars (default) | 550 | Number of cars transporting LNG daily | Includes both train and truck cars
Valves | 1.9255 | Number of valves/LNG car | Assumes comparable number of units to refrigerated liquid equipment leaks
Pump seals | 0 | Number of pump seals/LNG car | Assumes comparable number of units to refrigerated liquid equipment leaks
Connectors | 1.7491 | Number of connectors/LNG Car | Assumes comparable number of units to refrigerated liquid equipment leaks
Other leak sources | 0 | Number of other leak sources/LNG car | Assumes comparable number of units to refrigerated liquid equipment leaks
Vapor recovery compressors | 0 | Number of vapor recovery compressors/LNG Car | Assumes comparable number of units to refrigerated liquid equipment leaks
Number of Cars (user input or default) | 550
Valves | 1059 | Number of valves | Assumes comparable number of units to refrigerated liquid equipment leaks | PA DEP, 2018
Pump seals | 0 | Number of pump seals | Assumes comparable number of units to refrigerated liquid equipment leaks | PA DEP, 2018
Connectors | 962 | Number of connectors | Assumes comparable number of units to refrigerated liquid equipment leaks | PA DEP, 2018
Other leak sources | 0 | Number of other leak sources | Assumes comparable number of units to refrigerated liquid equipment leaks | PA DEP, 2018
Vapor recovery compressors | 0 | Number of vapor recovery compressors | Assumes comparable number of units to refrigerated liquid equipment leaks | PA DEP, 2018
Valve leakage | 1260.21 | scf/hour
Pump seal leakage | 0 | scf/hour
Connector leakage | 327.08 | scf/hour
Other leak sources leakage | 0 | scf/hour
Vapor recovery compressor leakage | 0 | scf/hour
Days per year | 365.25 | days/year
Valve leakage | 11047000.86 | scf/year
Pump seal leakage | 0 | scf/year
Connector leakage | 2867183.28 | scf/year
Other leak sources leakage | 0 | scf/year
Vapor recovery compressor leakage | 0 | scf/year
Valve emissions | 249.9753 | short tons of CH4/year
Pump seal emissions | 0 | short tons of CH4/year
Connector emissions | 64.8796 | short tons of CH4/year
Other leak sources emissions | 0 | short tons of CH4/year
Vapor recovery compressor emissions | 0 | short tons of CH4/year
Total Leakage Emissions | 314.8548 | short tons of CH4/year
Total Leakage Emissions (20-year GWP) | 25975.5247 | short tons CO2e/year
Total Leakage Emissions (100-year GWP) | 9382.6744 | short tons CO2e/year
Section C. Sources
Section C1. Engine Emissions
Source: | PHMSA SP 20534 Special Permit to transport LNG by rail in DOT-113C120W rail tank cars, available at https://www.phmsa.dot.gov/sites/phmsa.dot.gov/files/docs/safe-transportation-energy-products/72911/environmental-assessment.pdf
Note: | Table 3 is standard comparison of emissions, not specific to this project
Note: | "A standardized unit, g/TEU-mi, converted the grams of pollutant produced per twenty-foot equivalent unit (TEU) per mile. A TEU is a commonly defined container unit for shipping cargo with volume of 20’ length x 8’6” height x 8’ width" (Page 18)
Table 3. GHG Emission Factors for Transportation Modalities (g/TEU-mi)
Mode | CO2
Truck | 1001
Rail | 144.97
Ship | 292.83
A standardized comparison of the emissions of substances produced from rail and truck transportation methods was calculated by the United States Department of Transportation in their Freight Routing and Emissions Analysis Tool (FREAT)
Section C2. Train Transportation
Source: | PHMSA, Application for a Special Permit to Transport Methane, Refridgerated Liquid in DOT 113 Tank Cars, available at https://www.regulations.gov/document/PHMSA-2019-0100-0941
Notes: | Submitted to PHMSA by Energy Transport Solutions, LLC on August 21, 2017
Description | Value | Units | Notes
Train cars per unit train | 50-100 | cars | Application, page 6
Total proposed operating unit trains | 2 | unit trains/day | Application, page 7
Average cars per unit train | 75 | cars
Estimated cars operated per day | 150 | cars/day
Section C3. Wyalusing Project Description
Source: | PA DEP. Minor Source Plan Approval Application for Natural Gas Processing Plant. December 2018. Available at: https://files.dep.state.pa.us/RegionalResources/NCRO/NCROPortalFiles/NewFortressEnergy/New%20Fortress%20Energy%20LNG%20Plant%20Plan%20Approval%20Application%20(December%202018).pdf
Notes: | Submitted to PA DEP by Bradford County Real Estate Partners LLC
Step/part | Process |  |  | Value | Unit
Truck loading | Loading bays |  |  | 18 | trucks/load
Truck loading | Tanker truck nominal capacity |  |  | 10000 | gal/truck
Truck loading | Tanker truck fill rate |  |  | 300 | gal/minute
Truck loading | Daily onsite vehicular traffic |  |  | 400 | vehicles
Truck loading | Distance traveled |  |  | 68620 | VMT
Production | Estimated nominal daily average of LNG production |  |  | 4000000 | gallons/day
Section C4. Truck Transport Volume Calculations
Source: | Section C2, above.
Notes:
Estimated annual volume transported by truck | Based on estimate of average gallons produced per day |  |  | 119.0715 | bcf/year by Truck
Truck loading rate | Total for all truck bays |  |  | 324000 | gal/hour
Truck loading hours |  |  |  | 12 | hours/day
Estimated annual gallons of LNG transported by truck |  |  |  | 1420092000 | gal/year
Estimated maximum volume of LNG transported by truck | Based on truck capacity and loading assumptions |  |  | 115.7375 | bcf/year
Total LNG transported | Total LNG exported from Gibbstown |  |  | 128 | Total bcf/year exported
Maximum percent of total LNG exports transported by truck |  |  |  | 90.42% | LNG exported by truck
Section C5. Truck and Rail Transportation Route Distances
Source: | Delaware Riverkeeper Network. "LNG Gibbstown Interactive Map" Available at: https://www.delawareriverkeeper.org/taxonomy/term/1174
Notes:
Truck Route A
Name | Miles |  | Rail Route A
29 | 9.46 |  | Total miles
309 | 18.07 |  | 255
115 | 2.82
476 | 13.13
6 | 25.34
476 | 94.28
95 | 2.97
44 | 2.37
322 | 3.69
130 | 1.28
Repauna Ave | 0.63
Total miles | 174.04
Section C6. Storage, Loading, and Unloading Loss Rates for LNG
Source: | The LEVON Group, LLC. May 2015. "Liquefied Natural Gas (LNG) Operations: Consistent Methodology for Estimating Greenhouse Gas Emissions." Energy API. Available at: https://www.api.org/~/media/Files/EHS/climate-change/api-lng-ghg-emissions-guidelines-05-2015.pdf
Notes: | Most or all venting from LNG storage tanks is captured and redirected to storage tanks or flared. As a result, the CH4 emissions from venting of stored LNG are typically negligible.
Table 12. Storage, Load, and Unloading: Typical Loss Rates
Source | Typical Venting or Loss Rate | Units
BOG from storage tanks (a) | 0.05% | Of total tank volume per day
BOG from vessels during shipping (b) | 0.15% | Of total ship storage volume per day
Transfer pipe loss - foam insulation (c) | 0.0012% | per km LNG transfer pipe (d)
Transfer pipe loss - powder insulation (c) | 0.0006% | per km LNG transfer pipe (d)
Transfer pipe loss - vacuum insulation | 0.00012% | per km LNG transfer pipe (d)
BOG = boil-off-gas
(a) D. Féger, “An innovative way of reducing BOG on existing or ’new built’ LNG storage tanks”, ,Proceedings LNG16 Congress, Algeria, April 2010
(b) Sempra LNG, “GHG life-cycle emissions study: U.S. Natural Gas Supplies and International LNG”, November 2008
(c) B. Kitzel, “Choosing the right insulation”, LNG Industry, Spring 2008
(d) Based on LNG transfer rate of 228m3/min and heat transfer coefficient of pipe wall insulation, U(w/m2k)= 0.26 (foam), 0.13 (powder), and 0.026 (vacuum),
(e) EPA, Natural Gas Star, “Liquefied Natural Gas Emissions Reduction Opportunities: Lessons Learned” Natural Gas STAR Technology Transfer Workshop, Alaska, May 2006
Section C7. Default Methane Emission Factors per Component Population for LNG Storage and Import/Export Terminals
Source: | The LEVON Group, LLC. May 2015. "Liquefied Natural Gas (LNG) Operations: Consistent Methodology for Estimating Greenhouse Gas Emissions." Energy API. Available at: https://www.api.org/~/media/Files/EHS/climate-change/api-lng-ghg-emissions-guidelines-05-2015.pdf
Notes:
Table 13. Default Methane Emission Factors per Component Population for LNG Storage and Import/Export Terminals
Component/Device | Emissions Factor (a) (scf/hour/component)
Valve | 1.19
Pump Seal | 4
Connectors (flanges and threaded fittings) | 0.34
Other (b) | 1.77
Vapor Recovery Compressors © | 4.17 | (per compressor)
(a) See Reference 20; based on an assumed methane content of 93.4%
(b) Emission factor is in terms of scf/hour/compressor
(c) Emission factor is in terms of scf/hour/compressor
Section C8. Table A-10.d Fugitive Emissions: Refrigerated Liquid Equipment Leaks
Source: | PA DEP. Minor Source Plan Approval Application for Natural Gas Processing Plant. December 2018. Available at: https://files.dep.state.pa.us/RegionalResources/NCRO/NCROPortalFiles/NewFortressEnergy/New%20Fortress%20Energy%20LNG%20Plant%20Plan%20Approval%20Application%20(December%202018).pdf
Notes: | Submitted to PA DEP by Bradford County Real Estate Partners LLC
Bradford County Real Estate Partners LLC
Natural Gas Processing Plant
Table A-10.d Fugitive Emissions: Refrigerated Liquid Equipment Leaks
Components | Phase | TOC/VOC Emission Factor (lb/hr/component) |  | Actual Component Count | Hourly CH4 Emissions (a),(b) (lb/hr) | Annual CH4 Emissions (d) (tons/yr) | Hourly CO2 Emissions (a),(b) (lb/hr) | Annual CO2 Emissions (d) (tons/yr) | Hourly VOC Emissions (a),(c) (lb/hr) | Annual VOC Emissions (d) (tons/yr) | No PSVs vented to atmosphere
Valves | Liquid | 0.0055 | (1) | 1059 | 0.92 | 4.04 | 0 | 0 | 4.92 | 8.61
Pressure Relief Valves | Liquid | 0.017 | (1) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump Seals |  | 0.0029 | (1) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flanges | Liquid | 0.00024 | (1) | 962 | 0.04 | 0.16 | 0 | 0 | 0.2 | 0.34
Compressor Seals |  | 0.019 | (1) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sampling Connections | All | 0.033 | (2) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | [5 empty] | 4.2 |  | 0 |  | 8.96
Calculations:
(a) Hourly Emissions (lb/hr) = [Emission Factor (lb TOC/hr/component)] x [Count (component)] x [CH4/CO2//VOC Content (Mass %)] / [TOC Content (Mass %)]
(b) Hourly Emissions (lb/hr) = [Emission Factor (lb VOC/hr/component)] x [Count (component)] x [CH4/CO2 Content (Mass %)] / [VOC Content (Mass%)]
(c) Hourly Emissions (lb/hr) = [Emission Factor (lb VOC/hr/component)] x [Count (component)]
CH4 Content (mass %) = 15.0
CO2 Content (mass %) = 0.00
VOC Content (mass %) = 80.00
TOC Content (mass %) = 95.00
(d) Annual Emissions (tons/yr) = [Hourly Emissions (lb/hr)] x [Hours of Operation (hr/yr)] / [2,000 lb/ton]
Hours of Operation (hr/yr) = 8,760
LDAR Program Reduction = 60% Based on 60% reduction for quarterly LDAR per PADEP GP5 support Document
(e) Refrigerant not a HAP
Notes:
(1) EPA-453/R-95-017 Protocol for Equipment Leak Emission Estimates, EPA, November 1995. Table 2-4. Oil and Gas Production Operations Average Emission Factors (page 2-15), total
organic compounds emission factors (TOC).
(2) EPA-453/R-95-017 Protocol for Equipment Leak Emission Estimates, EPA, November 1995. Table 2-2. Refinery Average Emission Factors (page 2-13), non-methane organic compounds
emission factor (VOC).

## ExportFacility
Export Facility
This sheet calculates the GHG emissions related to exporting LNG from the Gibbstown LNG Export Terminal.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| units | short tons CO2e/yr | short tons CO2e/yr
Export Facility, 20-year GWP | see "Construction" tab | 15394.0011 | 15394.0011
Export Facility, 100-year GWP | see "Construction" tab | 10510.1933 | 10510.1933
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Amount of natural gas exported | 128 | bcf/year
Section B2. Ongoing Emissions from Gibbstown Export Facility
Emissions associated with arrival of tanks/trucks, loading ships, storage. Scaling based on Canada LNG facility example.
Emissions Source | Scale Factor | GHG Emission rate (tonnes/year) |  |  | GHG Emission (short tons/year) (AR6 20-year GWP) | GHG Emission (short tons/year) (AR6 100-year GWP) | Notes
|  | CO2 | CH4 | N2O
8 Gas turbines | 0% | 0 | 0 | 0 | 0 | 0 | Liquefaction not included at the Gibbstown export facility
4 incinerators | 0% | 0 | 0 | 0 | 0 | 0 | Liquefaction not included at the Gibbstown export facility
2 flare derricks (5 flare sources) | 8.344% | 6575.8482 | 0.43388 | 0.12516 | 7323.6849 | 7298.4869 | Gibbstown is a smaller facility
Fugitive sources | 8.344% | 0.074261 | 83.6061 | 0 | 7601.1341 | 2745.6741 | Gibbstown is a smaller facility
Shipping activities - domestic marine | 8.344% | 417.8638 | 0.054236 | 0.012516 | 469.1821 | 466.0324 | Gibbstown is a smaller facility
Shipping activities - International marine | 0% | 0 | 0 | 0 | 0 | 0 | Calculated in a separate step
Total GHG emissions from Project operation, excluding international marine emissions |  | 6993.7863 | 84.0943 | 0.13767 | 15394.0011 | 10510.1933
Section C. Sources
Section C1. LNG Canada Example
Source: | LNG Canada Export Terminal Environmental Assessment Application. Available at: https://www.jbic.go.jp/ja/business-areas/environment/projects/pdf/62412_24.pdf
Note:
Component | Value | Unit
Number of liquefaction trains | 4 | trains
Carrier visits per year | 350 | ships/year
Inlet gas | 4.2 | bcf/day
Inlet gas | 1534.05 | bcf/year
Emissions Scale Ratio | 8.344%
Annual LNG production | 26 | million metric tons per annum (mtpa)
Phase 1 construction length | 60 | months
Number of berths | 2 | docks
Table 5.3-8: Estimated GHG Emissions during Construction
Source: |  |  | GHG Emissions (tonnes) |  |  | Total
|  |  | CO2 | CH4 | N2O | Tonnes CO2e
Land clearing | [5 empty] | 166137
Site preparation |  |  | 20190 | 1.12 | 8.2 | 22661
Instrumental, mechanical, electrical installation (Phase 1) |  |  | 7695 | 0.43 | 3.13 | 8637
Instrumental, mechanical, electrical installation (subsequent phase) |  |  | 7695 | 0.43 | 3.13 | 8637
Marine terminal construction (Phase 1) |  |  | 5054 | 0.5 | 0.94 | 5437
Marine terminal construction (subsequent phases) |  |  | 5054 | 0.5 | 0.94 | 5437
Shipping activities - domestic marine |  |  | 22779 | 0.42 | 1.12 | 23123
On road transportation |  |  | 15810 | 0.18 | 0.13 | 15854
Total GHG emissions from construction |  |  | 84276 | 3.57 | 17.58 | 255742
Note: using AR4 GWP values for CO2e calculation
Table 5.3-9: Estimated GHG Emissions during Operation
Source: |  |  | GHG Emission rate (tonnes/year)
|  |  | CO2 | CH4 | N2O | CO2e
8 Gas turbines |  |  | 3054358 | 63 | 56 | 3072
4 incinerators |  |  | 704917 | 345 | 208 | 775636
2 flare derricks (5 flare sources) |  |  | 78810 | 5.2 | 1.5 | 79398
Fugitive sources |  |  | 0.89 | 1002 |  | 25056
Shipping activities - domestic marine |  |  | 5008 | 0.65 | 0.15 | 5067
Shipping activities - International marine |  |  | 83396 | 0.59 | 4.8 | 84827
Total GHG emissions from Project operation, excluding international marine emissions |  |  | 3843094 | 1415 | 266 | 3957728
Note: using AR4 GWP values for CO2e calculation

## SeaTransport
Sea Transportation
This sheet calculates the GHG emissions related to transporting LNG via carrier ship from the Gibbstown LNG Export Terminal to foreign import terminals in Ireland and Puerto Rico.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| units | units | units
Sea Transportation, 20-year GWP | 0 | 297217.6292 | 297217.6292
Sea Transportation, 100-year GWP | 0 | 192828.3812 | 192828.3812
No upfront emissions related to construction were calculated, under the assumption that the vessels used were already constructed.
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Amount of natural gas transported via carrier ship | 128 | bcf/year
Section B2. Sea Transport Data Inputs
Description | Value | Units | Notes | Source
Days at dock/loading: | 1 | day |  | Balcombe et al., 2022.
Days sailing from Texas to Belgium: | 16 | days |  | Balcombe et al., 2022.
Unloading days: | 1 | day |  | Balcombe et al., 2022.
Return voyage | 14 | days | includes 13 days of travel and 1 day refueling | Balcombe et al., 2022.
Tonnes of LNG delivered: | 67500 | tonnes of LNG delivered to Belgium |  | Balcombe et al., 2022.
BCF of LNG delivered | 3.2872 | bcf of LNG delivered to Belgium
Distance from Texas to Belgium and back | 20210.7 | km |  | Balcombe et al., 2022.
Distance from PA to Ireland and back | 16000 | km | Approximate measure using ArcGIS
Distance from PA to Puerto Rico and back | 11400 | km | Approximate measure using ArcGIS
LNG Exported from Gibbstown | 128 | bcf natural gas/year
Equivalent trips needed per year | 38.9383 | Belgium equivalent trips per year
Percent of LNG to Ireland | 50% | %
Percent of LNG to Puerto Rico | 50% | %
Trips to Ireland per year | 19.4692 | trips/year
Trips to Puerto Rico per year | 19.4692 | trips/year
Ireland % of Belgium Emissions per trip | 79.17% | %
Puerto Rico % of Belgium Emissions per trip | 56.41% | %
Section B3. Sea Transport Emission Calculations
Description | Value | Units | Notes | Source
CO2 emissions | 4600 | tonnes CO2 |  | Balcombe et al., 2022.
CH4 emissions | 68.1 | tonnes CH4 | This is equivalent to 0.1% of the delivered LNG | Balcombe et al., 2022.
CO2 emissions | 5069.2 | short tons CO2 per trip
CH4 emissions | 75.0462 | short tons CH4 per trip
CO2 emissions, to Ireland | 78131.3437 | short tons of CO2 per year
CO2 emissions, to PR | 55668.5824 | short tons of CO2 per year
CH4 emissions, to Ireland | 1156.6836 | short tons of CH4 per year
CH4 emissions, to PR | 824.1371 | short tons of CH4 per year
Total CO2 emissions | 133799.926 | short tons of CO2 per year
Total CH4 emissions | 1980.8206 | short tons of CH4 per year
Total CH4 emissions (20-year GWP) | 163417.7031 | short tons of CO2e per year (20 year GWP)
Total CH4 emissions (100-year GWP) | 59028.4552 | short tons of CO2e per year (100 year GWP)
Total GHG Emissions (20-year GWP) | 297217.6292 | short tons of CO2e per year (20 year GWP)
Total GHG Emissions (100-year GWP) | 192828.3812 | short tons of CO2e per year (100 year GWP)
Section C. Sources
Section C1. Project Overview and Emissions for LNG Carrier Ship Example
Source: | Balcombe, P., D. Heggo, and M. Harrison. June 2022. "Total Methane and CO2 Emissions from Liquefied Natural Gas Carrier Ships: The First Primary Measurements." Environmental Science & Technology. Available at: https://pubs.acs.org/doi/pdf/10.1021/acs.est.2c01383
Notes:
Description | Value | Units | Notes
Days at dock/loading: | 1 | day | Balcombe et al, 2022, Section 2.2. Voyage (Page 9633).
Days sailing from Maine to Belgium: | 16 | days | Balcombe et al, 2022, Section 2.2. Voyage (Page 9633).
Unloading days: | 1 | day | Balcombe et al, 2022, Section 2.2. Voyage (Page 9633).
Return voyage | 14 | days | Includes 13 days of travel and 1 day refueling. Balcombe et al, 2022, Section 2.2. Voyage (Page 9633).
Tonnes of LNG delivered: | 67500 | tonnes of LNG delivered to Belgium | Balcombe et al, 2022, Section 2.4. Emissions Modeling (Page 9634).
CO2 emissions | 4600 | tonnes CO2 | Balcombe et al, 2022, Section 2.4. Emissions Modeling (Page 9634).
CH4 emissions | 68.1 | tonnes CH4 | This is equivalent to 0.1% of the delivered LNG. Balcombe et al, 2022, Section 2.4. Emissions Modeling (Page 9634).
Section C2. Supplemental Information for LNG Carrier Ship Example
Source: | Balcombe, P., D. Heggo, and M. Harrison. June 2022. "Total Methane and CO2 Emissions from Liquefied Natural Gas Carrier Ships: The First Primary Measurements: Supplemental Information." Environmental Science & Technology. Available at: https://pubs.acs.org/doi/suppl/10.1021/acs.est.2c01383/suppl_file/es2c01383_si_001.pdf
Notes:
Description | Value | Units | Notes
Distance Traveled | 20210.7 | km | Round trip distance, less distance traveled before loading.

## Regasification
Regasification Facility
This sheet calculates the GHG emissions related to foreign regasification of LNG that passed through the Gibbstown LNG Export Terminal.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| units | Short tons of CO2e/year | Short tons of CO2e/year
Regasification Facility, 20-year GWP | 0 | 115641.8373 | 115641.8373
Regasification Facility, 100-year GWP | 0 | 112975.7287 | 112975.7287
No upfront emissions were calculated, under the assumption that the infrastructure is already built.
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Amount of natural gas regasified | 128 | bcf/year
Section B2. Everett LNG Terminal Average Emission Rates
| CO2 | CH4 | N2O
Derived Emissions Rate (Metric Tons of GHG / mmcf) | 0.78984 | 0.00035865 | 1.4629e-06
Derived Emissions Rate (short tons GHG / mmcf) | 0.8704 | 0.00039524 | 1.6121e-06
Section B3. Scaled Regasification Emissions
| CO2 | CH4 | N2O | Total CO2e
Total Emissions (short tons GHG) | 111411.8051 | 50.5903 | 0.20635 | N/A
Total Emissions (short tons CO2e, 20-year GWP) | 111411.8051 | 4173.6995 | 56.3327 | 115641.8373
Total Emissions (short tons CO2e, 100-year GWP) | 111411.8051 | 1507.5908 | 56.3327 | 112975.7287
Section C. Sources
Section C1. LNG Shipment Data for Everett LNG Terminal
Source: | US Environmental Protection Agency. "Distrigas of Massachusetts LLC." GHG Data. Available at: https://ghgdata.epa.gov/ghgp/service/facilityDetail/2020?id=1003769&ds=E&et=&popup=true
Notes: | The Everett LNG Terminal in Everett, MA is used to scale the Regasification emissions, because the facility is relatively similar in size capacity of the Gibbstown LNG export terminal and has relatively consistent emissions per mmcf of LNG imported.
Reported GHG Emissions from EPA Facility Level Data Tool, Department of Energy.
Year | Annual LNG Imports (MMCF) | CO2 (metric tons) | CH4 (metric tons) | N2O (metric tons) | CO2 (metric tons/mmcf) | CH4 (metric tons/mmcf) | N2O (metric tons/mmcf)
2011-06-30 | 135278 | 112929 | 25.21 | 0.211 | 0.83479 | 0.00018636 | 1.5598e-06
2012-06-30 | 86609 | 71522.2 | 19.21 | 0.133 | 0.82581 | 0.0002218 | 1.5356e-06
2013-06-30 | 63987 | 49241.8 | 21.19 | 0.091 | 0.76956 | 0.00033116 | 1.4222e-06
2014-06-30 | 28825 | 17728 | 13.08 | 0.032 | 0.61502 | 0.00045377 | 1.1101e-06
2015-06-30 | 49683 | 34859.4 | 13.32 | 0.063 | 0.70164 | 0.0002681 | 1.268e-06
2016-06-30 | 69928 | 58241 | 24.12 | 0.109 | 0.83287 | 0.00034493 | 1.5587e-06
2017-06-30 | 63936 | 53770.8 | 15.88 | 0.101 | 0.84101 | 0.00024837 | 1.5797e-06
2018-06-30 | 50636 | 41209.8 | 18.34 | 0.079 | 0.81384 | 0.00036219 | 1.5602e-06
2019-06-30 | 35406 | 29911.9 | 14.45 | 0.055 | 0.84483 | 0.00040812 | 1.5534e-06
2020-06-30 | 29396 | 23786.9 | 12.27 | 0.044 | 0.80919 | 0.0004174 | 1.4968e-06
2021-06-30 | 21423 | 17131.9 | 15.06 | 0.031 | 0.7997 | 0.00070298 | 1.447e-06

## ForeignPipeline
Foreign Transport to Combustion Facility
This sheet calculates the GHG emissions related to transporting natural gas via pipeline from a foreign regasification facility to an end use combustion site, for gas that passed through the Gibbstown LNG Export Terminal.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| units | short tons CO2e (20 year GWP) | short tons CO2e (20 year GWP)
Foreign Transport to Combustion Facility, 20-year GWP | 0 | 7208.4339 | 7208.4339
Foreign Transport to Combustion Facility, 100-year GWP | 0 | 2603.7737 | 2603.7737
No upfront emissions were calculated, under the assumption that the infrastructure is already built.
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Amount of natural gas transported | 128 | bcf/year
Section B2. Processing and Transmission Emissions Factors
Description | Value | Units | Notes | Source
Processing emissions per facility | 3173 | kg CH4/facility |  | Littlefield et al., 2019.
Processing throughput per facility | 33.6 | Bcf/facility-year |  | Littlefield et al., 2019.
Transmission emissions per throughput | 1.8 | kg CH4/MMscf NG dehydrated |  | Littlefield et al., 2019.
Transmission emissions per mile | 1120 | kg CH4/mile |  | Littlefield et al., 2019.
Section B3. Pipeline Emissions
Description | Value | Units | Notes | Source
Miles of transmission in Ireland | 40 | miles | This assumes transmission of the natural gas from a coastal import terminal to the a nearby power plant in Ireland.
Miles of transmission in Puerto Rico | 20 | miles | This assumes transmission of the natural gas from a coastal import terminal to a nearby power plant in Puerto Rico.
Miles of transmission: | 60 | miles
Transmission emissions | 67200 | kg CH4
Transmission emissions | 74.0544 | short tons CH4
Transmission emissions | 6109.488 | short tons CO2e (20 year)
Transmission emissions | 2206.8211 | short tons CO2e (100 year)
Section B4. Processing Emissions
Description | Value | Units | Notes | Source
Processing/Pneumatics Emissions | 3.8095 | facilities used/year
Processing/Pneumatics Emissions | 12087.619 | kg CH4 / year
Processing/Pneumatics Emissions | 13.3206 | short tons CH4
Processing/Pneumatics Emissions | 1098.9459 | short tons CO2e (20 year)
Processing/Pneumatics Emissions | 396.9526 | short tons CO2e (100 year)
Section C. Sources
Section C1. Source for Exhibit 3-16. GHGI Emission and Activity Factors and Corresponding Natural Gas Throughput
Source: | Littlefield, J., S. Roman-White, D. Augustine, A. Pegallapati, G. G. Zaimes, S. Rai, G. Cooney, and T. J. Skone. April 2019. "Life Cycle Analysis of Natural Gas Extraction and Power Generation." National Energy Technology Laboratory. Available at: https://www.netl.doe.gov/energy-analysis/details?id=3198
Notes:
Exhibit 3‐16. GHGI Emission and Activity Factors and Corresponding Natural Gas Throughput
Stage (or substage) | Emission Source | Vent | Fugitive | Emissions |  |  |  | Natural Gas Throughput
|  |  |  | GHGI Emission Factor | Units (annualized) | Activity Factor | Units | Throughput | Units
Production | Well drilling | • |  | 52 | kg CH4/completed well | * | completed wells | EUR* | Bcf/well‐life
| Compressor blowdowns | • |  | 77 | kg CH4/compressor | 0.078 | compressors/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
| PRV (pressure relief valve) upsets | • |  | 0.7 | kg CH4/PRV | 2.4 | PRV/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
| Vessel blowdowns | • |  | 1.6 | kg CH4/vessel | 0.93 | vessels/well | Annual production* | Mcf/basin‐yr
[6 empty] | * | wells
Gathering | Mishaps | • |  | 14 | kg CH4/mile | 81 | wells/facility | Annual production* | Mcf/basin‐yr
[6 empty] | 0.67 | miles/well
Processing | Pneumatics | • |  | 3173 | kg CH4/facility | 1 | facilities | 33.6 | Bcf/facility‐yr
Transmission | Dehydrator vents | • |  | 1.8 | kg CH4/MMscf NG dehydrated | 1190000 | MMscf NG | 28.2 | Tcf transmission
Transmission Pipeline | Pipeline fugitives |  | • | 1120 | kg CH4/mile | 301257 | miles | 28.2 | Tcf transmission
Storage | Dehydrator vents | • |  | 2.3 | kg CH4/MMscf dehydrated | 1850000 | MMscf dehydrated | 9.24 | Tcf capacity
| Station venting | • |  | 84000 | kg CH4/station | * | Bcf station capacity | 9.24 | Tcf capacity
Distribution | Customer meters (residential) |  | • | 1.5 | kg CH4/meters | 54300000 | meters | 13.9 | Tcf distributed
| Customer meters (commercial/industrial) |  | • | 9.7 | kg CH4/meter | 5660000 | meters | 13.9 | Tcf distributed
| PRV (pressure relief valve) upsets | • |  | 1 | kg CH4/mile | 1280000 | miles | 13.9 | Tcf distributed
| Pipeline blowdowns | • |  | 2 | kg CH4/mile | 2190000 | miles | 13.9 | Tcf distributed
| Mishaps (dig ins) | • |  | 31 | kg CH4/mile | 2190000 | miles | 13.9 | Tcf distributed
* In some instances, throughput is variable across basins and extraction technologies. This variability is based on NETL’s stratification of the data by basins and extraction
technologies. Variability in activity factors are based on stratification of GHGRP data as shown in Exhibit 3‐8 through Exhibit 3‐15, and variability in natural gas throughputs are
based on stratification of DI Desktop data.

## Combustion
Combustion Facility
This sheet calculates the GHG emissions related to end use natural gas combustion for gas that passed through the Gibbstown LNG Export Terminal.
Section A. Results Table
| Upfront Emissions | Ongoing Emissions | Total Emissions
| units | Short Tons of CO2e | Short Tons of CO2e
Combustion Facility, 20-year GWP | 0 | 7685521.2027 | 7685521.2027
Combustion Facility, 100-year GWP | 0 | 7677864.5419 | 7677864.5419
No upfront emissions were calculated, under the assumption that the infrastructure is already built.
Section B. Data and Calculations
Section B1. Natural Gas Throughput
Description | Value | Units | Notes | Source
Amount of natural gas combusted | 128 | bcf/year
Section B2. Emissions Calculations for End Use Combustion
Pollutant | Emissions Rate (kg of GHG/scf) | Total Emissions (kg of GHG) | Total Emissions (kg of CO2e, 20-year GWP) | Total Emissions (kg of CO2e, 100-year GWP) | Total Emissions (short tons of CO2e, 20-year GWP) | Total Emissions (short tons of CO2e, 100-year GWP)
CO2 | 0.0544 | 6963200000 | 6963200000 | 6963200000 | 7673446.4 | 7673446.4
CH4 | 1.03e-06 | 131840 | 10876800 | 3928832 | 11986.2336 | 4329.5729
N2O | 2.3e-09 | 294.4 | 80371.2 | 80371.2 | 88.5691 | 88.5691
Total CO2e |  |  |  |  | 7685521.2027 | 7677864.5419
Section C. Sources
Section C1. Emissions Factors for GHGs from Natural Gas Combustion
Source: | US Environmental Protection Agency. January 2016. "Direct Emissions from Stationary Combustion Sources." Available at: https://www.epa.gov/sites/default/files/2016-03/documents/stationaryemissions_3_2016.pdf
Notes: | Table A-1: Emission Factors for Equation 1 (EF1) - Emissions per Mass or Volume Unit for Fossil Fuel Combustion
Pollutant | Units | Emissions Rate
CO2 | kg CO2/scf | 0.0544
CH4 | g CH4/scf | 0.00103
N2O | g N2O/scf | 2.3e-06