## Info
Purpose: | Analysis of Carbon Control Options in CA Elec markets
Created: | 2007-07-03
Author: | DEWhite
Modified: | 2007-08-16
Sheet | Description
Summary | Overview of State Electric Gen Mix & CO2 Options
Near Term | Short term scenarios
Long Term | Long term scenarios with capacity changes.
Common | Common data inputs
Overview | Summary analysis based on state historic data
Profile | EIA State Electric Profile
AEO | AEO electricity results

## Summary
Carbon Regulation Options - CA Examples
| Near-Term Scenarios |  | NT-1 | NT-2 | NT-3 | NT-4
|  |  | Reference Case - No CO2 Policy | Generator Side Cap - Allowances to Generators | Generator Side Cap - Allowances to Loads | Load Side Cap - Payments to Selected Generators
|  | CO2 Price ($/ton) | 0 | 30 | 30 | N/A
|  | Weighted Market Price ($/MWh) | 70.3319 | 90.4601 | 90.4601 | 70.3319
|  | Total Market Costs (M$) | 19398.908 | 24950.6391 | 24950.6391 | 19398.908
|  | Generator Costs (M$) | 16341.2553 | 19891.5413 | 19891.5413 | 16765.8869
|  | CO2 Change (kTons) | 0 | -6667.8045 | -6667.8045 | -6667.8045
|  | CO2 Allowance Costs (M$) | 0 | 3125.6544 | 3125.6544 | 424.6315
|  | CO2 Control Cost ($/ton) |  | 468.7682 | 468.7682 | 63.6839
|  | Customer Net Costs (M$) | 19398.908 | 24950.6391 | 21824.9846 | 19823.5395
|  | Generator Net Costs (M$) | 16341.2553 | 16765.8869 | 19891.5413 | 16341.2553
|  | Generator Margin (M$) | 3057.6526 | 8184.7522 | 5059.0977 | 3057.6526
|  | Customer Cost Impacts (M$) |  | 5551.7311 | 2426.0767 | 424.6315
| Long-Term Scenarios |  | LT-1 | LT-2 | LT-3 | LT-4
|  |  | Reference Case - No CO2 Policy | Generator Side Cap - Allowances to Generators | Generator Side Cap - Allowances to Loads | Load Side Cap - Targeted Resource Changes
|  | CO2 Price | 0 | 30 | 30 | N/A
|  | Weighted Market Price ($/MWh) | 70.3319 | 90.4311 | 90.4311 | 70.3319
|  | Total Market Costs (M$) | 19820.8995 | 25485.2382 | 25485.2382 | 19820.8995
|  | Generator Costs (M$) | 16841.2553 | 20394.3704 | 20394.3704 | 17085.8869
|  | CO2 Change (kTons) | 0 | -7126.4753 | -7126.4753 | -21045.1353
|  | CO2 Allowance Costs (M$) | 0 | 3111.8943 | 3111.8943 | 244.6315
|  | CO2 Control Cost ($/ton) |  | 436.6667 | 436.6667 | 11.6241
|  | Customer Net Costs (M$) | 19820.8995 | 25485.2382 | 22373.3439 | 20065.531
|  | Generator Net Costs (M$) | 16841.2553 | 17282.4761 | 20394.3704 | 16841.2553
|  | Generator Margin (M$) | 2979.6442 | 8202.7621 | 5090.8678 | 2979.6442
|  | Customer Cost Impacts (M$) |  | 5664.3387 | 2552.4444 | 244.6315

## Near Term
Short Term CO2 Control Scenarios
Reference Generation Mix (2005)
| Category | Type | Capacity (MW) | Generation (GWh) | Capacity Factor | CO2 Rate (Tons/MWh) | CO2 Emis (kTons) | Marg Cost ($/MWh) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 29.1% | 0.55297 | 51737.4 | 80 | 7484.9632
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 54.27% | 0 | 0 | 55 | 1045.9058
|  | Imp Gas | 4000 | 19016.4694 | 54.27% | 0.5546 | 10546.5339 | 80 | 1521.3176
|  | Imp Coal | 8000 | 38032.9388 | 54.27% | 1.04 | 39554.2564 | 45 | 1711.4822
|  | Oil & Other | 1031 | 4611.272 | 51.06% | 1.23 | 5671.8646 | 125.2195 | 577.4213
|  | Coal | 389 | 2145.02 | 62.95% | 1.56 | 3346.2312 | 30 | 64.3506
| Fixed | Renewables | 5479 | 23648.412 | 49.27% | 0 | 0 | 55 | 1300.6627
|  | Hydro | 10088 | 39631.866 | 44.85% | 0 | 0 | 30 | 1188.956
|  | Nuclear | 4324 | 36154.898 | 95.45% | 0 | 0 | 40 | 1446.1959
|  |  | 74011 | 275819.3857 |  |  | 110856.2861 |  | 16341.2553
[7 empty] | Derived Market Price | 70.3319 | (Matches AEO Generation Cost in 2005)
NT-1 | Reference Case - No CO2 Policy
|  |  | CO2 Price | 0 | $/ton
| Category | Type | Capacity (MW) | Generation (GWh) | Marg Cost ($/MWh) | CO2 Rate (Tons/MWh) | CO2 Price Effect | Adj Price ($/MWh) | Rel Price Change | Adj Gen (GWh) | CO2 Emis (kTons) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 80 | 0.55297 | 0 | 80 | 1 | 93562.04 | 51737.4 | 7484.9632 | Weighted Market Price ($/MWh) | 70.3319
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 55 | 0 | 0 | 55 | 1 | 19016.4694 | 0 | 1045.9058 | Total Market Costs (M$) | 19398.908
|  | Imp Gas | 4000 | 19016.4694 | 80 | 0.5546 | 0 | 80 | 1 | 19016.4694 | 10546.5339 | 1521.3176 | Generator Costs (M$) | 16341.2553
|  | Imp Coal | 8000 | 38032.9388 | 45 | 1.04 | 0 | 45 | 1 | 38032.9388 | 39554.2564 | 1711.4822
|  | Oil & Other | 1031 | 4611.272 | 125.2195 | 1.23 | 0 | 125.2195 | 1 | 4611.272 | 5671.8646 | 577.4213 | CO2 Change (kTons) | 0
|  | Coal | 389 | 2145.02 | 30 | 1.56 | 0 | 30 | 1 | 2145.02 | 3346.2312 | 64.3506 | CO2 Allowance Costs (M$) | 0
| Fixed | Renewables | 5479 | 23648.412 | 55 | 0 | 0 | 55 |  | 23648.412 | 0 | 1300.6627 | CO2 Control Cost ($/ton) | #DIV/0!
|  | Hydro | 10088 | 39631.866 | 30 | 0 | 0 | 30 |  | 39631.866 | 0 | 1188.956
|  | Nuclear | 4324 | 36154.898 | 40 | 0 | 0 | 40 |  | 36154.898 | 0 | 1446.1959 | Customer Net Costs (M$) | 19398.908
|  |  | 74011 | 275819.3857 | [5 empty] | 275819.3857 | 110856.2861 | 16341.2553 | Generator Net Costs (M$) | 16341.2553
[13 empty] | Generator Margin (M$) | 3057.6526
NT-2 | Generator Side Cap - Allowances to Generators
|  |  | CO2 Price | 30 | $/ton
| Category | Type | Capacity (MW) | Generation (GWh) | Marg Cost ($/MWh) | CO2 Rate (Tons/MWh) | CO2 Price Effect | Adj Price ($/MWh) | Rel Price Change | Adj Gen (GWh) | CO2 Emis (kTons) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 80 | 0.55297 | 16.5892 | 96.5892 | 1 | 105931.0391 | 58577.1382 | 10231.7973 | Weighted Market Price ($/MWh) | 90.4601
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 55 | 0 | 0 | 55 |  | 19016.4694 | 0 | 1045.9058 | Total Market Costs (M$) | 24950.6391
|  | Imp Gas | 4000 | 19016.4694 | 80 | 0.5546 | 16.638 | 96.638 | 1.0005 | 19006.872 | 10541.2112 | 1836.7861 | Generator Costs (M$) | 19891.5413
|  | Imp Coal | 8000 | 38032.9388 | 45 | 1.04 | 31.2 | 76.2 | 1.4025 | 27117.905 | 28202.6212 | 2066.3844
|  | Oil & Other | 1031 | 4611.272 | 125.2195 | 1.23 | 36.9 | 162.1195 | 1.0723 | 4300.2746 | 5289.3377 | 697.1585 | CO2 Change (kTons) | -6667.8045
|  | Coal | 389 | 2145.02 | 30 | 1.56 | 46.8 | 76.8 | 2.1203 | 1011.6495 | 1578.1733 | 77.6947 | CO2 Allowance Costs (M$) | 3125.6544
| Fixed | Renewables | 5479 | 23648.412 | 55 | 0 | 0 | 55 |  | 23648.412 | 0 | 1300.6627 | CO2 Control Cost ($/ton) | 468.7682
|  | Hydro | 10088 | 39631.866 | 30 | 0 | 0 | 30 |  | 39631.866 | 0 | 1188.956
|  | Nuclear | 4324 | 36154.898 | 40 | 0 | 0 | 40 |  | 36154.898 | 0 | 1446.1959 | Customer Net Costs (M$) | 24950.6391
|  |  | 74011 | 275819.3857 | [5 empty] | 275819.3857 | 104188.4816 | 19891.5413 | Generator Net Costs (M$) | 16765.8869
[13 empty] | Generator Margin (M$) | 8184.7522
NT-3 | Generator Side Cap - Allowances to Loads
|  |  | CO2 Price | 30 | $/ton
| Category | Type | Capacity (MW) | Generation (GWh) | Marg Cost ($/MWh) | CO2 Rate (Tons/MWh) | CO2 Price Effect | Adj Price ($/MWh) | Rel Price Change | Adj Gen (GWh) | CO2 Emis (kTons) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 80 | 0.55297 | 16.5892 | 96.5892 | 1 | 105931.0391 | 58577.1382 | 10231.7973 | Derived Market Price ($/MWh) | 90.4601
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 55 | 0 | 0 | 55 |  | 19016.4694 | 0 | 1045.9058 | Total Market Costs (M$) | 24950.6391
|  | Imp Gas | 4000 | 19016.4694 | 80 | 0.5546 | 16.638 | 96.638 | 1.0005 | 19006.872 | 10541.2112 | 1836.7861 | Generator Costs (M$) | 19891.5413
|  | Imp Coal | 8000 | 38032.9388 | 45 | 1.04 | 31.2 | 76.2 | 1.4025 | 27117.905 | 28202.6212 | 2066.3844
|  | Oil & Other | 1031 | 4611.272 | 125.2195 | 1.23 | 36.9 | 162.1195 | 1.0723 | 4300.2746 | 5289.3377 | 697.1585 | CO2 Change (kTons) | -6667.8045
|  | Coal | 389 | 2145.02 | 30 | 1.56 | 46.8 | 76.8 | 2.1203 | 1011.6495 | 1578.1733 | 77.6947 | CO2 Allowance Costs (M$) | 3125.6544
| Fixed | Renewables | 5479 | 23648.412 | 55 | 0 | 0 | 55 |  | 23648.412 | 0 | 1300.6627 | CO2 Control Cost ($/ton) | 468.7682
|  | Hydro | 10088 | 39631.866 | 30 | 0 | 0 | 30 |  | 39631.866 | 0 | 1188.956
|  | Nuclear | 4324 | 36154.898 | 40 | 0 | 0 | 40 |  | 36154.898 | 0 | 1446.1959 | Customer Net Costs (M$) | 21824.9846
|  |  | 74011 | 275819.3857 | [5 empty] | 275819.3857 | 104188.4816 | 19891.5413 | Generator Net Costs (M$) | 19891.5413
[13 empty] | Generator Margin (M$) | 5059.0977
NT-4 | Load Side Cap - Payments to Selected Generators
|  |  | CO2 Price | 30 | $/ton | Payments to generators to increase output as per NT-3 above.
|  |  | Equivalent price from NT-3. |  |  |  |  | No Impact |  | As per NT-3
| Category | Type | Capacity (MW) | Generation (GWh) | Marg Cost ($/MWh) | CO2 Rate (Tons/MWh) | CO2 Price Effect | Adj Price ($/MWh) | Rel Price Change | Adj Gen (GWh) | CO2 Emis (kTons) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 80 | 0.55297 | 16.5892 | 80 |  | 105931.0391 | 58577.1382 | 8474.4831 | Derived Market Price ($/MWh) | 70.3319
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 55 | 0 | 0 | 55 |  | 19016.4694 | 0 | 1045.9058 | Total Market Costs (M$) | 19398.908
|  | Imp Gas | 4000 | 19016.4694 | 80 | 0.5546 | 16.638 | 80 |  | 19006.872 | 10541.2112 | 1520.5498 | Generator Costs (M$) | 16765.8869
|  | Imp Coal | 8000 | 38032.9388 | 45 | 1.04 | 31.2 | 45 |  | 27117.905 | 28202.6212 | 1220.3057
|  | Oil & Other | 1031 | 4611.272 | 125.2195 | 1.23 | 36.9 | 125.2195 |  | 4300.2746 | 5289.3377 | 538.4784 | CO2 Change (kTons) | -6667.8045
|  | Coal | 389 | 2145.02 | 30 | 1.56 | 46.8 | 30 |  | 1011.6495 | 1578.1733 | 30.3495 | CO2 Extra Costs (M$) | 424.6315
| Fixed | Renewables | 5479 | 23648.412 | 55 | 0 | 0 | 55 |  | 23648.412 | 0 | 1300.6627 | CO2 Control Cost ($/ton) | 63.6839
|  | Hydro | 10088 | 39631.866 | 30 | 0 | 0 | 30 |  | 39631.866 | 0 | 1188.956
|  | Nuclear | 4324 | 36154.898 | 40 | 0 | 0 | 40 |  | 36154.898 | 0 | 1446.1959 | Customer Net Costs (M$) | 19823.5395
|  |  | 74011 | 275819.3857 | [5 empty] | 275819.3857 | 104188.4816 | 16765.8869 | Generator Net Costs (M$) | 16341.2553
[13 empty] | Generator Margin (M$) | 3057.6526
Note on Q77: Synapse: No effective change in market prices. Could even be negative.

## Long Term
Long Term CO2 Control Scenarios
Reference Generation Mix (2005)
| Category | Type | Capacity (MW) | Generation (GWh) | Capacity Factor | CO2 Rate (Tons/MWh) | CO2 Emis (kTons) | Marg Cost ($/MWh) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 29.1% | 0.55297 | 51737.4 | 80 | 7484.9632
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 54.27% | 0 | 0 | 55 | 1045.9058
|  | Imp Gas | 4000 | 19016.4694 | 54.27% | 0.5546 | 10546.5339 | 80 | 1521.3176
|  | Imp Coal | 8000 | 38032.9388 | 54.27% | 1.04 | 39554.2564 | 45 | 1711.4822
|  | Oil & Other | 1031 | 4611.272 | 51.06% | 1.23 | 5671.8646 | 125.2195 | 577.4213
|  | Coal | 389 | 2145.02 | 62.95% | 1.56 | 3346.2312 | 30 | 64.3506
| Fixed | New Renew | 1000 | 4000 | 45.66% | 0 | 0 | 100 | 400
|  | New EE | 500 | 2000 | 45.66% | 0 | 0 | 50 | 100
|  | Renewables | 5479 | 23648.412 | 49.27% | 0 | 0 | 55 | 1300.6627
|  | Hydro | 10088 | 39631.866 | 44.85% | 0 | 0 | 30 | 1188.956
|  | Nuclear | 4324 | 36154.898 | 95.45% | 0 | 0 | 40 | 1446.1959
|  |  | 75511 | 281819.3857 |  |  | 110856.2861 |  | 16841.2553
[7 empty] | Derived Market Price | 70.3319 | (Matches AEO Generation Cost in 2005)
LT-1 | Reference Case - No CO2 Policy
|  |  | CO2 Price | 0 | $/ton
| Category | Type | Capacity (MW) | Generation (GWh) | Marg Cost ($/MWh) | CO2 Rate (Tons/MWh) | CO2 Price Effect | Adj Price ($/MWh) | Rel Price Change | Adj Gen (GWh) | CO2 Emis (kTons) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 80 | 0.55297 | 0 | 80 | 1 | 93562.04 | 51737.4 | 7484.9632 | Weighted Market Price ($/MWh) | 70.3319
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 55 | 0 | 0 | 55 |  | 19016.4694 | 0 | 1045.9058 | Total Market Costs (M$) | 19820.8995
|  | Imp Gas | 4000 | 19016.4694 | 80 | 0.5546 | 0 | 80 | 1 | 19016.4694 | 10546.5339 | 1521.3176 | Generator Costs (M$) | 16841.2553
|  | Imp Coal | 8000 | 38032.9388 | 45 | 1.04 | 0 | 45 | 1 | 38032.9388 | 39554.2564 | 1711.4822
|  | Oil & Other | 1031 | 4611.272 | 125.2195 | 1.23 | 0 | 125.2195 | 1 | 4611.272 | 5671.8646 | 577.4213 | CO2 Change (kTons) | 0
|  | Coal | 389 | 2145.02 | 30 | 1.56 | 0 | 30 | 1 | 2145.02 | 3346.2312 | 64.3506 | CO2 Allowance Costs (M$) | 0
| Fixed | New Renew | 1000 | 4000 | 100 | 0 | 0 | 100 | 1 | 4000 | 0 | 400 | CO2 Control Cost ($/ton) | #DIV/0!
|  | New EE | 500 | 2000 | 50 | 0 | 0 | 50 | 1 | 2000 | 0 | 100
|  | Renewables | 5479 | 23648.412 | 55 | 0 | 0 | 55 |  | 23648.412 | 0 | 1300.6627 | Customer Net Costs (M$) | 19820.8995
|  | Hydro | 10088 | 39631.866 | 30 | 0 | 0 | 30 |  | 39631.866 | 0 | 1188.956 | Generator Net Costs (M$) | 16841.2553
|  | Nuclear | 4324 | 36154.898 | 40 | 0 | 0 | 40 |  | 36154.898 | 0 | 1446.1959 | Generator Margin (M$) | 2979.6442
|  |  | 75511 | 281819.3857 | [5 empty] | 281819.3857 | 110856.2861 | 16841.2553
LT-2 | Generator Side Cap - Allowances to Generators
|  |  | CO2 Price | 30 | $/ton
| Category | Type | Capacity (MW) | Generation (GWh) | Marg Cost ($/MWh) | CO2 Rate (Tons/MWh) | CO2 Price Effect | Adj Price ($/MWh) | Rel Price Change | Adj Gen (GWh) | CO2 Emis (kTons) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 80 | 0.55297 | 16.5892 | 96.5892 | 1 | 105101.5778 | 58118.4674 | 10151.6802 | Weighted Market Price ($/MWh) | 90.4311
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 55 | 0 | 0 | 55 |  | 19016.4694 | 0 | 1045.9058 | Total Market Costs (M$) | 25485.2382
|  | Imp Gas | 4000 | 19016.4694 | 80 | 0.5546 | 16.638 | 96.638 | 1.0005 | 19006.872 | 10541.2112 | 1836.7861 | Generator Costs (M$) | 20394.3704
|  | Imp Coal | 8000 | 38032.9388 | 45 | 1.04 | 31.2 | 76.2 | 1.4025 | 27117.905 | 28202.6212 | 2066.3844
|  | Oil & Other | 1031 | 4611.272 | 125.2195 | 1.23 | 36.9 | 162.1195 | 1.0723 | 4300.2746 | 5289.3377 | 697.1585 | CO2 Change (kTons) | -7126.4753
|  | Coal | 389 | 2145.02 | 30 | 1.56 | 46.8 | 76.8 | 2.1203 | 1011.6495 | 1578.1733 | 77.6947 | CO2 Allowance Costs (M$) | 3111.8943
| Fixed | New Renew | 1000 | 4000 | 100 | 0 | 0 | 100 | 0.82825 | 4829.4614 | 0 | 482.9461 | CO2 Control Cost ($/ton) | 436.6667
|  | New EE | 500 | 2000 | 50 | 0 | 0 | 50 |  | 2000 | 0 | 100
|  | Renewables | 5479 | 23648.412 | 55 | 0 | 0 | 55 |  | 23648.412 | 0 | 1300.6627 | Customer Net Costs (M$) | 25485.2382
|  | Hydro | 10088 | 39631.866 | 30 | 0 | 0 | 30 |  | 39631.866 | 0 | 1188.956 | Generator Net Costs (M$) | 17282.4761
|  | Nuclear | 4324 | 36154.898 | 40 | 0 | 0 | 40 |  | 36154.898 | 0 | 1446.1959 | Generator Margin (M$) | 8202.7621
|  |  | 75511 | 281819.3857 | [5 empty] | 281819.3857 | 103729.8108 | 20394.3704
LT-3 | Generator Side Cap - Allowances to Loads
|  |  | CO2 Price | 30 | $/ton
| Category | Type | Capacity (MW) | Generation (GWh) | Marg Cost ($/MWh) | CO2 Rate (Tons/MWh) | CO2 Price Effect | Adj Price ($/MWh) | Rel Price Change | Adj Gen (GWh) | CO2 Emis (kTons) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 80 | 0.55297 | 16.5892 | 96.5892 | 1 | 105101.5778 | 58118.4674 | 10151.6802 | Derived Market Price ($/MWh) | 90.4311
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 55 | 0 | 0 | 55 |  | 19016.4694 | 0 | 1045.9058 | Total Market Costs (M$) | 25485.2382
|  | Imp Gas | 4000 | 19016.4694 | 80 | 0.5546 | 16.638 | 96.638 | 1.0005 | 19006.872 | 10541.2112 | 1836.7861 | Generator Costs (M$) | 20394.3704
|  | Imp Coal | 8000 | 38032.9388 | 45 | 1.04 | 31.2 | 76.2 | 1.4025 | 27117.905 | 28202.6212 | 2066.3844
|  | Oil & Other | 1031 | 4611.272 | 125.2195 | 1.23 | 36.9 | 162.1195 | 1.0723 | 4300.2746 | 5289.3377 | 697.1585 | CO2 Change (kTons) | -7126.4753
|  | Coal | 389 | 2145.02 | 30 | 1.56 | 46.8 | 76.8 | 2.1203 | 1011.6495 | 1578.1733 | 77.6947 | CO2 Allowance Costs (M$) | 3111.8943
| Fixed | New Renew | 1000 | 4000 | 100 | 0 | 0 | 100 | 0.82825 | 4829.4614 | 0 | 482.9461 | CO2 Control Cost ($/ton) | 436.6667
|  | New EE | 500 | 2000 | 50 | 0 | 0 | 50 |  | 2000 | 0 | 100
|  | Renewables | 5479 | 23648.412 | 55 | 0 | 0 | 55 |  | 23648.412 | 0 | 1300.6627 | Customer Net Costs (M$) | 22373.3439
|  | Hydro | 10088 | 39631.866 | 30 | 0 | 0 | 30 |  | 39631.866 | 0 | 1188.956 | Generator Net Costs (M$) | 20394.3704
|  | Nuclear | 4324 | 36154.898 | 40 | 0 | 0 | 40 |  | 36154.898 | 0 | 1446.1959 | Generator Margin (M$) | 5090.8678
|  |  | 75511 | 281819.3857 | [5 empty] | 281819.3857 | 103729.8108 | 20394.3704
LT-4 | Load Side Cap - Targeted Resource Changes
|  |  | CO2 Price | 30 | $/ton | Payments to generators to increase output as per LT-3 above.
|  |  | Equivalent price from LT-3. |  |  |  |  | No Impact |  | Adjusted
| Category | Type | Capacity (MW) | Generation (GWh) | Marg Cost ($/MWh) | CO2 Rate (Tons/MWh) | CO2 Price Effect | Adj Price ($/MWh) | Rel Price Change | Adj Gen (GWh) | CO2 Emis (kTons) | Gen Costs (M$)
| Dispatchable | Nat Gas | 36700 | 93562.04 | 80 | 0.55297 | 16.5892 | 80 |  | 79931.0391 | 44199.8074 | 6394.4831 | Derived Market Price ($/MWh) | 70.3319
|  | Imp Hydro/Nuclear | 4000 | 19016.4694 | 55 | 0 | 0 | 55 |  | 19016.4694 | 0 | 1045.9058 | Total Market Costs (M$) | 19820.8995
|  | Imp Gas | 4000 | 19016.4694 | 80 | 0.5546 | 16.638 | 80 |  | 19006.872 | 10541.2112 | 1520.5498 | Generator Costs (M$) | 17085.8869
|  | Imp Coal | 8000 | 38032.9388 | 45 | 1.04 | 31.2 | 45 |  | 27117.905 | 28202.6212 | 1220.3057
|  | Oil & Other | 1031 | 4611.272 | 125.2195 | 1.23 | 36.9 | 125.2195 |  | 4300.2746 | 5289.3377 | 538.4784 | CO2 Change (kTons) | -21045.1353
|  | Coal | 389 | 2145.02 | 30 | 1.56 | 46.8 | 30 |  | 1011.6495 | 1578.1733 | 30.3495 | CO2 Extra Costs (M$) | 244.6315
| Fixed | New Renew | 4000 | 16000 | 100 | 0 | 0 | 100 |  | 16000 | 0 | 1600 | CO2 Control Cost ($/ton) | 11.6241
|  | New EE | 4000 | 16000 | 50 | 0 | 0 | 50 |  | 16000 | 0 | 800
|  | Renewables | 5479 | 23648.412 | 55 | 0 | 0 | 55 |  | 23648.412 | 0 | 1300.6627 | Customer Net Costs (M$) | 20065.531
|  | Hydro | 10088 | 39631.866 | 30 | 0 | 0 | 30 |  | 39631.866 | 0 | 1188.956 | Generator Net Costs (M$) | 16841.2553
|  | Nuclear | 4324 | 36154.898 | 40 | 0 | 0 | 40 |  | 36154.898 | 0 | 1446.1959 | Generator Margin (M$) | 2979.6442
|  |  | 82011 | 307819.3857 | [5 empty] | 281819.3857 | 89811.1508 | 17085.8869
Note on Q85: Synapse: No effective change in market prices. Could even be negative.

## Common
CO2 Rates for Fossil Generation
Fuel | CO2 Content (lbs/mmBtu) | Vintage | Heat Rate (Btu/kWh) | CO2 Rate (Tons/MWh) | Fuel Cost ($/mmBtu) | Gen Fuel Cost ($/MWh)
Coal | 208 | CA Existing | 15000 | 1.56 | 1.0573 | 15.8601
| 208 | Import Existing | 10000 | 1.04 | 1.0573 | 10.5734
| 208 | New | 9000 | 0.936 | 1.0573 | 9.516
Oil | 164 | Existing | 15000 | 1.23 | 8.348 | 125.2195
Nat Gas | 118 | CT Existing | 11500 | 0.6785 | 8 | 92
| 118 | Steam Existing | 10000 | 0.59 | 8 | 80
| 118 | CC Existing | 7500 | 0.4425 | 8 | 60
| 118 | Current CA Mix | 9372.4451 | 0.55297 | 8 | 74.9796
| 118 | Import Mix | 9400 | 0.5546 | 8 | 75.2
| 118 | CT New | 9500 | 0.5605 | 8 | 76
| 118 | CC New | 7000 | 0.413 | 8 | 56
Notes | Much higher CO2 emission rates for existing coal and oil are implied by the EIA Electricity Profile data for CA.
Typical Marginal Costs
Type | Costs ($/MWh) | [5 empty] | 0.75
Nat Gas | 80 | Fuel + O&M
Imp Hydro/Nuclear | 55 | Market Proxy
Imp Gas | 80
Imp Coal | 45 | Contract price estimate
Oil & Other | 125.2195
Coal | 30 | Fuel with O&M
New Renew | 100 | New Wind
New EE | 50
Renewables | 55 | Market Proxy
Hydro | 30
Nuclear | 40
Price Response Modeling
Price Elasticity Factor | 1 | Varies generation mix sensitivity as the relative price changes.
The basic premise is that we start from existing conditions where prices and generation are in general balance.
Then relative price changes for a resource group produce proportional changes in the level of generation.
Say for example that a particular resource (which represents a mix of actual plants) has a price level relative to the
market price of 0.80 and that at that level produces X GWh.
Then carbon regulations are represented by some equivalent cost for carbon emissions.
That carbon price will have different effects on different resource prices and the overall market prices.
If all the relative prices are unchanged then we posit the neutral response that the generation mix is also unchanged.
But relative price changes produce proportional generation changes.
Now let's say that the price for the above resource stands at 0.60 relative to the market price.
We then model relative price change by the ratio of the ratio, i.e. (0.60 / 0.80) = 0.75
The generation change is the the reciprical of the price change times an common elasticity factor:
e.g. PEF * (1/0.75) = PEF * 1.33
So if PEF=1, the generation from this resource will increase by 33% in response to relative price changes.
This is of course only an approximation of market behavior for resource families that represent a large number
of units each with differing characteristics and costs.
The more accurate approach would be to simulate the system with a detailed dispatch model.
But our intent here is to indicate the relative aggregate behavior of the system with different resource types
in response to carbon regulations.
We know the direction of the response, but the magnitudes depend on a lot of factors.

## Overview
California | 2005
Total Electric Industry | Cap (MW) | Cap (%) | Gen (GWh) | Gen (%) | Avg CF | CO2 (kMT) | CO2 (sT/MWh) | CO2 lbs/mmBtu | Avg HR | Fuel Price ($/mmBtu) | Avg Fuel Cost ($/MWh) | Tot Fuel Cost (M$)
Coal | 389 | 0.6304% | 2145.02 | 1.071% | 62.95% | 3698 | 1.8964 | 208 | 18234.544 | 1.8033 | 32.883 | 70.5346
Petroleum | 840 | 1.361% | 2576.323 | 1.286% | 35.01% | 3292 | 1.4056 | 164 | 17141.0866 | 4.292 | 73.5695 | 189.5389
Natural Gas | 36700 | 59.47% | 93562.04 | 46.71% | 29.1% | 47034 | 0.55297 | 118 | 9372.4451 | 7.859 | 73.658 | 6891.5971
Other Gases | 191 | 0.3095% | 2034.949 | 1.016% | 121.6%
Nuclear | 4324 | 7.007% | 36154.898 | 18.05% | 95.45% | 0
Hydroelectric | 10088 | 16.35% | 39631.866 | 19.79% | 44.85% | 0
Other Renewables | 5479 | 8.879% | 23648.412 | 11.81% | 49.27% | 656 | 0.030514
Pumped Storage | 3688 | 5.977% | 119.793 | 0.05981% | 0.3708% | 0
Other | 8 | 0.01296% | 419.517 | 0.2095% | 598.6% | 0
Total | 61707 | 100% | 200292.818 | 100% | 37.05% | 54680
Retail Sales | Sales (GWh)
Residential | 85610
Commercial | 117551
Industrial | 50242
Other | -
Transportation | 846
All Sectors | 254250
T&D Loss Factor | 8%
Total Net Generation Needed | 276358.6957
In-State Generation | 200292.818
Net Imports | 76065.8777
Total Resources Used | Cap (MW) | Gen (GWh) | Gen (%) | Avg CF | CO2 (sT/MWh) | CO2 (kMT)
Coal | 389 | 2145.02 | 0.7762% | 62.95% | 1.8964 | 3698
Petroleum | 840 | 2576.323 | 0.9322% | 35.01% | 1.4056 | 3292
Natural Gas | 36700 | 93562.04 | 33.86% | 29.1% | 0.55297 | 47034
Other Gases | 191 | 2034.949 | 0.7363% | 121.6%
Nuclear | 4324 | 36154.898 | 13.08% | 95.45%
Hydroelectric | 10088 | 39631.866 | 14.34% | 44.85%
Other Renewables | 5479 | 23648.412 | 8.557% | 49.27% | 0.030514 | 656
Pumped Storage | 3688 | 119.793 | 0.04335% | 0.3708%
Other | 8 | 419.517 | 0.1518% | 598.6%
Imports |  | 76065.8777 | 27.52%
Totals |  | 276358.6957 | 100% |  |  | 54680
Short Term CO2 Options | Gen (GWh) | Cost (k$) | CO2 (1000 Tons) | $/Ton
Replace Oil Gen with Nat Gas | 2576.323 | 228.0111 | -2196.5597 | 0.1038
Replace Coal Gen with Nat Gas | 2145.02 | 87463.3732 | -2881.6591 | 30.3517
Longer Term CO2 Options | Gen (GWh) | Gen Price ($/MWh) | Gen Cost (M$) | Gen CO2 Rate (sT/MWh) | Gen Co2 (kTons) | Repl Gen (GWh) | Repl Price ($/MWh) | Repl Cost (M$) | Repl CO2 Rate (sT/MWh) | Repl CO2 (1000 Tons) | Net Cost (M$) | CO2 Change (kTons) | Net CO2 Cost ($/Ton)
Replace Oil Gen with Wind | 2576.323 | 73.5695 | 189.5389 | 1.4056 | 3621.2 | 2576.323 | 110 | 283.3955 | 0 | 0 | 93.8566 | -3621.2 | 25.9187
Replace Coal Gen with Wind | 2145.02 | 32.883 | 70.5346 | 1.8964 | 4067.8 | 2145.02 | 110 | 235.9522 | 0 | 0 | 165.4176 | -4067.8 | 40.6651
Replace Nat Gas Gen with Wind | 3000 | 73.658 | 220.9741 | 0.55297 | 1658.9228 | 3000 | 110 | 330 | 0 | 0 | 109.0259 | -1658.9228 | 65.7209
Replace Nat Gas Gen with EE | 3000 | 73.658 | 220.9741 | 0.55297 | 1658.9228 | 3000 | 50 | 150 | 0 | 0 | -70.9741 | -1658.9228 | -42.7833

## Profile
http://www.eia.doe.gov/cneaf/electricity/st_profiles/e_profiles_sum.html
Table 1. 2005 Summary Statistics
Item | Value | U.S. Rank
California
NERC Region(s) |  | WECC
Primary Energy Source |  | Gas
Net Summer Capability (megawatts) | 61707 | 2
Electric Utilities | 25211 | 4
Independent Power Producers & Combined Heat and Power | 36497 | 4
Net Generation (megawatthours) | 200292819 | 4
Electric Utilities | 89348213 | 12
Independent Power Producers & Combined Heat and Power | 110944605 | 4
Emissions (thousand metric tons)
Sulfur Dioxide | 26 | 39
Nitrogen Oxide | 86 | 16
Carbon Dioxide | 54680 | 17
Sulfur Dioxide (lbs/MWh) | 0.3 | 48
Nitrogen Oxide (lbs/MWh) | 0.9 | 45
Carbon Dioxide (lbs/MWh) | 602 | 47
Total Retail Sales (megawatthours) | 254249507 | 2
Full Service Provider Sales (megawatthours) | 230843182 | 2
Deregulated Sales (megawatthours) | 23406325 | 4
Direct Use (megawatthours) | 11009718 | 3
Average Retail Price (cents/kWh) | 11.63 | 8
Table 2. Ten Largest Plants by Generation Capability, 2005
Plant | Primary Energy Source or Technology | Operating Company | Net Summer Capacity (MW)
California
1. Moss Landing Power Plant | Gas | Duke Energy North America LLC | 2498
2. Diablo Canyon | Nuclear | Pacific Gas & Electric Co | 2174
3. San Onofre | Nuclear | Southern California Edison Co | 2150
4. AES Alamitos LLC | Gas | AES Alamitos LLC | 1997
5. Haynes | Gas | Los Angeles City of | 1581
6. Ormond Beach | Gas | Reliant Energy Ormond Bch LLC | 1516
7. Castaic | Pumped Storage | Los Angeles City of | 1495
8. Pittsburg Power | Gas | Mirant Delta LLC | 1311
9. AES Redondo Beach LLC | Gas | AES Redondo Beach LLC | 1310
10. Helms Pumped Storage | Pumped Storage | Pacific Gas & Electric Co | 1212
Table 3. Top Five Retailers of Electricity, with End Use Sectors, 2005
(Megawatthours)
Entity | Type of Provider | All Sectors | Residential | Commercial | Industrial | Transportation
California
1. Southern California Edison Co | Investor-Owned | 75301581 | 28711485 | 37973239 | 8554408 | 62449
2. Pacific Gas & Electric Co | Investor-Owned | 72727705 | 29683580 | 33377593 | 9665030 | 1502
3. Los Angeles City of | Public | 23400472 | 7105500 | 13715323 | 2427836 | 151813
4. San Diego Gas & Electric Co | Investor-Owned | 16001482 | 7075368 | 6671071 | 2159043 | 96000
5. Sacramento Municipal Util Dist | Public | 10483042 | 4538773 | 690066 | 5220597 | 33606
Total Sales, Top Five Providers |  | 197914282 | 77114706 | 92427292 | 28026914 | 345370
Percent of Total State Sales |  | 78 | 90 | 79 | 56 | 41
Table 4. Electric Power Industry Capability by Primary Energy Source, 1990 Through 2005 (Megawatts)
California
Energy Source | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | Percentage Share
[17 empty] | 1990 | 2005
Electric Utilities | 43681 | 43599 | 43763 | 44313 | 43297 | 43302 | 43934 | 43709 | 30663 | 24323 | 24319 | 24405 | 24609 | 23223 | 23867 | 25211 | 82.1 | 40.9
Petroleum | 688 | 676 | 682 | 698 | 698 | 700 | 560 | 590 | 395 | 184 | 526 | 524 | 296 | 297 | 297 | 297 | 1.3 | 0.5
Natural Gas | 23927 | 23871 | 23887 | 24140 | 23063 | 23032 | 23497 | 23675 | 10923 | 6013 | 5670 | 5733 | 5954 | 5042 | 5567 | 6809 | 45 | 11
Nuclear | 4746 | 4746 | 4310 | 4310 | 4310 | 4310 | 4746 | 4310 | 4310 | 4310 | 4310 | 4324 | 4324 | 4324 | 4324 | 4324 | 8.9 | 7
Hydroelectric | 9199 | 9235 | 9438 | 9718 | 9773 | 9807 | 9804 | 9807 | 9780 | 9838 | 9835 | 9848 | 10040 | 9716 | 9840 | 9852 | 17.3 | 16
Other Renewables | 1595 | 1544 | 1715 | 1716 | 1723 | 1723 | 1597 | 1597 | 1525 | 248 | 248 | 247 | 265 | 156 | 150 | 240 | 3 | 0.4
Pumped Storage | 3526 | 3526 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3688 | 3688 | 3688 | 6.6 | 6
Independent Power Producers and Combined Heat and Power | 9534 | 9846 | 9933 | 10092 | 10159 | 10187 | 10222 | 10149 | 21710 | 27848 | 27989 | 30077 | 32054 | 34628 | 34440 | 36497 | 17.9 | 59.1
Coal | 432 | 393 | 433 | 439 | 421 | 420 | 403 | 420 | 381 | 385 | 407 | 363 | 352 | 358 | 389 | 389 | 0.8 | 0.6
Petroleum | 168 | 180 | 144 | 144 | 176 | 174 | 144 | 176 | 344 | 514 | 460 | 558 | 541 | 527 | 541 | 543 | 0.3 | 0.9
Natural Gas | 4260 | 4297 | 4400 | 4503 | 4576 | 4746 | 4840 | 4966 | 16401 | 20892 | 21015 | 23712 | 25758 | 28248 | 27871 | 29891 | 8 | 48.4
Other Gases | 107 | 215 | 214 | 213 | 220 | 176 | 190 | 171 | 203 | 335 | 395 | 281 | 226 | 225 | 235 | 191 | 0.2 | 0.3
Hydroelectric | 568 | 565 | 592 | 593 | 643 | 638 | 641 | 588 | 476 | 476 | 476 | 483 | 323 | 232 | 238 | 236 | 1.1 | 0.4
Other Renewables | 3999 | 4187 | 4141 | 4192 | 4114 | 4024 | 3995 | 3819 | 3897 | 5237 | 5232 | 4681 | 4837 | 5022 | 5158 | 5240 | 7.5 | 8.5
Other | 0 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 4 | 0 | 17 | 17 | 8 | 8 | - | *
Total Electric Industry | 53215 | 53444 | 53696 | 54405 | 53456 | 53489 | 54156 | 53858 | 52373 | 52171 | 52308 | 54482 | 56663 | 57850 | 58306 | 61707 | 100 | 100
Coal | 432 | 393 | 433 | 439 | 421 | 420 | 403 | 420 | 381 | 385 | 407 | 363 | 352 | 358 | 389 | 389 | 0.8 | 0.6
Petroleum | 856 | 856 | 827 | 843 | 874 | 874 | 704 | 766 | 739 | 698 | 986 | 1082 | 837 | 824 | 838 | 840 | 1.6 | 1.4
Natural Gas | 28187 | 28168 | 28287 | 28644 | 27639 | 27778 | 28337 | 28642 | 27324 | 26905 | 26685 | 29444 | 31712 | 33290 | 33438 | 36700 | 53 | 59.5
Other Gases | 107 | 215 | 214 | 213 | 220 | 176 | 190 | 171 | 203 | 335 | 395 | 281 | 226 | 225 | 235 | 191 | 0.2 | 0.3
Nuclear | 4746 | 4746 | 4310 | 4310 | 4310 | 4310 | 4746 | 4310 | 4310 | 4310 | 4310 | 4324 | 4324 | 4324 | 4324 | 4324 | 8.9 | 7
Hydroelectric | 9767 | 9800 | 10031 | 10310 | 10416 | 10446 | 10445 | 10394 | 10256 | 10314 | 10311 | 10331 | 10364 | 9947 | 10078 | 10088 | 18.4 | 16.3
Other Renewables | 5594 | 5731 | 5856 | 5908 | 5837 | 5746 | 5592 | 5416 | 5422 | 5485 | 5480 | 4928 | 5102 | 5177 | 5308 | 5479 | 10.5 | 8.9
Pumped Storage | 3526 | 3526 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3730 | 3688 | 3688 | 3688 | 6.6 | 6
Other | 0 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 4 | 0 | 17 | 17 | 8 | 8 | - | *
Table 5. Electric Power Industry Generation by Primary Energy Source, 1990 Through 2005 (Megawatthours)
California
Energy Source | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | Percentage Share
[17 empty] | 1990 | 2005
Electric Utilities | 114528000 | 104967938 | 119309725 | 125782063 | 126749186 | 121881402 | 114706047 | 112183063 | 114926213 | 87874809 | 85856285 | 70132656 | 74588271 | 81728209 | 75177122 | 89348213 | 69.1 | 44.6
Petroleum | 4385235 | 598489 | 325424 | 2007674 | 1862719 | 488530 | 674899 | 141872 | 121385 | 51769 | 144590 | 316691 | 43933 | 50996 | 51482 | 57974 | 2.6 | *
Natural Gas | 45221848 | 43940427 | 56609607 | 46499103 | 61530357 | 39089723 | 30768135 | 36300778 | 26385452 | 13917748 | 12411961 | 11918703 | 8808012 | 9873371 | 10759580 | 12982348 | 27.3 | 6.5
Nuclear | 32692807 | 31541799 | 35244336 | 31580692 | 33752237 | 30245936 | 34096860 | 30512118 | 34594206 | 33371857 | 35175505 | 33219520 | 34352340 | 35593789 | 30267887 | 36154898 | 19.7 | 18.1
Hydroelectric | 22808272 | 20875345 | 19209788 | 37981519 | 21917229 | 44928985 | 41862216 | 38783138 | 47475341 | 39228603 | 37041641 | 24817842 | 30236644 | 35782738 | 33608686 | 38826653 | 13.8 | 19.4
Other Renewables | 8433586 | 7912018 | 7925065 | 7430151 | 6751795 | 4621563 | 5109501 | 5431253 | 5141028 | 1691046 | 144648 | 209589 | 1333863 | 1339627 | 1306318 | 1206547 | 5.1 | 0.6
Pumped Storage | 986252 | 99860 | -4495 | 282924 | 934849 | 2506665 | 2194436 | 1013904 | 1208801 | -386214 | 937940 | -349689 | -240997 | -912313 | -816831 | 119793 | 0.6 | 0.1
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54476 | 0 | 0 | 0 | 0 | 0
Independent Power Producers and Combined Heat and Power | 51256909 | 53979704 | 57845734 | 61208579 | 59442805 | 59581939 | 60557157 | 60614532 | 74674493 | 100444414 | 122226198 | 128463419 | 109621760 | 111060333 | 119603232 | 110944606 | 30.9 | 55.4
Coal | 2637677 | 2632419 | 3299510 | 3129951 | 3271691 | 2786844 | 2528786 | 2331970 | 2159070 | 2296082 | 2363607 | 2232851 | 2327809 | 2326305 | 2244355 | 2145020 | 1.6 | 1.1
Petroleum | 1088617 | 1371630 | 1623115 | 1594008 | 1548422 | 1802598 | 2158069 | 1950320 | 2091687 | 2086147 | 2695204 | 2738202 | 1917132 | 2341253 | 2214436 | 2518349 | 0.7 | 1.3
Natural Gas | 28946460 | 30065733 | 32095180 | 33145066 | 32901443 | 33489170 | 33646044 | 34701286 | 48746540 | 71181114 | 90807012 | 100013568 | 80816032 | 81558809 | 89695842 | 80579692 | 17.5 | 40.2
Other Gases | 2146742 | 1978403 | 2714688 | 3097462 | 2959314 | 2594985 | 3216924 | 2984277 | 3076556 | 2417613 | 2687177 | 1130499 | 1240053 | 1759015 | 1862250 | 2034949 | 1.3 | 1
Hydroelectric | 984295 | 1081719 | 957622 | 2511007 | 1095386 | 3104145 | 2889127 | 2271408 | 2072859 | 1508064 | 1292145 | 723934 | 903984 | 587965 | 532243 | 805213 | 0.6 | 0.4
Other Renewables | 15453118 | 16844688 | 17145408 | 17719662 | 17652424 | 15788401 | 16089928 | 16353591 | 16507556 | 20931967 | 22359013 | 21420027 | 22073117 | 22205492 | 22635780 | 22441865 | 9.3 | 11.2
Other | 0 | 5112 | 10211 | 11423 | 14125 | 15796 | 28279 | 21680 | 20225 | 23427 | 22040 | 204338 | 343632 | 281495 | 418327 | 419517 | - | 0.2
Total Electric Industry | 165784909 | 158947642 | 177155459 | 186990642 | 186191991 | 181463341 | 175263204 | 172797595 | 189600706 | 188319223 | 208082483 | 198596075 | 184210031 | 192788542 | 194780354 | 200292819 | 100 | 100
Coal | 2637677 | 2632419 | 3299510 | 3129951 | 3271691 | 2786844 | 2528786 | 2331970 | 2159070 | 2296082 | 2363607 | 2232851 | 2327809 | 2326305 | 2244355 | 2145020 | 1.6 | 1.1
Petroleum | 5473852 | 1970119 | 1948539 | 3601682 | 3411141 | 2291128 | 2832968 | 2092192 | 2213072 | 2137916 | 2839794 | 3054893 | 1961065 | 2392249 | 2265918 | 2576323 | 3.3 | 1.3
Natural Gas | 74168308 | 74006160 | 88704787 | 79644169 | 94431800 | 72578893 | 64414179 | 71002064 | 75131992 | 85098862 | 103218973 | 111932271 | 89624044 | 91432180 | 100455422 | 93562040 | 44.7 | 46.7
Other Gases | 2146742 | 1978403 | 2714688 | 3097462 | 2959314 | 2594985 | 3216924 | 2984277 | 3076556 | 2417613 | 2687177 | 1130499 | 1240053 | 1759015 | 1862250 | 2034949 | 1.3 | 1
Nuclear | 32692807 | 31541799 | 35244336 | 31580692 | 33752237 | 30245936 | 34096860 | 30512118 | 34594206 | 33371857 | 35175505 | 33219520 | 34352340 | 35593789 | 30267887 | 36154898 | 19.7 | 18.1
Hydroelectric | 23792567 | 21957064 | 20167410 | 40492526 | 23012615 | 48033130 | 44751343 | 41054546 | 49548200 | 40736667 | 38333786 | 25541776 | 31140628 | 36370703 | 34140929 | 39631866 | 14.4 | 19.8
Other Renewables | 23886704 | 24756706 | 25070473 | 25149813 | 24404219 | 20409964 | 21199429 | 21784844 | 21648584 | 22623013 | 22503661 | 21629616 | 23406980 | 23545119 | 23942098 | 23648412 | 14.4 | 11.8
Pumped Storage | 986252 | 99860 | -4495 | 282924 | 934849 | 2506665 | 2194436 | 1013904 | 1208801 | -386214 | 937940 | -349689 | -240997 | -912313 | -816831 | 119793 | 0.6 | 0.1
Other | 0 | 5112 | 10211 | 11423 | 14125 | 15796 | 28279 | 21680 | 20225 | 23427 | 22040 | 204338 | 398108 | 281495 | 418327 | 419517 | - | 0.2
Table 6. Electric Power Delivered Fuel Prices and Quality for Coal, Petroleum, Natural Gas, 1990 Through 2005
California
Fuel, Quality | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
Coal (cents per million Btu) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180.2 | 172.7 | 188.1 | W
Average heat value (Btu per pound) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11854 | 11943 | 12205 | 12027
Average sulfur Content (percent) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.7 | 0.8 | 0.8
Petroleum (cents per million Btu) | 435.8 | 306.2 | 217.9 | 234.7 | 216.3 | 0 | 0 | 0 | 274.7 | 327.2 | 619.4 | 600.9 | 114.4 | 266.5 | 297.6 | 429.2
Average heat value (Btu per gallon) | 146026 | 145807 | 144855 | 146726 | 146098 | 0 | 0 | 0 | 144855 | 144855 | 140000 | 131667 | 137952 | 124229 | 134633 | 129557
Average sulfur Content (percent) | 0.3 | 0.3 | * | 0.3 | 0.4 | 0 | 0 | 0 | 0 | 0.2 | 0 | 1 | 1.9 | 0.9 | 1.2 | 0.9
Natural Gas (cents per million Btu) | 303.1 | 286.9 | 271.9 | 296.3 | 248.4 | 222.4 | 267.9 | 302.2 | 268.6 | 272.5 | 581.2 | 928.6 | 372.1 | 536.7 | 589.4 | 785.9
Average heat value (Btu per cubic foot) | 1033 | 1028 | 1033 | 1030 | 1029 | 1027 | 1026 | 1019 | 1021 | 1012 | 1012 | 1020 | 1019 | 1026 | 1027 | 1025
Table 7. Electric Power Industry Emissions Estimates, 1990 Through 2005 (Thousand Metric Tons)
California
Emission Type | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
Sulfur Dioxide
Coal | 32 | 32 | 35 | 33 | 25 | 28 | 26 | 32 | 16 | 13 | 15 | 5 | 2 | 3 | 2 | 3
Petroleum | 46 | 17 | 26 | 28 | 47 | 42 | 56 | 53 | 52 | 47 | 26 | 34 | 66 | 13 | 18 | 21
Natural Gas | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
Other | 3 | 3 | 4 | 1 | 1 | 2 | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Total | 82 | 52 | 65 | 62 | 73 | 72 | 85 | 88 | 71 | 62 | 43 | 41 | 70 | 17 | 22 | 26
Nitrogen Oxide
Coal | 16 | 15 | 17 | 17 | 17 | 16 | 15 | 14 | 13 | 14 | 14 | 5 | 3 | 3 | 3 | 3
Petroleum | 9 | 4 | 4 | 5 | 8 | 7 | 8 | 7 | 8 | 8 | 6 | 11 | 9 | 6 | 4 | 5
Natural Gas | 91 | 77 | 75 | 66 | 74 | 71 | 53 | 54 | 55 | 54 | 60 | 72 | 61 | 77 | 70 | 57
Other | 12 | 10 | 10 | 10 | 10 | 10 | 10 | 13 | 14 | 10 | 11 | 19 | 16 | 20 | 20 | 21
Total | 128 | 105 | 106 | 98 | 108 | 103 | 85 | 88 | 89 | 86 | 91 | 107 | 90 | 106 | 98 | 86
Carbon Dioxide
Coal | 3,811R | 4,084R | 4,581R | 4,328R | 4,517R | 4,219R | 4,060R | 3,636R | 3,537R | 3,839R | 3,858R | 3791 | 3986 | 3847 | 3905 | 3698
Petroleum | 5,014R | 2,265R | 2,375R | 3,729R | 3,644R | 2,970R | 3,708R | 2,871R | 2,991R | 3,072R | 3,595R | 3889 | 3019 | 3076 | 2962 | 3292
Natural Gas | 42,679R | 42,627R | 49,866R | 45,246R | 52,921R | 42,036R | 38,305R | 42,526R | 45,555R | 49,822R | 59,281R | 62934 | 51021 | 48365 | 52271 | 47034
Geothermal | 357R | 364R | 363R | 368R | 337R | 281R | 310R | 323R | 327R | 332R | 313R | 310 | 333 | 330 | 333 | 331
Other Renewables | 477R | 447R | 460R | 459R | 467R | 469R | 465R | 478R | 473R | 486R | 365R | 334 | 1311 | 366 | 348 | 325
Total | 52,338R | 49,786R | 57,646R | 54,130R | 61,887R | 49,976R | 46,847R | 49,834R | 52,882R | 57,551R | 67,411R | 71258 | 59669 | 55983 | 59820 | 54680
Table 8. Retail Sales, Revenue, and Average Retail Price by Sector, 1990 Through 2005
California
Sector | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | Percentage Share
[17 empty] | 1990 | 2005
Retail Sales (thousand megawatthours)
Residential | 66575 | 66017 | 68121 | 67359 | 68866 | 68783 | 71396 | 73086 | 75205 | 75303 | 79241 | 76668 | 77202 | 82926 | 83361 | 85610 | 31.5 | 33.7
Commercial | 79691 | 78425 | 80235 | 79058 | 76925 | 80874 | 83392 | 83574 | 92517 | 86371 | 92697 | 96459 | 102587 | 109578 | 118953 | 117551 | 37.8 | 46.2
Industrial | 55892 | 56191 | 57090 | 56189 | 59864 | 57367 | 57683 | 62017 | 61641 | 63217 | 64311 | 63041 | 48448 | 49909 | 48812 | 50242 | 26.5 | 19.8
Other | 8935 | 8018 | 8002 | 7894 | 8030 | 5580 | 5642 | 9203 | 7071 | 9940 | 7808 | 11591 | 6976 | - | - | - | 4.2 | -
Transportation | - | - | - | - | - | - | - | - | - | - | - | - | - | 809 | 900 | 846 | - | 0.3
All Sectors | 211093 | 208650 | 213447 | 210500 | 213684 | 212605 | 218112 | 227880 | 236434 | 234831 | 244057 | 247759 | 235213 | 243221 | 252026 | 254250 | 100 | 100
Retail Revenue (million dollars)
Residential | 6646 | 7120 | 7544 | 7613 | 7869 | 7983 | 8088 | 8405 | 7964 | 8012 | 8629 | 9269 | 9759 | 10142 | 10168 | 10708 | 35.6 | 36.2
Commercial | 7541 | 7876 | 8291 | 8269 | 8383 | 8485 | 8199 | 8343 | 8782 | 8156 | 9502 | 11716 | 13710 | 13672 | 13846 | 14007 | 40.4 | 47.4
Industrial | 4071 | 4260 | 4333 | 4121 | 4246 | 4226 | 4018 | 4312 | 4001 | 3961 | 4594 | 5819 | 4752 | 4787 | 4526 | 4797 | 21.8 | 16.2
Other | 404 | 405 | 443 | 398 | 401 | 376 | 364 | 690 | 358 | 412 | 380 | 983 | 460 | - | - | - | 2.2 | -
Transportation | - | - | - | - | - | - | - | - | - | - | - | - | - | 47 | 58 | 55 | - | 0.2
All Sectors | 18664 | 19661 | 20612 | 20401 | 20900 | 21070 | 20668 | 21751 | 21105 | 20540 | 23105 | 27787 | 28680 | 28648 | 28598 | 29567 | 100 | 100
Average Retail Prices (cents/KWh)
Residential | 9.98 | 10.79 | 11.07 | 11.3 | 11.43 | 11.61 | 11.33 | 11.5 | 10.6 | 10.64 | 10.89 | 12.09 | 12.64 | 12.23 | 12.2 | 12.51 | - | -
Commercial | 9.46 | 10.04 | 10.33 | 10.46 | 10.9 | 10.49 | 9.83 | 9.98 | 9.66 | 9.44 | 10.25 | 12.15 | 13.36 | 12.48 | 11.64 | 11.92 | - | -
Industrial | 7.28 | 7.58 | 7.59 | 7.33 | 7.09 | 7.37 | 6.97 | 6.95 | 6.59 | 6.27 | 7.14 | 9.23 | 9.81 | 9.59 | 9.27 | 9.55 | - | -
Other | 4.53 | 5.05 | 5.54 | 5.05 | 5 | 6.73 | 6.45 | 7.5 | 5.06 | 4.15 | 4.87 | 8.48 | 6.6 | - | - | - | - | -
Transportation | - | - | - | - | - | - | - | - | - | - | - | - | - | 5.8 | 6.42 | 6.55 | - | -
All Sectors | 8.84 | 9.42 | 9.66 | 9.69 | 9.78 | 9.91 | 9.48 | 9.54 | 9.03 | 8.75 | 9.47 | 11.22 | 12.19 | 11.78 | 11.35 | 11.63 | - | -
Retail Revenue (2005 million dollars)
Residential | 8817 | 9127 | 9452 | 9323 | 9436 | 9382 | 9328 | 9535 | 8935 | 8861 | 9340 | 9797 | 10147 | 10356 | 10168 | 10708 | 35.6 | 36.2
Commercial | 10004 | 10095 | 10389 | 10127 | 10053 | 9971 | 9455 | 9464 | 9853 | 9020 | 10285 | 12384 | 14255 | 13961 | 13846 | 14007 | 40.4 | 47.4
Industrial | 5401 | 5460 | 5430 | 5047 | 5092 | 4966 | 4634 | 4891 | 4488 | 4380 | 4972 | 6151 | 4941 | 4888 | 4526 | 4797 | 21.8 | 16.2
Other | 536 | 519 | 555 | 488 | 481 | 441 | 420 | 783 | 402 | 456 | 411 | 1039 | 479 | - | - | - | 2.2 | -
Transportation | - | - | - | - | - | - | - | - | - | - | - | - | - | 48 | 58 | 55 | - | 0.2
All Sectors | 24759 | 25201 | 25825 | 24985 | 25062 | 24760 | 23836 | 24674 | 23678 | 22717 | 25008 | 29371 | 29822 | 29253 | 28598 | 29567 | 100 | 100
Average Retail Prices (2005 cents/KWh)
Residential | 13.24 | 13.82 | 13.88 | 13.84 | 13.7 | 13.64 | 13.06 | 13.05 | 11.88 | 11.77 | 11.79 | 12.78 | 13.14 | 12.49 | 12.2 | 12.51 | - | -
Commercial | 12.55 | 12.87 | 12.95 | 12.81 | 13.07 | 12.33 | 11.34 | 11.32 | 10.65 | 10.44 | 11.1 | 12.84 | 13.9 | 12.74 | 11.64 | 11.92 | - | -
Industrial | 9.66 | 9.72 | 9.51 | 8.98 | 8.51 | 8.66 | 8.03 | 7.89 | 7.28 | 6.93 | 7.73 | 9.76 | 10.2 | 9.79 | 9.27 | 9.55 | - | -
Other | 6 | 6.47 | 6.94 | 6.18 | 5.99 | 7.91 | 7.44 | 8.51 | 5.68 | 4.59 | 5.27 | 8.96 | 6.86 | - | - | - | - | -
Transportation | - | - | - | - | - | - | - | - | - | - | - | - | - | 5.92 | 6.42 | 6.55 | - | -
All Sectors | 11.73 | 12.08 | 12.1 | 11.87 | 11.73 | 11.65 | 10.93 | 10.83 | 10.01 | 9.67 | 10.25 | 11.85 | 12.68 | 12.03 | 11.35 | 11.63 | - | -
Capacity Factors | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 5-Yr Average
Total Electric Industry | 35.56% | 33.95% | 37.66% | 39.24% | 39.76% | 38.73% | 36.94% | 36.63% | 41.33% | 41.21% | 45.41% | 41.61% | 37.11% | 38.04% | 38.14% | 37.05% | 38.39%
Coal | 69.7% | 76.46% | 86.99% | 81.39% | 88.71% | 75.75% | 71.63% | 63.38% | 64.69% | 68.08% | 66.29% | 70.22% | 75.49% | 74.18% | 65.86% | 62.95% | 69.74%
Petroleum | 73% | 26.27% | 26.9% | 48.77% | 44.55% | 29.92% | 45.94% | 31.18% | 34.19% | 34.96% | 32.88% | 32.23% | 26.75% | 33.14% | 30.87% | 35.01% | 31.6%
Natural Gas | 30.04% | 29.99% | 35.8% | 31.74% | 39% | 29.83% | 25.95% | 28.3% | 31.39% | 36.11% | 44.16% | 43.4% | 32.26% | 31.35% | 34.29% | 29.1% | 34.08%
Other Gases | 229% | 105% | 144.8% | 166% | 153.6% | 168.3% | 193.3% | 199.2% | 173% | 82.38% | 77.66% | 45.93% | 62.64% | 89.24% | 90.46% | 121.6% | 81.98%
Nuclear | 78.64% | 75.87% | 93.35% | 83.65% | 89.4% | 80.11% | 82.01% | 80.81% | 91.63% | 88.39% | 93.17% | 87.7% | 90.69% | 93.97% | 79.91% | 95.45% | 89.54%
Hydroelectric | 27.81% | 25.58% | 22.95% | 44.83% | 25.22% | 52.49% | 48.91% | 45.09% | 55.15% | 45.09% | 42.44% | 28.22% | 34.3% | 41.74% | 38.67% | 44.85% | 37.56%
Other Renewables | 48.74% | 49.31% | 48.87% | 48.59% | 47.73% | 40.55% | 43.28% | 45.92% | 45.58% | 47.08% | 46.88% | 50.1% | 52.37% | 51.92% | 51.49% | 49.27% | 51.03%
Pumped Storage | 3.193% | 0.3233% | -0.01376% | 0.8659% | 2.861% | 7.672% | 6.716% | 3.103% | 3.699% | -1.182% | 2.871% | -1.07% | -0.7376% | -2.824% | -2.528% | 0.3708% | -1.358%
Other | #DIV/0! | 6.484% | 12.95% | 14.49% | 17.92% | 20.04% | 35.87% | 27.5% | 25.65% | 29.71% | 62.9% | #DIV/0! | 267.3% | 189% | 596.9% | 598.6% | #DIV/0!
Emission Rates | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
Sulfur Dioxide | lbs/MWh
Coal | 26.6902 | 26.7435 | 23.3368 | 23.1953 | 16.8109 | 22.1039 | 22.6195 | 30.1891 | 16.3033 | 12.456 | 13.9617 | 4.9264 | 1.8902 | 2.8371 | 1.9605 | 3.0769
Petroleum | 18.4879 | 18.9836 | 29.3553 | 17.1031 | 30.3124 | 40.3295 | 43.488 | 55.731 | 51.6929 | 48.3649 | 20.1423 | 24.4853 | 74.0414 | 11.9553 | 17.4764 | 17.9325
Natural Gas
Other | 3.0744 | 3.336 | 3.2416 | 0.71026 | 0.74342 | 1.6956 | 1.3678 | 2.2116 | 2.1453 | 1.82 | 1.6374 | 3.8921 | 3.5482 | 2.5014 | 2.3627 | 2.1622
Total | 5.518 | 3.6269 | 4.0574 | 4.3191 | 4.7582 | 5.2371 | 5.4844 | 6.345 | 4.5152 | 4.0873 | 2.6894 | 2.7153 | 4.483 | 1.0507 | 1.5991 | 1.5821
Nitrogen Oxide | lbs/MWh
Coal | 13.3451 | 12.536 | 11.335 | 11.9491 | 11.4314 | 12.6308 | 13.0497 | 13.2077 | 13.2464 | 13.4142 | 13.0309 | 4.9264 | 2.8353 | 2.8371 | 2.9407 | 3.0769
Petroleum | 3.6172 | 4.4667 | 4.5162 | 3.0541 | 5.1596 | 6.7216 | 6.2126 | 7.3607 | 7.9527 | 8.2323 | 4.6482 | 7.9217 | 10.0966 | 5.5178 | 3.8836 | 4.2697
Natural Gas | 2.6993 | 2.289 | 1.8601 | 1.8231 | 1.724 | 2.1521 | 1.8102 | 1.6732 | 1.6105 | 1.396 | 1.2788 | 1.4151 | 1.4974 | 1.8527 | 1.533 | 1.3403
Other | 12.2977 | 11.1201 | 8.1041 | 7.1026 | 7.4342 | 8.4779 | 6.8388 | 9.5836 | 10.0112 | 9.0999 | 9.0057 | 36.9748 | 28.3859 | 25.014 | 23.6273 | 22.7033
Total | 8.6135 | 7.3236 | 6.6167 | 6.827 | 7.0395 | 7.4919 | 5.4844 | 6.345 | 5.6599 | 5.6694 | 5.6915 | 7.0862 | 5.7638 | 6.5517 | 7.1231 | 5.233
Carbon Dioxide | sTons/MWh | [7 empty] | Tons/MWh
Coal | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1.8676 | 1.8836 | 1.8191 | 1.9139 | 1.8964
Petroleum | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1.4003 | 1.6934 | 1.4144 | 1.4379 | 1.4056
Natural Gas | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.61848 | 0.62621 | 0.58187 | 0.57237 | 0.55297
Geothermal | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.30164 | 0.29539 | 0.20637 | 0.1967 | 0.17892
Other Renewables | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.01106 | 0.04198 | 0.011311 | 0.012647 | 0.009888
Total | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 3.0688 | 2.1077 | 1.6932 | 1.9274 | 1.5177

## AEO
Table 74. Electric Power Projections for EMM Region
Western Electricity Coordinating Council / California - 13
2005-
| 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2030
Electricity Generating Capacity 1/
(gigawatts)
Electric Power Sector
Coal Steam | 4.3 | 4.3 | 4.3 | 4.3 | 4.3 | 4.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.7681 | 8.5628 | 9.4159 | 10.2456 | 11.1378 | 12.144 | 13.2647 | 14.3036 | 15.3269 | 16.5205 | 17.7335 | 18.8591 | 19.9464 | 21.0773 | 22.1226 | 23.2544 | 24.2569 | 7.165%
Other Fossil Steam 2/ | 16.059 | 16.059 | 15.682 | 15.682 | 15.682 | 15.682 | 15.682 | 15.682 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | 13.858 | -0.5879%
Combined Cycle | 9.5507 | 12.0727 | 13.2134 | 13.9704 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 14.5064 | 0.7373%
Combustion Turbine/Diesel | 5.9858 | 6.1495 | 6.1935 | 6.3601 | 6.3601 | 6.3601 | 6.3601 | 6.3601 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3121 | 6.3822 | 6.3822 | 6.4651 | 0.2004%
Nuclear Power | 5.3667 | 5.3667 | 5.3766 | 5.3766 | 5.3959 | 5.3959 | 5.3959 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 5.4103 | 0.03241%
Pumped Storage/Other 3/ | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | 3.6884 | N/A
Fuel Cells | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Renewable Sources 4/ | 15.8992 | 16.1156 | 16.3535 | 18.3115 | 18.3161 | 18.3354 | 18.3394 | 18.3434 | 18.3474 | 18.5429 | 18.5484 | 18.6254 | 18.6956 | 18.7511 | 18.8066 | 18.8641 | 18.8716 | 18.8791 | 19.0143 | 19.0218 | 19.0678 | 19.1873 | 19.2399 | 19.2964 | 19.399 | 19.4092 | 19.4694 | 0.7591%
Distributed Generation 5/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018283 | 0.038418 | 0.060179 | 0.08027 | 0.10204 | 0.12475 | 0.14807 | 0.20903 | 0.40858 | 0.61307 | 0.81965 | 1.0202 | 1.2151 | N/A
Total Capacity | 60.8498 | 63.7519 | 64.8073 | 67.6889 | 68.2488 | 68.2681 | 71.2721 | 71.2905 | 69.4225 | 69.618 | 70.0917 | 70.9633 | 71.8866 | 72.7718 | 73.7377 | 74.8216 | 75.9715 | 77.0381 | 78.2183 | 79.4422 | 80.7245 | 82.0305 | 83.37 | 84.7619 | 86.1866 | 87.5291 | 88.8696 | 1.338%
Cumulative Planned Additions 6/
Coal Steam | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Other Fossil Steam 2/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Combined Cycle | 0 | 0 | 1.1407 | 1.8977 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | 2.4337 | N/A
Combustion Turbine/Diesel | 0 | 0 | 0.096 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | 0.26259 | N/A
Nuclear Power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Pumped Storage/Other 3/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Fuel Cells | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Renewable Sources 4/ | 0 | 0 | 0.23782 | 2.1958 | 2.2004 | 2.2197 | 2.2237 | 2.2277 | 2.2317 | 2.2372 | 2.2427 | 2.2482 | 2.2537 | 2.2592 | 2.2647 | 2.2722 | 2.2797 | 2.2872 | 2.2947 | 2.3022 | 2.3097 | 2.3172 | 2.3247 | 2.3322 | 2.3397 | 2.3472 | 2.3547 | N/A
Distributed Generation 5/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Total Planned Additions | 0 | 0 | 1.4745 | 4.3561 | 4.8967 | 4.916 | 4.92 | 4.924 | 4.928 | 4.9335 | 4.939 | 4.9445 | 4.95 | 4.9555 | 4.961 | 4.9685 | 4.976 | 4.9835 | 4.991 | 4.9985 | 5.006 | 5.0135 | 5.021 | 5.0285 | 5.036 | 5.0435 | 5.051 | N/A
Cumulative Unplanned Additions 6/
Coal Steam | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3.4681 | 4.2628 | 5.1159 | 5.9456 | 6.8377 | 7.844 | 8.9647 | 10.0036 | 11.0269 | 12.2205 | 13.4335 | 14.5591 | 15.6464 | 16.7773 | 17.8226 | 18.9544 | 19.9569 | N/A
Other Fossil Steam 2/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Combustion Turbine/Diesel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070164 | 0.070164 | 0.153 | N/A
Nuclear Power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Pumped Storage/Other 3/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Fuel Cells | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Renewable Sources 4/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19003 | 0.19003 | 0.26152 | 0.32621 | 0.37621 | 0.42621 | 0.47621 | 0.47621 | 0.47621 | 0.60392 | 0.60392 | 0.64241 | 0.75441 | 0.79951 | 0.84857 | 0.94368 | 0.94632 | 0.99909 | N/A
Distributed Generation 5/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018283 | 0.038418 | 0.060179 | 0.08027 | 0.10204 | 0.12475 | 0.14807 | 0.20903 | 0.40858 | 0.61307 | 0.81965 | 1.0202 | 1.2151 | N/A
Total Unplanned Additions | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3.19 | 3.6582 | 4.5243 | 5.4421 | 6.3218 | 7.2822 | 8.3586 | 9.501 | 10.5601 | 11.7328 | 12.9492 | 14.224 | 15.5225 | 16.8545 | 18.2389 | 19.6561 | 20.9911 | 22.3241 | N/A
Cumulative Total Additions | 0 | 0 | 1.4745 | 4.3561 | 4.8967 | 4.916 | 7.92 | 7.924 | 7.928 | 8.1235 | 8.5971 | 9.4688 | 10.392 | 11.2773 | 12.2432 | 13.3271 | 14.477 | 15.5436 | 16.7238 | 17.9477 | 19.2299 | 20.536 | 21.8754 | 23.2674 | 24.6921 | 26.0345 | 27.375 | N/A
Cumulative Retirements 7/
Coal Steam | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Other Fossil Steam 3/ | 0 | 0 | 0.377 | 0.377 | 0.377 | 0.377 | 0.377 | 0.377 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | 2.201 | N/A
Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Combustion Turbine/Diesel | 0 | 0 | 0.052 | 0.052 | 0.052 | 0.052 | 0.052 | 0.052 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | N/A
Nuclear Power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Pumped Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Fuel Cells | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Renewable Sources 4/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Total | 0 | 0 | 0.429 | 0.429 | 0.429 | 0.429 | 0.429 | 0.429 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | 2.301 | N/A
End-Use Sectors 8/
Coal | 0.033335 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | 0.033576 | N/A
Petroleum | 0.17631 | 0.17251 | 0.17251 | 0.17176 | 0.17349 | 0.17349 | 0.17349 | 0.19542 | 0.19542 | 0.19542 | 0.19628 | 0.19628 | 0.19628 | 0.19801 | 0.19802 | 0.19802 | 0.19975 | 0.19975 | 0.19975 | 0.20149 | 0.20149 | 0.20149 | 0.20323 | 0.20323 | 0.20323 | 0.20496 | 0.20496 | 0.6919%
Natural Gas | 2.2323 | 2.1619 | 2.215 | 2.4855 | 2.563 | 2.6353 | 2.7123 | 2.8066 | 2.8812 | 2.9616 | 3.0512 | 3.1349 | 3.2188 | 3.327 | 3.4237 | 3.5259 | 3.6564 | 3.7707 | 3.8816 | 4.015 | 4.1241 | 4.2412 | 4.3847 | 4.5021 | 4.6185 | 4.765 | 4.8919 | 3.32%
Other Gaseous Fuels | 0.18985 | 0.19666 | 0.19666 | 0.19717 | 0.20042 | 0.20042 | 0.20042 | 0.20204 | 0.20204 | 0.20204 | 0.20366 | 0.20366 | 0.20366 | 0.20691 | 0.20691 | 0.20691 | 0.21015 | 0.21015 | 0.21015 | 0.2134 | 0.2134 | 0.2134 | 0.21665 | 0.21665 | 0.21665 | 0.21989 | 0.21989 | 0.4476%
Renewable Sources 4/ | 0.23629 | 0.23076 | 0.23734 | 0.24437 | 0.2488 | 0.2535 | 0.26188 | 0.26711 | 0.27325 | 0.27891 | 0.28391 | 0.28864 | 0.29401 | 0.29825 | 0.30208 | 0.30775 | 0.31416 | 0.3208 | 0.32748 | 0.33616 | 0.34559 | 0.35617 | 0.36759 | 0.3827 | 0.39867 | 0.41619 | 0.43768 | 2.593%
Other | 0.07647 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | 0.060302 | N/A
Total | 2.9446 | 2.8557 | 2.9154 | 3.1927 | 3.2796 | 3.3566 | 3.4419 | 3.5651 | 3.6458 | 3.7319 | 3.829 | 3.9174 | 4.0066 | 4.1241 | 4.2246 | 4.3325 | 4.4743 | 4.5952 | 4.7128 | 4.8599 | 4.9785 | 5.1062 | 5.2661 | 5.3986 | 5.5309 | 5.6999 | 5.8483 | 2.909%
Electricity Demand
(billion kilowatthours)
Residential | 84.0166 | 83.8255 | 84.7647 | 85.6957 | 87.6464 | 88.7891 | 90.1643 | 91.4047 | 92.8516 | 93.72 | 94.7151 | 95.6645 | 96.8868 | 97.6149 | 98.681 | 99.8664 | 101.289 | 102.0254 | 103.1693 | 104.3451 | 105.8097 | 106.7186 | 107.8953 | 109.0544 | 110.4239 | 111.1562 | 112.1553 | 1.171%
Commercial/Other | 115.2336 | 115.8096 | 116.598 | 119.7363 | 124.6838 | 126.8125 | 128.8783 | 131.2633 | 133.78 | 136.2837 | 138.6557 | 140.8931 | 143.1752 | 145.4815 | 147.8996 | 150.4857 | 153.1599 | 155.8407 | 158.5827 | 161.475 | 164.3884 | 167.3843 | 170.4228 | 173.5841 | 176.7787 | 180.0021 | 183.1618 | 1.851%
Industrial | 48.1219 | 48.8823 | 49.3749 | 51.7887 | 51.8126 | 52.1636 | 52.7045 | 53.4999 | 54.2582 | 54.8565 | 55.4815 | 56.0982 | 56.7501 | 57.2012 | 57.6837 | 58.3288 | 59.1139 | 59.8381 | 60.6922 | 61.5129 | 62.342 | 63.3054 | 64.3662 | 65.3963 | 66.2747 | 67.3222 | 68.238 | 1.343%
Transportation | 2.5856 | 2.5119 | 2.5359 | 2.5688 | 2.615 | 2.6582 | 2.6995 | 2.7344 | 2.7669 | 2.8018 | 2.8377 | 2.8746 | 2.91 | 2.9475 | 2.9853 | 3.0229 | 3.0601 | 3.0962 | 3.1315 | 3.1667 | 3.2031 | 3.2388 | 3.2761 | 3.3127 | 3.3482 | 3.3853 | 3.4198 | 1.242%
Total Sales | 249.9578 | 251.0293 | 253.2735 | 259.7894 | 266.7578 | 270.4233 | 274.4466 | 278.9023 | 283.6567 | 287.662 | 291.6901 | 295.5304 | 299.7221 | 303.2451 | 307.2495 | 311.7039 | 316.6228 | 320.8003 | 325.5757 | 330.4997 | 335.7432 | 340.6472 | 345.9604 | 351.3476 | 356.8255 | 361.8658 | 366.9749 | 1.53%
Net Energy for Load (billion kilowatthours) 7/
Gross International Imports | 1.1039 | 1.4986 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1973 | 1.1 | 1.1 | 1.1 | -1.229%
Gross International Exports | 0.048074 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | 0.10305 | N/A
Gross Interregional Electricity Imports | 65.4595 | 53.3234 | 67.0653 | 64.4627 | 70.5937 | 68.5409 | 60.3768 | 53.331 | 52.0863 | 54.677 | 52.6602 | 48.7926 | 48.8513 | 49.1531 | 49.3449 | 55.5041 | 56.414 | 51.6279 | 49.7251 | 48.6072 | 48.343 | 46.1197 | 45.9589 | 44.7349 | 46.0733 | 45.6841 | 48.9844 | -0.3389%
Gross Interregional Electricity Exports | 9.1031 | 6.6474 | 3.3461 | 3.316 | 3.2995 | 3.3024 | 3.3434 | 3.3402 | 3.3482 | 3.0396 | 2.7291 | 2.4192 | 2.0746 | 1.7524 | 1.4345 | 1.1066 | 0.8018 | 0.48368 | 0.18884 | 0.17667 | 0.21762 | 0.20179 | 0.20405 | 1.8261 | 4.9529 | 7.8183 | 13.7684 | 2.955%
Purchases from Combined Heat and Power 8/ | 4.4673 | 4.2496 | 4.4885 | 5.6163 | 5.7561 | 5.9044 | 6.0653 | 6.2718 | 6.4345 | 6.6074 | 6.8036 | 6.9827 | 7.1614 | 7.3684 | 7.5761 | 7.7901 | 8.0471 | 8.2865 | 8.5186 | 8.7777 | 9.0027 | 9.2452 | 9.5263 | 9.7598 | 9.9938 | 10.2761 | 10.5312 | 3.697%
Electric Power Sector Generation for Custome | 205.9004 | 207.0582 | 206.1645 | 214.2758 | 215.3269 | 220.8904 | 233.0685 | 244.4598 | 250.3946 | 251.4044 | 256.9052 | 264.174 | 268.0995 | 271.0598 | 274.6491 | 272.7372 | 276.5584 | 285.4717 | 291.8958 | 298.0364 | 303.7574 | 310.9969 | 316.6216 | 325.0003 | 332.5446 | 340.9364 | 348.8326 | 2.108%
Total Net Energy for Load | 267.78 | 259.3793 | 275.4665 | 282.1331 | 289.4714 | 293.1276 | 297.2614 | 301.8167 | 306.6614 | 310.7434 | 314.7341 | 318.6244 | 323.132 | 326.9232 | 331.2299 | 336.0191 | 341.312 | 345.9967 | 351.045 | 356.3389 | 361.9797 | 367.2542 | 372.997 | 378.7632 | 384.6558 | 390.0753 | 395.5767 | 1.703%
Generation by Fuel Type
(billion kilowatthours)
Electric Power Sector
Coal | 31.3755 | 30.879 | 32.7172 | 32.4653 | 31.9354 | 32.0262 | 50.6656 | 52.9371 | 54.223 | 54.313 | 57.8497 | 63.7008 | 69.982 | 76.091 | 82.6525 | 90.0618 | 98.3134 | 106.1499 | 113.6153 | 122.4068 | 131.33 | 139.6208 | 147.6638 | 155.9515 | 163.6534 | 172.0675 | 179.5397 | 7.295%
Petroleum | 1.8138 | 2.046 | 0.12941 | 0.12972 | 0.13461 | 0.13829 | 0.32663 | 0.34983 | 0.36364 | 0.36505 | 0.40074 | 0.45984 | 0.52329 | 0.585 | 0.65134 | 0.72619 | 0.80705 | 0.8903 | 0.96638 | 1.0552 | 1.1453 | 1.2291 | 1.3045 | 1.3886 | 1.4662 | 1.4662 | 1.4662 | -1.324%
Natural Gas | 83.6927 | 75.0258 | 75.4951 | 75.9342 | 76.3786 | 80.7838 | 73.2066 | 82.3176 | 86.6856 | 86.7131 | 88.6775 | 89.6306 | 86.7572 | 82.6224 | 79.629 | 69.9068 | 65.2166 | 66.1101 | 64.1754 | 61.0154 | 57.3941 | 55.7026 | 52.8515 | 52.6673 | 51.443 | 51.2228 | 51.2931 | -1.51%
Nuclear | 37.973 | 43.228 | 42.4211 | 42.5029 | 42.4984 | 42.4324 | 42.4703 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | 42.5838 | -0.06005%
Pumped Storage/Other 3/ | -0.7619 | 0.17017 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | -0.86239 | N/A
Renewable Sources 4/ | 54.5554 | 58.2086 | 58.8492 | 66.6918 | 67.828 | 68.9587 | 69.8492 | 69.7222 | 69.8811 | 70.7727 | 70.7376 | 71.1439 | 71.598 | 72.5224 | 72.4773 | 72.8036 | 72.9824 | 73.0823 | 73.8998 | 74.3201 | 74.649 | 75.2054 | 75.5628 | 75.754 | 76.743 | 76.9409 | 77.2946 | 1.141%
Total Generation | 208.6486 | 209.5576 | 208.7497 | 216.8616 | 217.9126 | 223.477 | 235.6559 | 247.0481 | 252.8746 | 253.8853 | 259.3869 | 266.6564 | 270.5819 | 273.5422 | 277.1315 | 275.2196 | 279.0407 | 287.954 | 294.3782 | 300.5188 | 306.2398 | 313.4792 | 319.104 | 327.4827 | 335.027 | 343.4188 | 351.3149 | 2.088%
Sales to Customers | 205.9004 | 207.0582 | 206.1645 | 214.2758 | 215.3269 | 220.8904 | 233.0685 | 244.4598 | 250.3946 | 251.4044 | 256.9052 | 264.174 | 268.0995 | 271.0598 | 274.6491 | 272.7372 | 276.5584 | 285.4717 | 291.8958 | 298.0364 | 303.7574 | 310.9969 | 316.6216 | 325.0003 | 332.5446 | 340.9364 | 348.8326 | 2.108%
Generation for Own Use | 2.7482 | 2.4994 | 2.5852 | 2.5858 | 2.5858 | 2.5866 | 2.5875 | 2.5883 | 2.4801 | 2.4809 | 2.4818 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | 2.4824 | -0.0274%
Distributed Generation 5/ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0080066 | 0.016824 | 0.026354 | 0.035158 | 0.044694 | 0.054641 | 0.064859 | 0.091555 | 0.17895 | 0.26852 | 0.35901 | 0.44685 | 0.53221 | N/A
End-Use Sectors 8/
Coal | 0.51776 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | 0.51509 | N/A
Petroleum | 0.88019 | 0.87423 | 0.88038 | 1.6495 | 1.6683 | 1.6683 | 1.6683 | 1.9214 | 1.9214 | 1.9214 | 1.9308 | 1.9308 | 1.9308 | 1.9402 | 1.9496 | 1.9496 | 1.9684 | 1.9684 | 1.9682 | 1.9868 | 1.9873 | 1.9873 | 2.0061 | 2.0062 | 2.0062 | 2.025 | 2.025 | 3.417%
Natural Gas | 15.9126 | 14.8772 | 15.0252 | 16.7829 | 17.5013 | 18.162 | 18.8647 | 19.7349 | 20.4163 | 21.1498 | 21.9727 | 22.7357 | 23.5006 | 24.3797 | 25.3783 | 26.3091 | 27.5074 | 28.5471 | 29.5565 | 30.7814 | 31.7738 | 32.8382 | 34.1529 | 35.2191 | 36.2753 | 37.6151 | 38.7652 | 3.905%
Other Gaseous Fuels | 0.84337 | 0.70434 | 0.54587 | 0.60912 | 0.64434 | 0.64434 | 0.64434 | 0.66195 | 0.66195 | 0.66195 | 0.67956 | 0.67956 | 0.67956 | 0.69717 | 0.71478 | 0.71478 | 0.75 | 0.75 | 0.75 | 0.78521 | 0.78521 | 0.78521 | 0.82043 | 0.82043 | 0.82043 | 0.85565 | 0.85565 | 0.7814%
Renewable Sources 4/ | 1.3054 | 1.2134 | 1.239 | 1.2634 | 1.2739 | 1.2843 | 1.3078 | 1.3323 | 1.3618 | 1.3889 | 1.4127 | 1.4349 | 1.4603 | 1.4799 | 1.4975 | 1.5216 | 1.5489 | 1.5761 | 1.6029 | 1.6334 | 1.6654 | 1.701 | 1.7389 | 1.7837 | 1.8288 | 1.8772 | 1.9316 | 1.877%
Other | 1.7302 | 1.3834 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | 1.3814 | -0.00577%
Total | 21.1896 | 19.5677 | 19.5871 | 22.2015 | 22.9843 | 23.6554 | 24.3817 | 25.5471 | 26.2579 | 27.0186 | 27.8923 | 28.6774 | 29.4678 | 30.3936 | 31.4367 | 32.3916 | 33.6713 | 34.7381 | 35.7741 | 37.0833 | 38.1082 | 39.2083 | 40.6149 | 41.7259 | 42.8272 | 44.2694 | 45.474 | 3.431%
Sales to Utilities | 4.4673 | 4.2496 | 4.4885 | 5.6163 | 5.7561 | 5.9044 | 6.0653 | 6.2718 | 6.4345 | 6.6074 | 6.8036 | 6.9827 | 7.1614 | 7.3684 | 7.5761 | 7.7901 | 8.0471 | 8.2865 | 8.5186 | 8.7777 | 9.0027 | 9.2452 | 9.5263 | 9.7598 | 9.9938 | 10.2761 | 10.5312 | 3.697%
Generation for Own Use | 16.7223 | 15.3182 | 15.0986 | 16.5851 | 17.2282 | 17.751 | 18.3163 | 19.2753 | 19.8235 | 20.4113 | 21.0887 | 21.6947 | 22.3064 | 23.0252 | 23.8606 | 24.6016 | 25.6241 | 26.4517 | 27.2555 | 28.3056 | 29.1056 | 29.9631 | 31.0886 | 31.9661 | 32.8334 | 33.9933 | 34.9429 | 3.354%
Total Electricity Generation | 229.8382 | 229.1253 | 228.3367 | 239.063 | 240.8969 | 247.1324 | 260.0376 | 272.5952 | 279.1326 | 280.9039 | 287.2792 | 295.3339 | 300.0497 | 303.9357 | 308.5761 | 307.6281 | 312.7383 | 322.7274 | 330.197 | 337.6568 | 344.4129 | 352.7791 | 359.8978 | 369.4771 | 378.2132 | 388.1351 | 397.3212 | 2.226%
End-Use Prices
(2005 cents per kilowatthour)
Residential | 12.9956 | 12.4997 | 12.7276 | 12.9123 | 12.6196 | 12.3809 | 12.1277 | 11.8186 | 11.5746 | 11.4077 | 11.3344 | 11.3279 | 11.3201 | 11.3639 | 11.3092 | 11.2026 | 11.1893 | 11.2041 | 11.2242 | 11.1604 | 11.1513 | 11.1648 | 11.1624 | 11.1436 | 11.1499 | 11.1638 | 11.1605 | -0.4523%
Commercial | 11.936 | 11.6957 | 11.2456 | 11.0185 | 10.8247 | 10.57 | 10.2837 | 9.9655 | 9.7239 | 9.5488 | 9.4673 | 9.446 | 9.4344 | 9.4682 | 9.4043 | 9.2883 | 9.268 | 9.2689 | 9.2746 | 9.2041 | 9.1931 | 9.1897 | 9.1793 | 9.1525 | 9.1596 | 9.1598 | 9.1469 | -0.9784%
Industrial | 9.8507 | 9.4117 | 9.5045 | 9.5261 | 9.3726 | 9.156 | 8.9297 | 8.6466 | 8.4442 | 8.2989 | 8.234 | 8.2222 | 8.2158 | 8.2466 | 8.1964 | 8.1036 | 8.091 | 8.0953 | 8.1069 | 7.9808 | 7.9769 | 7.9841 | 7.9798 | 7.9612 | 7.9693 | 7.9735 | 7.9679 | -0.6639%
Transportation | 11.6555 | 11.2507 | 10.8428 | 10.8701 | 10.6459 | 10.3581 | 10.0652 | 9.7225 | 9.4484 | 9.2491 | 9.1464 | 9.1123 | 9.0856 | 9.1009 | 9.0249 | 8.9004 | 8.8697 | 8.8596 | 8.8565 | 8.7171 | 8.696 | 8.6856 | 8.6662 | 8.6298 | 8.6238 | 8.6136 | 8.5928 | -1.072%
All Sectors Average | 11.8544 | 11.4817 | 11.3981 | 11.3442 | 11.1307 | 10.8896 | 10.6273 | 10.3174 | 10.0823 | 9.9132 | 9.8359 | 9.8197 | 9.8097 | 9.8444 | 9.7857 | 9.6762 | 9.659 | 9.6614 | 9.6706 | 9.5894 | 9.5797 | 9.5797 | 9.5698 | 9.544 | 9.5493 | 9.5496 | 9.5379 | -0.7392%
Prices by Service Category
(2005 cents per kilowatthour)
Generation | 7.2887 | 7.0312 | 6.9465 | 6.9185 | 7.0889 | 6.8405 | 6.5507 | 6.2193 | 5.9989 | 5.8415 | 5.768 | 5.7486 | 5.742 | 5.7773 | 5.7193 | 5.6158 | 5.6066 | 5.6187 | 5.638 | 5.9767 | 5.9747 | 5.9795 | 5.9814 | 5.9675 | 5.984 | 5.9944 | 5.9901 | -0.639%
Transmission | 0.63059 | 0.61576 | 0.62873 | 0.63568 | 0.64648 | 0.66316 | 0.70499 | 0.74451 | 0.7456 | 0.74987 | 0.75809 | 0.77201 | 0.78588 | 0.79725 | 0.8071 | 0.8147 | 0.8218 | 0.82783 | 0.83294 | 0.83695 | 0.84174 | 0.84653 | 0.84731 | 0.84655 | 0.84672 | 0.84793 | 0.85083 | 1.302%
Distribution | 3.9351 | 3.8347 | 3.8229 | 3.79 | 3.3954 | 3.3859 | 3.3716 | 3.3535 | 3.3378 | 3.3218 | 3.3098 | 3.2991 | 3.2818 | 3.2698 | 3.2593 | 3.2457 | 3.2306 | 3.2148 | 3.1997 | 2.7757 | 2.7633 | 2.7536 | 2.7411 | 2.73 | 2.7186 | 2.7073 | 2.697 | -1.398%
Fuel Consumption (quadrillion Btu) 9/
Coal | 0.31204 | 0.33888 | 0.33821 | 0.33537 | 0.33004 | 0.33106 | 0.49499 | 0.51509 | 0.52633 | 0.52735 | 0.55827 | 0.60907 | 0.66347 | 0.71626 | 0.7728 | 0.83652 | 0.90748 | 0.97546 | 1.0394 | 1.115 | 1.1918 | 1.2631 | 1.3324 | 1.4035 | 1.4698 | 1.5303 | 1.5842 | 6.363%
Natural Gas | 0.78673 | 0.68262 | 0.65233 | 0.65511 | 0.65805 | 0.68984 | 0.63519 | 0.70087 | 0.7324 | 0.73272 | 0.74699 | 0.75392 | 0.73329 | 0.70354 | 0.68194 | 0.6119 | 0.57825 | 0.58486 | 0.57095 | 0.54856 | 0.52264 | 0.51076 | 0.49069 | 0.48977 | 0.48168 | 0.48038 | 0.48106 | -1.39%
Oil | 0.021766 | 0.024661 | 0.001438 | 0.0014416 | 0.0014926 | 0.0015324 | 0.0031891 | 0.003395 | 0.0035142 | 0.00353 | 0.0038429 | 0.004356 | 0.0049055 | 0.0054387 | 0.0060106 | 0.0066543 | 0.0073517 | 0.0080907 | 0.008745 | 0.0095087 | 0.010284 | 0.011004 | 0.011657 | 0.01238 | 0.013046 | 0.013045 | 0.013045 | -2.515%
Total | 1.1205 | 1.0462 | 0.99198 | 0.99192 | 0.98959 | 1.0224 | 1.1334 | 1.2194 | 1.2622 | 1.2636 | 1.3091 | 1.3673 | 1.4017 | 1.4252 | 1.4607 | 1.4551 | 1.4931 | 1.5684 | 1.6191 | 1.6731 | 1.7247 | 1.7849 | 1.8347 | 1.9057 | 1.9645 | 2.0237 | 2.0783 | 2.784%
Fuel Prices (dollars per million Btu)
Coal | 1.1548 | 1.0573 | 1.1201 | 1.136 | 1.2322 | 1.1516 | 1.2571 | 1.2687 | 1.2599 | 1.2449 | 1.2427 | 1.2449 | 1.2583 | 1.2721 | 1.2931 | 1.3122 | 1.354 | 1.4262 | 1.4635 | 1.4866 | 1.5017 | 1.5206 | 1.5395 | 1.5602 | 1.5816 | 1.6037 | 1.6233 | 1.73%
Natural Gas | 5.8746 | 7.6564 | 7.6979 | 7.9679 | 7.4865 | 7.0729 | 6.6331 | 6.3763 | 6.3004 | 6.015 | 6.0768 | 6.0271 | 6.0813 | 6.2273 | 5.9448 | 5.7281 | 5.8605 | 5.8747 | 5.996 | 6.1481 | 6.1997 | 6.2207 | 6.2365 | 6.315 | 6.4476 | 6.5661 | 6.6467 | -0.5641%
Distillate Fuel Oil | 9.9429 | 12.5975 | 15.0104 | 17.0626 | 13.0674 | 12.3651 | 11.2563 | 10.5426 | 10.0957 | 9.8174 | 9.6015 | 9.5631 | 9.4874 | 9.7165 | 9.8379 | 10.1053 | 10.1186 | 10.273 | 10.3731 | 10.3048 | 10.3964 | 10.3874 | 10.4265 | 10.5929 | 10.6731 | 10.8254 | 10.7859 | -0.6191%
Residual Fuel Oil | 5.8648 | 8.348 | 10.0377 | 14.1497 | 12.603 | 12.4563 | 11.8418 | 11.5209 | 11.1336 | 10.8681 | 10.8105 | 10.8497 | 10.781 | 10.8894 | 10.852 | 10.7295 | 11.0125 | 11.1107 | 11.252 | 11.4762 | 11.5572 | 11.5492 | 11.8065 | 12.0787 | 11.8729 | 12.3336 | 11.9901 | 1.459%
Biomass | 1.92 | 1.9036 | 1.8972 | 1.9829 | 1.9982 | 2.0597 | 2.072 | 2.0808 | 2.0442 | 1.8918 | 2.0128 | 2.0387 | 2.0409 | 2.0771 | 2.0353 | 2.0234 | 2.0409 | 2.0386 | 2.0403 | 2.0628 | 2.0608 | 2.0546 | 2.0528 | 2.054 | 2.1171 | 2.1177 | 2.1172 | 0.4262%
Emissions 10/
Total Carbon (million tons) | 22.8682 | 22.155 | 20.0478 | 20.0037 | 19.9117 | 20.4535 | 24.1797 | 25.7882 | 26.6152 | 26.6598 | 27.7809 | 29.3342 | 30.5413 | 31.5573 | 32.8153 | 33.4939 | 34.9601 | 36.9886 | 38.5813 | 40.3782 | 42.1235 | 43.9425 | 45.57 | 47.5809 | 49.3204 | 50.9912 | 52.5089 | 3.512%
Carbon Dioxide (million tons) | 83.8502 | 81.2349 | 73.5086 | 73.3467 | 73.0097 | 74.996 | 88.6588 | 94.5567 | 97.5889 | 97.7524 | 101.8632 | 107.5587 | 111.9848 | 115.7102 | 120.3226 | 122.8108 | 128.1872 | 135.6249 | 141.4648 | 148.0533 | 154.453 | 161.1224 | 167.0899 | 174.4633 | 180.8413 | 186.9678 | 192.5327 | 3.512%
Sulfur Dioxide (million tons) | 0.051944 | 0.054943 | 0.054051 | 0.053605 | 0.05246 | 0.053348 | 0.059352 | 0.060343 | 0.060824 | 0.062577 | 0.062443 | 0.063591 | 0.065248 | 0.066382 | 0.067808 | 0.06913 | 0.070682 | 0.07335 | 0.073848 | 0.075219 | 0.077301 | 0.079519 | 0.081881 | 0.082243 | 0.083758 | 0.083794 | 0.083835 | 1.705%
Nitrogen Oxide (million tons) | 0.036 | 0.029 | 0.08333 | 0.083591 | 0.082919 | 0.083893 | 0.091738 | 0.094184 | 0.095638 | 0.096589 | 0.098702 | 0.10168 | 0.10429 | 0.1067 | 0.10932 | 0.11125 | 0.11437 | 0.11809 | 0.12164 | 0.12323 | 0.12697 | 0.12905 | 0.13219 | 0.13612 | 0.13565 | 0.13572 | 0.1363 | 6.386%
Mercury (tons) | 0.32508 | 0.3631 | 0.3336 | 0.33949 | 0.33597 | 0.33578 | 0.23922 | 0.24037 | 0.23203 | 0.24037 | 0.22735 | 0.23522 | 0.23361 | 0.24126 | 0.23068 | 0.25073 | 0.2583 | 0.26327 | 0.27181 | 0.28333 | 0.29715 | 0.28506 | 0.289 | 0.26495 | 0.28845 | 0.27212 | 0.27386 | -1.122%
16.7522
1/ Net summer capacity is the steady hourly output that generating equipment is expected to supply to system load (exclusive of auxiliary power), as demonstrated by tests
during summer peak demand. Includes electric utilities, small power producers, and exempt wholesale generators.
2/ Includes oil-, gas-, and dual-fired capacity.
3/ Other includes methane, propane gas, and blast furnace gas for utilities; and hydrogen, sulfur, batteries, chemicals, fish oil, and spent sulfite liquor.
4/ Includes conventional hydroelectric, geothermal, wood, wood waste, municipal solid waste, other biomass, solar thermal, photovoltaics, and wind power.
5/ Primarily peak-load capacity fueled by natural gas.
6/ Cumulative additions after December 31, 2005.
7/ Generation to meet system load by source.
8/ Includes combined heat and power plants and electricity-only plants in the commercial and industrial sectors; and small on-site generating systems in the residential,
commercial, and industrial sectors used primarily for own-use generation, but which may also sell some power to the grid.
9/ Includes fuel consumption by electric utilities, small power producers, independent power producers, and exempt wholesale generators.
10/ Estimated emissions from utilities and nonutilities (excluding combined heat and power).
O&M = Operation and maintenance.
EMM = Electricity market module.
N/A = Not applicable.
Note: Totals may not equal sum of components due to independent rounding.
Sources: 2005 (except for prices and nonutility data): Energy Information Administration (EIA), Annual Energy Review 2005, DOE/EIA-0384(2005) (Washington, DC, July 2006). Other
2005 and projections: NewGen Data and Analysis, RDI Consulting/FT Energy (Boulder, CO, August 2000) and EIA, AEO2007 National Energy Modeling System run aeo2007.d112106a.

## CO2 Rates
CO2 Rates Based on Fuel Type and Heatrate
| Fuel | CO2 Rate
| Coal | 208 | lbs/MillionBtu
| Nat Gas | 118
| Oil | 164
CO2 Emission Rates
| Fuel | Heatrate (Btu/kWh) | CO2 Rate (tons/MWh)
| Coal | 11000 | 1.144
| Coal | 10000 | 1.04
| Coal | 9000 | 0.936
| Coal | 8000 | 0.832
| Coal | 7000 | 0.728
| Oil | 11000 | 0.902
| Oil | 10000 | 0.82
| Oil | 9000 | 0.738
| Oil | 8000 | 0.656
| Oil | 7000 | 0.574
| Nat Gas | 11000 | 0.649
| Nat Gas | 10000 | 0.59
| Nat Gas | 9000 | 0.531
| Nat Gas | 8000 | 0.472
| Nat Gas | 7000 | 0.413
Note: Short tons (2000 lbs = 900 kg) are used here.